## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 240 | 0 | 240 | 0 | 0 | 4 | 236 | 54 | 4.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 1 | 84.25 | 7400 | 40.802 | 2400.84 | 472.8 | 2872.8 | 2400 | 10 | 86.8568 | 2774 | 0 | 98.8 | 0 |  | 27.7778 | 2400
2 | 85 | 0 | 85 | 0 | 0 | 4 | 81 | 35 | 2.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 2 | 84.6 | 8240 | 40.851 | 2458.17 | 840 | 1677.25 | 837.25 | 9.85 | 87.455 | 1489.2 | 0 | 188.05 | 0 |  | 9.6904 | 837.25
3 | 95 | 0 | 95 | 0 | 0 | 4 | 91 | 35 | 2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 3 | 84.85 | 8840 | 40.998 | 2630.16 | 600 | 3263.9843 | 931 | 9.8 | 87.3884 | 3124.4 | 1732.9843 | 139.5843 | 0 |  | 10.7755 | 931
4 | 70 | 0 | 70 | 0 | 0 | 4 | 66 | 55 | 1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 4 | 84.9 | 8960 | 40.978 | 2606.76 | 120 | 2548.9306 | 686 | 9.8 | 87.2865 | 2416.3 | 1742.9306 | 132.6306 | 0 |  | 7.9398 | 686
5 | 160 | 0 | 160 | 0 | 0 | 4 | 156 | 55 | 3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 5 | 84.7 | 8480 | 41.551 | 3277.17 | -480 | 4586.3212 | 1600 | 10 | 85.9415 | 4628.2 | 3466.3212 | 18.1212 | 60 |  | 18.5185 | 1600
6 | 120 | 0 | 120 | 0 | 0 | 4 | 116 | 55 | 2.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 6 | 84 | 6800 | 40.9 | 2515.5 | -1680 | 2484.1277 | 1212 | 10.1 | 86.5087 | 2467.4 | 2952.1277 | 76.7277 | 60 |  | 14.0278 | 1212
7 | 70 | 0 | 70 | 0 | 0 | 4 | 66 | 35 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 7 | 84 | 6800 | 40.75 | 2340 | 0 | 2427.3446 | 717.5 | 10.25 | 85.2427 | 2197.3 | 1709.8446 | 230.0446 | 0 |  | 8.3044 | 717.5
8 | 85 | 0 | 85 | 0 | 0 | 4 | 81 | 35 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 8 | 84.2 | 7280 | 40.8 | 2398.5 | 480 | 2529.9894 | 858.5 | 10.1 | 86.0987 | 2452.8 | 1191.4894 | 137.1894 | 60 |  | 9.9363 | 858.5
9 | 75 | 0 | 75 | 0 | 0 | 3 | 72 | 54 | 1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 9 | 84.35 | 7640 | 40.758 | 2349.36 | 360 | 1110 | 750 | 10 | 86.6517 | 905.2 | 0 | 204.8 | 0 |  | 8.6806 | 750
10 | 70 | 0 | 70 | 0 | 0 | 4 | 66 | 54 | 1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 10 | 84.45 | 7880 | 40.67 | 2246.4 | 240 | 2637.4359 | 700 | 10 | 86.4476 | 2343.3 | 1697.4359 | 294.1359 | 0 |  | 8.1019 | 700
11 | 80 | 0 | 80 | 0 | 0 | 4 | 76 | 50 | 2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 11 | 84.9 | 8960 | 40.72 | 2304.9 | 1080 | 3675.234 | 808 | 10.1 | 84.6939 | 3650 | 1787.234 | 25.234 | 0 |  | 9.3519 | 808
12 | 0 | 110 | 110 | 0 | 0 | 5 | 105 | 54 | 0 | 2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 12 | 84.5 | 8000 | 40.9489 | 2572.713 | -960 | 1896.2959 | 1116.5 | 10.15 | 85.0698 | 1749.3 | 1739.7959 | 146.9959 | 0 |  | 12.9225 | 1116.5
13 | 120 | 15 | 135 | 0 | 0 | 4 | 131 | 110 | 2.2 | 0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 13 | 84.1 | 7040 | 41.35 | 3042 | -960 | 2761.013 | 1363.5 | 10.1 | 86.3032 | 2664 | 2357.513 | 97.013 | 0 |  | 15.7812 | 1363.5
14 | 110 | 0 | 110 | 0 | 0 | 3 | 107 | 54 | 1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 14 | 84.35 | 7640 | 41.482 | 3196.44 | 600 | 1683.5 | 1083.5 | 9.85 | 87.9713 | 1594.95 | 0 | 88.55 | 0 |  | 12.5405 | 1083.5
15 | 70 | 0 | 70 | 0 | 0 | 4 | 66 | 35 | 2.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 15 | 84.35 | 7640 | 41 | 2632.5 | 0 | 1822.449 | 700 | 10 | 86.6517 | 1719.9 | 1122.449 | 102.549 | 0 |  | 8.1019 | 700
16 | 80 | 0 | 80 | 0 | 0 | 3 | 77 | 55 | 1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 16 | 84.35 | 7640 | 40.979 | 2607.93 | 0 | 3048.7047 | 800 | 10 | 86.6517 | 2844 | 2248.7047 | 204.7047 | 0 |  | 9.2593 | 800
17 | 70 | 0 | 70 | 0 | 0 | 5 | 65 | 55 | 1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 17 | 84.35 | 7640 | 40.922 | 2541.24 | 0 | 3111.2553 | 707 | 10.1 | 85.7938 | 2993 | 2404.2553 | 118.2553 | 0 |  | 8.1829 | 707
18 | 75 | 0 | 75 | 0 | 0 | 4 | 71 | 54 | 1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 18 | 84.35 | 7640 | 40.8611 | 2469.987 | 0 | 757.5 | 757.5 | 10.1 | 85.7938 | 791 | 0 | 26.5 | 60 |  | 8.7674 | 757.5
19 | 70 | 0 | 70 | 0 | 0 | 4 | 66 | 35 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 19 | 84.3 | 7520 | 40.799 | 2397.33 | -120 | 2305.75 | 707 | 10.1 | 85.8952 | 2241.1 | 1718.75 | 64.65 | 0 |  | 8.1829 | 707
20 | 80 | 0 | 80 | 0 | 0 | 4 | 76 | 54 | 1.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 20 | 84.5 | 8000 | 40.772 | 2365.74 | 480 | 2969.4359 | 792 | 9.9 | 87.2181 | 2664 | 1697.4359 | 305.4359 | 0 |  | 9.1667 | 792
21 | 170 | 0 | 170 | 0 | 0 | 3 | 167 | 54 | 3.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 21 | 84.75 | 8600 | 41.399 | 3099.33 | 600 | 2283 | 1683 | 9.9 | 86.708 | 2226.8 | 0 | 56.2 | 0 |  | 19.4792 | 1683
22 | 130 | 85 | 215 | 0 | 0 | 4 | 211 | 108 | 2.5 | 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 22 | 84.4 | 7760 | 41.231 | 2902.77 | -840 | 3689.8421 | 2193 | 10.2 | 84.8525 | 3733.8 | 2336.8421 | 16.0421 | 60 |  | 25.3819 | 2193
23 | 70 | 0 | 70 | 0 | 0 | 3 | 67 | 54 | 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 23 | 84.35 | 7640 | 41.137 | 2792.79 | -120 | 2293.9898 | 689.5 | 9.85 | 87.9713 | 2073.2 | 1724.4898 | 220.7898 | 0 |  | 7.9803 | 689.5
24 | 125 | 0 | 125 | 0 | 0 | 4 | 121 | 54 | 2.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 24 | 83.9 | 6560 | 40.999 | 2631.33 | -1080 | 1315.4787 | 1262.5 | 10.1 | 86.7152 | 1245 | 1132.9787 | 130.4787 | 60 |  | 14.6123 | 1262.5
25 | 70 | 0 | 70 | 0 | 0 | 4 | 66 | 55 | 1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 25 | 84.65 | 8360 | 40.2 | 1696.5 | 1800 | 4875.7021 | 714 | 10.2 | 84.3551 | 4777.5 | 2361.7021 | 158.2021 | 60 |  | 8.2639 | 714
26 | 70 | 0 | 70 | 0 | 0 | 4 | 66 | 55 | 1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 26 | 84.8 | 8720 | 40.211 | 1709.37 | 360 | 1067 | 707 | 10.1 | 84.8917 | 1014.7 | 0 | 52.3 | 0 |  | 8.1829 | 707
27 | 0 | 75 | 75 | 0 | 0 | 4 | 71 | 35 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 27 | 84.3 | 7520 | 40.295 | 1807.65 | -1200 | 1908.5638 | 757.5 | 10.1 | 85.8952 | 1890.7 | 2351.0638 | 77.8638 | 60 |  | 8.7674 | 757.5
28 | 125 | 0 | 125 | 0 | 0 | 4 | 121 | 55 | 2.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 28 | 84 | 6800 | 40.822 | 2424.24 | -720 | 5183.699 | 1281.25 | 10.25 | 85.2427 | 5112 | 4622.449 | 131.699 | 60 |  | 14.8293 | 1281.25
29 | 75 | 0 | 75 | 0 | 0 | 4 | 71 | 54 | 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 29 | 84.1 | 7040 | 40.881 | 2493.27 | 240 | 997.5 | 757.5 | 10.1 | 86.3032 | 1007.4 | 0 | 50.1 | 60 |  | 8.7674 | 757.5
30 | 175 | 0 | 175 | 0 | 0 | 3 | 172 | 45 | 3.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 30 | 84.1 | 7040 | 41.803 | 3572.01 | 0 | 1767.5 | 1767.5 | 10.1 | 86.3032 | 1576.8 | 0 | 250.7 | 60 |  | 20.4572 | 1767.5
31 | 170 | 0 | 170 | 0 | 0 | 4 | 166 | 54 | 3.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 31 | 84.05 | 6920 | 41.301 | 2984.67 | -120 | 3317.9302 | 1717 | 10.1 | 86.4059 | 3342.25 | 1720.9302 | 35.6802 | 60 |  | 19.8727 | 1717
| 3005 | 285 | 3290 | 0 | 0 | 120 | 3170 | 110 | 63.3 | 5.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 4 |  |  | 84.379 | 7709.6774 | 40.941 | 2563.47 | -7.2 | 78869.5272 | 33057 | 10.0477 | 86.1811 | 75709.5 | 45819.7272 | 3880.0272 | 720 |  | 12.3421 | 33057