## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 100 | 0 | 100 | 0 | 0 | 3 | 100 | 54 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 1 | 84.5 | 8000 | 41.468 | 3180.06 | 1080 | 3197.7551 | 980 | 9.8 | 88.108 | 2956.5 | 1137.7551 | 241.2551 | 0 |  | 11.3426 | 980
2 | 70 | 0 | 70 | 0 | 0 | 4 | 70 | 35 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 2 | 84.5 | 8000 | 41.38 | 3077.1 | 0 | 1824.4615 | 686 | 9.8 | 88.108 | 1554.9 | 1138.4615 | 269.5615 | 0 |  | 7.9398 | 686
3 | 75 | 0 | 75 | 0 | 0 | 4 | 75 | 50 | 1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 3 | 84.8 | 8720 | 41.32 | 3006.9 | 720 | 3744.4643 | 738.75 | 9.85 | 87.0463 | 3679.2 | 2285.7143 | 65.2643 | 0 |  | 8.5503 | 738.75
4 | 70 | 0 | 70 | 0 | 0 | 4 | 70 | 55 | 1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 4 | 84.9 | 8960 | 41.29 | 2971.8 | 240 | 929.5 | 689.5 | 9.85 | 86.8434 | 795.7 | 0 | 133.8 | 0 |  | 7.9803 | 689.5
5 | 70 | 0 | 70 | 0 | 0 | 4 | 70 | 54 | 1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 5 | 84.6 | 8240 | 41.241 | 2914.47 | -720 | 2885.9362 | 707 | 10.1 | 85.2903 | 2934.6 | 2898.9362 | 11.3362 | 60 |  | 8.1829 | 707
6 | 70 | 0 | 70 | 0 | 0 | 4 | 70 | 35 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 6 | 84.7 | 8480 | 41.22 | 2889.9 | 240 | 4530.6736 | 700 | 10 | 85.9415 | 4343.5 | 3590.6736 | 247.1736 | 60 |  | 8.1019 | 700
7 | 230 | 0 | 230 | 0 | 0 | 3 | 230 | 55 | 4.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 7 | 84.25 | 7400 | 41.202 | 2868.84 | -1080 | 1243 | 2323 | 10.1 | 85.9968 | 1169 | 0 | 74 | 0 |  | 26.8866 | 2323
8 | 90 | 0 | 90 | 0 | 0 | 3 | 90 | 54 | 1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 8 | 84.35 | 7640 | 41.302 | 2985.84 | 240 | 1131 | 891 | 9.9 | 87.527 | 1043.9 | 0 | 87.1 | 0 |  | 10.3125 | 891
9 | 70 | 0 | 70 | 0 | 0 | 4 | 70 | 45 | 1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 9 | 84.45 | 7880 | 41.228 | 2899.26 | 240 | 933 | 693 | 9.9 | 87.3208 | 664.3 | 0 | 268.7 | 0 |  | 8.0208 | 693
10 | 80 | 0 | 80 | 0 | 0 | 4 | 80 | 54 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 10 | 84.4 | 7760 | 41.4 | 3100.5 | -120 | 740 | 860 | 10.75 | 80.5112 | 635.1 | 0 | 104.9 | 0 |  | 9.9537 | 860
11 | 80 | 0 | 80 | 0 | 0 | 4 | 80 | 54 | 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 11 | 84.65 | 8360 | 41.31 | 2995.2 | 600 | 1392 | 792 | 9.9 | 86.9113 | 992.8 | 0 | 399.2 | 0 |  | 9.1667 | 792
12 | 95 | 0 | 95 | 0 | 0 | 4 | 95 | 55 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 12 | 84.9 | 8960 | 41.3995 | 3099.915 | 600 | 1531 | 931 | 9.8 | 87.2865 | 1416.2 | 0 | 114.8 | 0 |  | 10.7755 | 931
13 | 115 | 0 | 115 | 0 | 0 | 3 | 115 | 55 | 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 13 | 84.5 | 8000 | 41.65 | 3393 | -960 | 1964.5963 | 1138.5 | 9.9 | 87.2181 | 1800 | 1786.0963 | 164.5963 | 0 |  | 13.1771 | 1138.5
14 | 70 | 0 | 70 | 0 | 0 | 4 | 70 | 55 | 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 14 | 83.75 | 6200 | 40.662 | 2237.04 | -1800 | 1270.6596 | 693 | 9.9 | 88.7849 | 1123.2 | 2377.6596 | 147.4596 | 0 |  | 8.0208 | 693
15 | 80 | 0 | 80 | 0 | 0 | 3 | 80 | 54 | 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 15 | 83.8 | 6320 | 40.6176 | 2185.092 | 120 | 928 | 808 | 10.1 | 86.9226 | 770.4 | 0 | 157.6 | 0 |  | 9.3519 | 808
16 | 70 | 0 | 70 | 0 | 0 | 4 | 70 | 54 | 1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 16 | 83.95 | 6680 | 40.578 | 2138.76 | 360 | 1053 | 693 | 9.9 | 88.3616 | 919.8 | 0 | 133.2 | 0 |  | 8.0208 | 693
17 | 70 | 0 | 70 | 0 | 0 | 4 | 70 | 45 | 1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 17 | 84.35 | 7640 | 40.67 | 2246.4 | 960 | 1642.5 | 682.5 | 9.75 | 88.8736 | 1321.3 | 0 | 321.2 | 0 |  | 7.8993 | 682.5
18 | 105 | 0 | 105 | 0 | 0 | 4 | 105 | 35 | 2.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 18 | 84.6 | 8240 | 40.89 | 2503.8 | 600 | 1623.75 | 1023.75 | 9.75 | 88.352 | 1452.7 | 0 | 171.05 | 0 |  | 11.849 | 1023.75
19 | 130 | 0 | 130 | 0 | 0 | 3 | 130 | 54 | 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 19 | 85 | 9200 | 41.09 | 2737.8 | 960 | 2247 | 1287 | 9.9 | 86.2039 | 2109.7 | 0 | 137.3 | 0 |  | 14.8958 | 1287
20 | 70 | 0 | 70 | 0 | 0 | 4 | 70 | 55 | 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 20 | 84.7 | 8480 | 40.892 | 2506.14 | -720 | 1462.5 | 682.5 | 9.75 | 88.1451 | 1387 | 1500 | 135.5 | 60 |  | 7.8993 | 682.5
21 | 75 | 0 | 75 | 0 | 0 | 4 | 75 | 35 | 2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 21 | 84.45 | 7880 | 40.75 | 2340 | -600 | 142.5 | 742.5 | 9.9 | 87.3208 | 0 | 0 | 142.5 | 0 |  | 8.5938 | 742.5
22 | 115 | 0 | 115 | 0 | 0 | 4 | 115 | 50 | 2.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 22 | 84.6 | 8240 | 40.901 | 2516.67 | 360 | 1481.25 | 1121.25 | 9.75 | 88.352 | 1337.6 | 0 | 143.65 | 0 |  | 12.9774 | 1121.25
23 | 125 | 0 | 125 | 0 | 0 | 4 | 125 | 35 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 23 | 84.65 | 8360 | 41.152 | 2810.34 | 120 | 1357.5 | 1237.5 | 9.9 | 86.9113 | 1116.9 | 0 | 240.6 | 0 |  | 14.3229 | 1237.5
24 | 75 | 0 | 75 | 0 | 0 | 3 | 75 | 55 | 1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 24 | 84.75 | 8600 | 41.01 | 2644.2 | 240 | 978.75 | 738.75 | 9.85 | 87.1482 | 852.6 | 0 | 126.15 | 0 |  | 8.5503 | 738.75
25 | 215 | 30 | 245 | 0 | 0 | 3 | 245 | 90 | 5.1 | 1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 25 | 84.6 | 8240 | 41.637 | 3377.79 | -360 | 2053.25 | 2413.25 | 9.85 | 87.455 | 1956.4 | 0 | 96.85 | 0 |  | 27.9311 | 2413.25
26 | 75 | 0 | 75 | 0 | 0 | 4 | 75 | 35 | 1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 26 | 84.5 | 8000 | 40.55 | 2106 | -240 | 1159.2021 | 787.5 | 10.5 | 82.2342 | 890.6 | 611.7021 | 268.6021 | 0 |  | 9.1146 | 787.5
27 | 70 | 0 | 70 | 0 | 0 | 3 | 70 | 35 | 1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 27 | 84.6 | 8240 | 40.488 | 2033.46 | 240 | 947 | 707 | 10.1 | 85.2903 | 905.2 | 0 | 101.8 | 60 |  | 8.1829 | 707
28 | 95 | 115 | 210 | 0 | 0 | 4 | 210 | 70 | 2.3 | 3.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 28 | 84.7 | 8480 | 41.103 | 2753.01 | 240 | 2308.5 | 2068.5 | 9.85 | 87.2502 | 1919.9 | 0 | 388.6 | 0 |  | 23.941 | 2068.5
29 | 120 | 0 | 120 | 0 | 0 | 4 | 120 | 55 | 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 29 | 84.6 | 8240 | 41.172 | 2833.74 | -240 | 960 | 1200 | 10 | 86.1432 | 730 | 0 | 230 | 0 |  | 13.8889 | 1200
30 | 75 | 0 | 75 | 0 | 0 | 3 | 75 | 55 | 1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 30 | 84.7 | 8480 | 41 | 2632.5 | 240 | 978.75 | 738.75 | 9.85 | 87.2502 | 890.6 | 0 | 148.15 | 60 |  | 8.5503 | 738.75
| 2850 | 145 | 2995 | 0 | 0 | 110 | 2885 | 90 | 64 | 4.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31 | 2 |  |  | 84.5267 | 8064 | 41.0858 | 2732.8509 | 1560 | 48641.4986 | 29754.5 | 9.9347 | 86.8587 | 43669.6 | 17326.9986 | 5271.8986 | 300 |  | 11.4794 | 29754.5