## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 580 | 0 | 580 | 0 | 0 | 5 | 580 | 53 | 11.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 1 | 84.35 | 7640 | 42.05 | 3861 | -720 | 5138 | 5858 | 10.1 | 85.7938 | 4978.6 | 0 | 159.4 | 0 |  | 67.8009 | 5858
2 | 55 | 575 | 630 | 0 | 0 | 4 | 630 | 55 | 1 | 11.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 2 | 84.25 | 7400 | 42.16 | 3989.7 | -240 | 6468 | 6708 | 10.6476 | 81.5739 | 6497.2 | 0 | 10.8 | 40 |  | 77.6389 | 6708
3 | 570 | 925 | 1495 | 0 | 0 | 3 | 1495 | 110 | 14.5 | 22.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 3 | 84.05 | 6920 | 41.7499 | 3509.883 | -480 | 14619.5 | 15099.5 | 10.1 | 86.4059 | 14644.8 | 0 | 24.7 | 50 |  | 174.7627 | 15099.5
4 | 360 | 165 | 525 | 0 | 0 | 3 | 525 | 44 | 8.1 | 4.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 4 | 84.4 | 7760 | 41.832 | 3605.94 | 840 | 6195 | 5355 | 10.2 | 84.8525 | 5905.7 | 0 | 289.3 | 0 |  | 61.9792 | 5355
5 | 830 | 300 | 1130 | 0 | 0 | 3 | 1130 | 108 | 16.2 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 5 | 84.3 | 7520 | 41.121 | 2774.07 | -240 | 11173 | 11413 | 10.1 | 85.8952 | 11143.25 | 0 | 29.75 | 0 |  | 132.0949 | 11413
6 | 640 | 105 | 745 | 0 | 0 | 3 | 745 | 108 | 13.1 | 2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 6 | 85.25 | 9800 | 42.118 | 3940.56 | 2280 | 9655.5 | 7375.5 | 9.9 | 85.7056 | 9352.8 | 0 | 302.7 | 0 |  | 85.3646 | 7375.5
7 | 655 | 190 | 845 | 0 | 0 | 4 | 845 | 100 | 13.3 | 4.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 7 | 84.25 | 7400 | 42.148 | 3975.66 | -2400 | 6134.5 | 8534.5 | 10.1 | 85.9968 | 6153.9 | 0 | 40.6 | 60 |  | 98.7789 | 8534.5
8 | 440 | 435 | 875 | 0 | 0 | 4 | 875 | 108 | 8.4 | 8.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 8 | 84 | 6800 | 41.698 | 3449.16 | -600 | 8237.5 | 8837.5 | 10.1 | 86.5087 | 8278.2 | 0 | 19.3 | 60 |  | 102.2859 | 8837.5
9 | 305 | 295 | 600 | 0 | 0 | 4 | 600 | 55 | 4.7 | 6.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 9 | 84.15 | 7160 | 41.951 | 3745.17 | 360 | 6420 | 6060 | 10.1 | 86.2009 | 6380.2 | 0 | 99.8 | 60 |  | 70.1389 | 6060
10 | 635 | 0 | 635 | 0 | 0 | 4 | 635 | 53 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 10 | 84.25 | 7400 | 41.899 | 3684.33 | 240 | 6653.5 | 6413.5 | 10.1 | 85.9968 | 6643 | 0 | 70.5 | 60 |  | 74.2303 | 6413.5
11 | 680 | 0 | 680 | 0 | 0 | 3 | 680 | 55 | 12.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 11 | 84.2 | 7280 | 42 | 3802.5 | -120 | 6748 | 6868 | 10.1 | 86.0987 | 6749.6 | 0 | 58.4 | 60 |  | 79.4907 | 6868
12 | 45 | 575 | 620 | 0 | 0 | 4 | 620 | 54 | 1.65 | 11.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 12 | 84.95 | 9080 | 41.699 | 3450.33 | 1800 | 8062 | 6262 | 10.1 | 84.5953 | 8044.6 | 0 | 17.4 | 0 |  | 72.4769 | 6262
13 | 255 | 495 | 750 | 0 | 0 | 4 | 750 | 100 | 5.4 | 10.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 13 | 84.45 | 7880 | 42.061 | 3873.87 | -1200 | 6412.5 | 7612.5 | 10.15 | 85.17 | 6190.4 | 0 | 222.1 | 0 |  | 88.1076 | 7612.5
14 | 670 | 10 | 680 | 0 | 0 | 5 | 680 | 100 | 12.45 | 0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 14 | 84 | 6800 | 42.15 | 3978 | -1080 | 5788 | 6868 | 10.1 | 86.5087 | 5628.3 | 0 | 159.7 | 0 |  | 79.4907 | 6868
15 | 280 | 350 | 630 | 0 | 0 | 2 | 630 | 50 | 6 | 7.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 15 | 84.7 | 8480 | 41.97 | 3767.4 | 1680 | 8043 | 6363 | 10.1 | 85.0905 | 7818.3 | 0 | 224.7 | 0 |  | 73.6458 | 6363
16 | 0 | 655 | 655 | 0 | 0 | 4 | 655 | 50 | 0 | 13.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 16 | 84.9 | 8960 | 42.099 | 3918.33 | 480 | 7095.5 | 6615.5 | 10.1 | 84.6939 | 6664.9 | 0 | 430.6 | 0 |  | 76.5683 | 6615.5
17 | 0 | 625 | 625 | 0 | 0 | 3 | 625 | 55 | 0 | 12.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 17 | 84.85 | 8840 | 41.982 | 3781.44 | -120 | 6067.5 | 6187.5 | 9.9 | 86.5057 | 5876.5 | 0 | 191 | 0 |  | 71.6146 | 6187.5
18 | 0 | 545 | 545 | 0 | 0 | 4 | 545 | 50 | 0 | 11.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 18 | 84.6 | 8240 | 41.95 | 3744 | -600 | 5040.75 | 5640.75 | 10.35 | 83.2301 | 4993.2 | 0 | 47.55 | 0 |  | 65.2865 | 5640.75
19 | 0 | 605 | 605 | 0 | 0 | 4 | 605 | 50 | 0 | 12.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 19 | 84.55 | 8120 | 41.999 | 3801.33 | -120 | 6081.25 | 6201.25 | 10.25 | 84.1409 | 6124.7 | 0 | 16.55 | 60 |  | 71.7737 | 6201.25
20 | 140 | 685 | 825 | 0 | 0 | 4 | 825 | 100 | 3 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 20 | 84.4 | 7760 | 41.532 | 3254.94 | -360 | 7807.5 | 8167.5 | 9.9 | 87.4238 | 7300 | 0 | 507.5 | 0 |  | 94.5312 | 8167.5
21 | 0 | 675 | 675 | 0 | 0 | 3 | 675 | 50 | 0 | 13.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 21 | 84.5 | 8000 | 41.88 | 3662.1 | 240 | 7192.5 | 6952.5 | 10.3 | 83.831 | 7099.2 | 0 | 153.3 | 60 |  | 80.4688 | 6952.5
22 | 640 | 0 | 640 | 0 | 0 | 3 | 640 | 50 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 22 | 84.9 | 8960 | 42.14 | 3966.3 | 960 | 7296 | 6336 | 9.9 | 86.4048 | 7000.7 | 0 | 295.3 | 0 |  | 73.3333 | 6336
23 | 10 | 630 | 640 | 0 | 0 | 3 | 640 | 50 | 0.3 | 12.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 23 | 84.9 | 8960 | 42 | 3802.5 | 0 | 6336 | 6336 | 9.9 | 86.4048 | 6241.5 | 0 | 94.5 | 0 |  | 73.3333 | 6336
24 | 0 | 675 | 675 | 0 | 0 | 3 | 675 | 50 | 0 | 13.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 24 | 84.9 | 8960 | 42.04 | 3849.3 | 0 | 6615 | 6615 | 9.8 | 87.2865 | 6416.7 | 0 | 198.3 | 0 |  | 76.5625 | 6615
25 | 745 | 0 | 745 | 0 | 0 | 3 | 745 | 53 | 14.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 25 | 84.1 | 7040 | 42.07 | 3884.4 | -1920 | 5604.5 | 7524.5 | 10.1 | 86.3032 | 5641.35 | 0 | 53.15 | 90 |  | 87.0891 | 7524.5
26 | 545 | 165 | 710 | 0 | 0 | 3 | 710 | 108 | 11 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 26 | 84.05 | 6920 | 41.92 | 3708.9 | -120 | 6909 | 7029 | 9.9 | 88.1514 | 6628.4 | 0 | 280.6 | 0 |  | 81.3542 | 7029
27 | 0 | 675 | 675 | 0 | 0 | 5 | 675 | 50 | 0 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 27 | 83.65 | 5960 | 42.08 | 3896.1 | -960 | 6060 | 7020 | 10.4 | 84.7193 | 6106.4 | 0 | 13.6 | 60 |  | 81.25 | 7020
28 | 0 | 670 | 670 | 0 | 0 | 4 | 670 | 54 | 0 | 12.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 28 | 84.5 | 8000 | 41.98 | 3779.1 | 2040 | 8606 | 6566 | 9.8 | 88.108 | 8244 | 0 | 362 | 0 |  | 75.9954 | 6566
29 | 340 | 295 | 635 | 0 | 0 | 5 | 635 | 98 | 7.4 | 6.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 |  | 29 | 84.8 | 8720 | 41.64 | 3381.3 | 720 | 7006.5 | 6286.5 | 9.9 | 86.6067 | 6796.3 | 0 | 210.2 | 0 |  | 72.7604 | 6286.5
30 | 360 | 300 | 660 | 0 | 0 | 5 | 660 | 49 | 7.6 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 30 | 84.3 | 7520 | 41.58 | 3311.1 | -1200 | 5598 | 6798 | 10.3 | 84.2273 | 5582.8 | 0 | 15.2 | 0 |  | 78.6806 | 6798
31 | 605 | 30 | 635 | 0 | 0 | 4 | 635 | 50 | 12.1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 31 | 85.1 | 9440 | 41.91 | 3697.2 | 1920 | 8206.5 | 6286.5 | 9.9 | 86.0039 | 7644.2 | 0 | 562.3 | 0 |  | 72.7604 | 6286.5
| 10385 | 11650 | 22035 | 0 | 0 | 115 | 21920 | 110 | 211.9 | 241.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33 | 37 |  |  | 84.4694 | 7926.4516 | 41.9164 | 3704.7069 | 1080 | 223270.5 | 222190.5 | 10.0835 | 85.6924 | 218769.7 | 0 | 5160.8 | 660 |  | 82.9564 | 222190.5