## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 460 | 0 | 460 | 0 | 0 | 3 | 460 | 53 | 9.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 1 | 85.25 | 9800 | 41.48 | 3194.1 | 960 | 5468 | 4508 | 9.8 | 86.5802 | 5231.8 | 0 | 236.2 | 0 |  | 52.1759 | 4508
2 | 245 | 105 | 350 | 0 | 0 | 4 | 350 | 49 | 4.9 | 2.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 2 | 85 | 9200 | 41.48 | 3194.1 | -600 | 2760 | 3360 | 9.6 | 88.8978 | 2416 | 0 | 344 | 0 |  | 38.8889 | 3360
3 | 125 | 0 | 125 | 0 | 0 | 4 | 125 | 48 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 3 | 85.1 | 9440 | 40.451 | 1990.17 | 240 | 1465 | 1225 | 9.8 | 86.8815 | 1306.7 | 0 | 158.3 | 0 |  | 14.1782 | 1225
4 | 125 | 80 | 205 | 0 | 0 | 3 | 205 | 53 | 2.8 | 2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 4 | 84.9 | 8960 | 40.698 | 2279.16 | -480 | 1508.5 | 1988.5 | 9.7 | 88.1864 | 1315.65 | 0 | 192.85 | 0 |  | 23.015 | 1988.5
5 | 130 | 0 | 130 | 0 | 0 | 4 | 130 | 48 | 2.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 5 | 85 | 9200 | 40.618 | 2185.56 | 240 | 1501 | 1261 | 9.7 | 87.9813 | 1376.4 | 0 | 124.6 | 0 |  | 14.5949 | 1261
6 | 0 | 190 | 190 | 0 | 0 | 4 | 190 | 48 | 0 | 3.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 6 | 84.9 | 8960 | 41.2515 | 2926.755 | -240 | 1641 | 1881 | 9.9 | 86.4048 | 1590 | 0 | 51 | 0 |  | 21.7708 | 1881
7 | 155 | 0 | 155 | 0 | 0 | 3 | 155 | 53 | 3.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 7 | 85.15 | 9560 | 41.57 | 3299.4 | 600 | 2111.25 | 1511.25 | 9.75 | 87.2258 | 1801.2 | 0 | 310.05 | 0 |  | 17.4913 | 1511.25
8 | 0 | 170 | 170 | 0 | 0 | 4 | 170 | 53 | 0 | 3.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 8 | 85.15 | 9560 | 41.8 | 3568.5 | 0 | 1708.5 | 1708.5 | 10.05 | 84.6221 | 1600.6 | 0 | 107.9 | 0 |  | 19.7743 | 1708.5
9 | 155 | 0 | 155 | 0 | 0 | 4 | 155 | 48 | 3.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 9 | 85.15 | 9560 | 41.681 | 3429.27 | 0 | 1480.25 | 1480.25 | 9.55 | 89.0526 | 1200.8 | 0 | 279.45 | 0 |  | 17.1325 | 1480.25
10 | 240 | 0 | 240 | 0 | 0 | 3 | 240 | 53 | 6.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 10 | 84.9 | 8960 | 41.98 | 3779.1 | -600 | 1778.4 | 2378.4 | 9.91 | 86.3177 | 1649.8 | 0 | 128.6 | 0 |  | 27.5278 | 2378.4
11 | 265 | 0 | 265 | 0 | 0 | 3 | 265 | 55 | 5.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 11 | 84.7 | 8480 | 41.622 | 3360.24 | -480 | 2170 | 2650 | 10 | 85.9415 | 1992.9 | 0 | 177.1 | 0 |  | 30.6713 | 2650
12 | 255 | 0 | 255 | 0 | 0 | 4 | 255 | 53 | 5.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 12 | 84.7 | 8480 | 41.638 | 3378.96 | 0 | 2537.25 | 2537.25 | 9.95 | 86.3733 | 2332.5 | 0 | 204.75 | 0 |  | 29.3663 | 2537.25
13 | 0 | 55 | 55 | 0 | 0 | 5 | 55 | 35 | 0 | 1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 13 | 84.95 | 9080 | 40.78 | 2375.1 | 600 | 1155.5 | 555.5 | 10.1 | 84.5953 | 1035 | 0 | 120.5 | 0 |  | 6.4294 | 555.5
14 | 140 | 0 | 140 | 0 | 0 | 3 | 140 | 35 | 3.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 14 | 85.15 | 9560 | 40.929 | 2549.43 | 480 | 1943 | 1463 | 10.45 | 81.383 | 1759.5 | 0 | 183.5 | 0 |  | 16.9329 | 1463
15 | 180 | 0 | 180 | 0 | 0 | 4 | 180 | 55 | 3.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 15 | 85.05 | 9320 | 41.149 | 2806.83 | -240 | 1542 | 1782 | 9.9 | 86.1038 | 1379.7 | 0 | 162.3 | 0 |  | 20.625 | 1782
16 | 205 | 0 | 205 | 0 | 0 | 4 | 205 | 53 | 4.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 16 | 84.85 | 8840 | 41.252 | 2927.34 | -480 | 1549.5 | 2029.5 | 9.9 | 86.5057 | 1460 | 0 | 89.5 | 0 |  | 23.4896 | 2029.5
17 | 220 | 0 | 220 | 0 | 0 | 4 | 220 | 40 | 5.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 17 | 84.8 | 8720 | 41.298 | 2981.16 | -120 | 2003 | 2123 | 9.65 | 88.8504 | 1736.5 | 0 | 266.5 | 0 |  | 24.5718 | 2123
18 | 220 | 0 | 220 | 0 | 0 | 4 | 220 | 53 | 5.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 18 | 84.25 | 7400 | 41.57 | 3299.4 | -1320 | 902 | 2222 | 10.1 | 85.9968 | 846.8 | 0 | 55.2 | 0 |  | 25.7176 | 2222
19 | 115 | 0 | 115 | 0 | 0 | 4 | 115 | 40 | 2.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 19 | 84.55 | 8120 | 41.303 | 2987.01 | 720 | 1881.5 | 1161.5 | 10.1 | 85.3905 | 1755.6 | 0 | 125.9 | 0 |  | 13.4433 | 1161.5
20 | 0 | 170 | 170 | 0 | 0 | 4 | 170 | 55 | 0 | 2.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 20 | 84.85 | 8840 | 41.352 | 3044.34 | 720 | 2386 | 1666 | 9.8 | 87.3884 | 2138.4 | 0 | 247.6 | 0 |  | 19.2824 | 1666
21 | 0 | 120 | 120 | 0 | 0 | 4 | 120 | 54 | 0 | 3.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 21 | 85.3 | 9920 | 41.151 | 2809.17 | 1080 | 2274 | 1194 | 9.95 | 85.1765 | 2095.1 | 0 | 178.9 | 0 |  | 13.8194 | 1194
22 | 180 | 0 | 180 | 0 | 0 | 2 | 180 | 53 | 3.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 22 | 85.15 | 9560 | 41.3 | 2983.5 | -360 | 1458 | 1818 | 10.1 | 84.2032 | 1270.2 | 0 | 187.8 | 0 |  | 21.0417 | 1818
23 | 0 | 190 | 190 | 0 | 0 | 3 | 190 | 35 | 0 | 5.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 23 | 85.15 | 9560 | 41.602 | 3336.84 | 0 | 1952.25 | 1952.25 | 10.275 | 82.769 | 1854.2 | 0 | 98.05 | 0 |  | 22.5955 | 1952.25
24 | 0 | 170 | 170 | 0 | 0 | 4 | 170 | 40 | 0 | 4.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 24 | 85.25 | 9800 | 41.351 | 3043.17 | 240 | 2050.5 | 1810.5 | 10.65 | 79.67 | 1949.1 | 0 | 101.4 | 0 |  | 20.9549 | 1810.5
25 | 0 | 190 | 190 | 0 | 0 | 4 | 190 | 54 | 0 | 3.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 25 | 85.15 | 9560 | 41.451 | 3160.17 | -240 | 1631.5 | 1871.5 | 9.85 | 86.3403 | 1598.7 | 0 | 32.8 | 0 |  | 21.6609 | 1871.5
26 | 185 | 0 | 185 | 0 | 0 | 4 | 185 | 35 | 4.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 26 | 84.8 | 8720 | 41.942 | 3734.64 | -840 | 963.75 | 1803.75 | 9.75 | 87.9391 | 715.4 | 0 | 248.35 | 0 |  | 20.8767 | 1803.75
27 | 0 | 125 | 125 | 0 | 0 | 4 | 125 | 35 | 0 | 3.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 27 | 85.15 | 9560 | 42.002 | 3804.84 | 840 | 2058.75 | 1218.75 | 9.75 | 87.2258 | 1867.5 | 0 | 191.25 | 0 |  | 14.1059 | 1218.75
28 | 0 | 140 | 140 | 0 | 0 | 4 | 140 | 53 | 0 | 3.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 28 | 84.55 | 8120 | 41.852 | 3629.34 | -1440 | -26 | 1414 | 10.1 | 85.3905 | 0 | 0 | 34 | 60 |  | 16.3657 | 1414
29 | 35 | 190 | 225 | 0 | 0 | 3 | 225 | 53 | 0 | 4.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 29 | 84 | 6800 | 41.703 | 3455.01 | -1320 | 2096.4894 | 2225 | 9.8889 | 88.3555 | 1941.8 | 1191.4894 | 154.6894 | 0 |  | 25.7523 | 2225
30 | 220 | 0 | 220 | 0 | 0 | 4 | 220 | 55 | 5.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 30 | 84.15 | 7160 | 41.701 | 3452.67 | 360 | 2637 | 2277 | 10.35 | 84.1187 | 2655.4 | 0 | 41.6 | 60 |  | 26.3542 | 2277
| 3855 | 1895 | 5750 | 0 | 0 | 111 | 5639 | 55 | 87.2 | 44.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31 | 16 |  |  | 84.9 | 8960 | 41.3986 | 3098.8425 | -1680 | 56587.8894 | 57076.4 | 9.9263 | 86.1756 | 51873.25 | 1191.4894 | 4834.6394 | 120 |  | 22.0202