## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 0 | 195 | 195 | 0 | 0 | 4 | 195 | 55 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 1 | 84 | 6800 | 41.801 | 3569.67 | -360 | 1716.75 | 2076.75 | 10.65 | 82.0411 | 1750 | 0 | 26.75 | 60 |  | 24.0365 | 2076.75
2 | 120 | 115 | 235 | 0 | 0 | 3 | 235 | 55 | 2.6 | 2.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 2 | 83.95 | 6680 | 41.6415 | 3383.055 | -120 | 2183 | 2303 | 9.8 | 89.2632 | 2092.5 | 0 | 90.5 | 0 |  | 26.6551 | 2303
3 | 0 | 120 | 120 | 0 | 0 | 4 | 120 | 55 | 0 | 2.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 3 | 84.1 | 7040 | 40.999 | 2631.33 | 360 | 1632 | 1272 | 10.6 | 82.2323 | 1511.1 | 0 | 180.9 | 60 |  | 14.7222 | 1272
4 | 145 | 0 | 145 | 0 | 0 | 4 | 145 | 39 | 3.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 4 | 85 | 9200 | 40.79 | 2386.8 | 2160 | 3624.5 | 1464.5 | 10.1 | 84.4969 | 3620.8 | 0 | 13.7 | 10 |  | 16.9502 | 1464.5
5 | 385 | 0 | 385 | 0 | 0 | 3 | 385 | 55 | 8.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 5 | 84.7 | 8480 | 41.998 | 3800.16 | -720 | 4359.4295 | 3792.25 | 9.85 | 87.2502 | 4314.3 | 1287.1795 | 45.1295 | 0 |  | 43.8918 | 3792.25
6 | 155 | 0 | 155 | 0 | 0 | 4 | 155 | 39 | 3.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 6 | 84.6 | 8240 | 41.378 | 3074.76 | -240 | 3029.4574 | 1503.5 | 9.7 | 88.8074 | 2839.7 | 1765.9574 | 189.7574 | 0 |  | 17.4016 | 1503.5
7 | 245 | 0 | 245 | 0 | 0 | 4 | 245 | 54 | 5.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 7 | 84.55 | 8120 | 40.947 | 2570.49 | -120 | 2354.5 | 2474.5 | 10.1 | 85.3905 | 2226.5 | 0 | 188 | 60 |  | 28.64 | 2474.5
8 | 160 | 0 | 160 | 0 | 0 | 3 | 160 | 40 | 4.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 8 | 84.6 | 8240 | 40.85 | 2457 | 120 | 1736 | 1616 | 10.1 | 85.2903 | 1635.2 | 0 | 100.8 | 0 |  | 18.7037 | 1616
9 | 0 | 100 | 100 | 0 | 0 | 4 | 100 | 40 | 0 | 2.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 9 | 84.55 | 8120 | 40.71 | 2293.2 | -120 | 2079.6597 | 985 | 9.85 | 87.5578 | 2000.2 | 1214.6597 | 79.4597 | 0 |  | 11.4005 | 985
10 | 160 | 0 | 160 | 0 | 0 | 4 | 160 | 53 | 3.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 10 | 84.55 | 8120 | 40.949 | 2572.83 | 0 | 1584 | 1584 | 9.9 | 87.1156 | 1542.8 | 0 | 41.2 | 0 |  | 18.3333 | 1584
11 | 175 | 0 | 175 | 0 | 0 | 3 | 175 | 53 | 4.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 11 | 84.85 | 8840 | 41.501 | 3218.67 | 720 | 3600.8031 | 1715 | 9.8 | 87.3884 | 3436.5 | 1165.8031 | 164.3031 | 0 |  | 19.8495 | 1715
12 | 165 | 125 | 290 | 0 | 0 | 4 | 290 | 70 | 4.4 | 3.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 12 | 84.85 | 8840 | 41.69 | 3439.8 | 0 | 4063.6364 | 2900 | 10 | 85.6406 | 3993.1 | 1163.6364 | 70.5364 | 0 |  | 33.5648 | 2900
13 | 90 | 45 | 135 | 0 | 0 | 3 | 135 | 53 | 1.6 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 13 | 84.8 | 8720 | 41.3 | 2983.5 | -120 | 2373.0337 | 1363.5 | 10.1 | 84.8917 | 2255.7 | 1129.5337 | 117.3337 | 0 |  | 15.7812 | 1363.5
14 | 375 | 105 | 480 | 0 | 0 | 4 | 480 | 107 | 7.95 | 2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 14 | 84.95 | 9080 | 41.651 | 3394.17 | 360 | 5160 | 4800 | 10 | 85.4412 | 5088.1 | 0 | 71.9 | 0 |  | 55.5556 | 4800
15 | 255 | 0 | 255 | 0 | 0 | 4 | 255 | 53 | 5.35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 |  | 15 | 84.75 | 8600 | 41.08 | 2726.1 | -480 | 2095.5 | 2575.5 | 10.1 | 84.991 | 2049.8 | 0 | 85.7 | 40 |  | 29.809 | 2575.5
16 | 45 | 115 | 160 | 0 | 0 | 0 | 160 | 80 | 1.2 | 3.1 | 0 | 8 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | ΣΥΝΤΗΡΗΣΗ Κ.Γ. ΜΕΤΑΦ.150KV & Δ/Κ Ρ10 | 16 | 84.8 | 8720 | 41.329 | 3017.43 | 120 | 1696 | 1576 | 9.85 | 87.0463 | 1547.6 | 0 | 148.4 | 0 |  | 18.2407 | 1576
17 | 115 | 115 | 230 | 0 | 0 | 8 | 230 | 110 | 2.8 | 2.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 17 | 84.8 | 8720 | 41.992 | 3793.14 | 0 | 2265.5 | 2265.5 | 9.85 | 87.0463 | 2138.9 | 0 | 186.6 | 60 |  | 26.2211 | 2265.5
18 | 0 | 115 | 115 | 0 | 0 | 4 | 115 | 35 | 0 | 2.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 18 | 84.85 | 8840 | 41.228 | 2899.26 | 120 | 1235.5 | 1115.5 | 9.7 | 88.2893 | 1175.3 | 0 | 60.2 | 0 |  | 12.9109 | 1115.5
19 | 0 | 110 | 110 | 0 | 0 | 3 | 110 | 35 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 19 | 85.05 | 9320 | 41.269 | 2947.23 | 480 | 2656.1269 | 1072.5 | 9.75 | 87.4285 | 2527.2 | 1103.6269 | 128.9269 | 0 |  | 12.4132 | 1072.5
20 | 155 | 370 | 525 | 0 | 0 | 4 | 525 | 108 | 3.1 | 7.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 20 | 84.6 | 8240 | 41.502 | 3219.84 | -1080 | 5057.6064 | 5302.5 | 10.1 | 85.2903 | 5026.45 | 835.1064 | 31.1564 | 0 |  | 61.3715 | 5302.5
21 | 185 | 75 | 260 | 0 | 0 | 4 | 260 | 108 | 3.8 | 1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 21 | 84.5 | 8000 | 41.6 | 3334.5 | -240 | 2334 | 2574 | 9.9 | 87.2181 | 2299.5 | 0 | 94.5 | 60 |  | 29.7917 | 2574
22 | 0 | 160 | 160 | 0 | 0 | 4 | 160 | 54 | 0 | 3.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 22 | 84.15 | 7160 | 41.454 | 3163.68 | -840 | 1836.2474 | 1568 | 9.8 | 88.8397 | 1730.1 | 1108.2474 | 106.1474 | 0 |  | 18.1481 | 1568
23 | 0 | 135 | 135 | 0 | 0 | 4 | 135 | 40 | 0 | 3.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 23 | 84.55 | 8120 | 41.099 | 2748.33 | 960 | 2384.25 | 1424.25 | 10.55 | 81.7483 | 2282.4 | 0 | 161.85 | 60 |  | 16.4844 | 1424.25
24 | 165 | 0 | 165 | 0 | 0 | 3 | 165 | 54 | 3.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 24 | 84.5 | 8000 | 40.9 | 2515.5 | -120 | 1653.75 | 1773.75 | 10.75 | 80.3218 | 970.9 | 0 | 682.85 | 0 |  | 20.5295 | 1773.75
25 | 115 | 0 | 115 | 0 | 0 | 4 | 115 | 54 | 2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 25 | 84.6 | 8240 | 41.03 | 2667.6 | 240 | 2656.2394 | 1224.75 | 10.65 | 80.8856 | 2255.7 | 1191.4894 | 460.5394 | 60 |  | 14.1753 | 1224.75
26 | 0 | 85 | 85 | 0 | 0 | 4 | 85 | 55 | 0 | 1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 26 | 84.9 | 8960 | 40.85 | 2457 | 720 | 1578.5 | 858.5 | 10.1 | 84.6939 | 1425 | 0 | 153.5 | 0 |  | 9.9363 | 858.5
27 | 85 | 235 | 320 | 0 | 0 | 4 | 320 | 94 | 2.2 | 5.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 27 | 84.7 | 8480 | 41.699 | 3450.33 | -480 | 6092.0426 | 3088 | 9.65 | 89.0585 | 6077.5 | 3484.0426 | 74.5426 | 60 |  | 35.7407 | 3088
28 | 0 | 95 | 95 | 0 | 0 | 4 | 95 | 54 | 0 | 1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 28 | 84.8 | 8720 | 40.569 | 2128.23 | 240 | 2257.9082 | 997.5 | 10.5 | 81.6578 | 2175.4 | 1020.4082 | 82.5082 | 0 |  | 11.5451 | 997.5
29 | 0 | 110 | 110 | 0 | 0 | 3 | 110 | 55 | 0 | 2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 29 | 84.6 | 8240 | 40.058 | 1530.36 | -480 | 2407.5957 | 1111 | 10.1 | 85.2903 | 2394.4 | 1776.5957 | 13.1957 | 0 |  | 12.8588 | 1111
30 | 0 | 130 | 130 | 0 | 0 | 4 | 130 | 54 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 30 | 84.8 | 8720 | 40.3 | 1813.5 | 480 | 1812.5 | 1332.5 | 10.25 | 83.6494 | 1380 | 0 | 432.5 | 0 |  | 15.4225 | 1332.5
31 | 0 | 255 | 255 | 0 | 0 | 4 | 255 | 54 | 0 | 4.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 31 | 85 | 9200 | 41.25 | 2925 | 480 | 3055.5 | 2575.5 | 10.1 | 84.4969 | 2642.6 | 0 | 472.9 | 60 |  | 29.809 | 2575.5
| 3295 | 2910 | 6205 | 0 | 0 | 116 | 6089 | 110 | 73.6 | 65.05 | 0 | 8 | 0 | 0 | 0 | 8 | 0 | 0 | 29 | 28 |  |  | 84.6452 | 8348.3871 | 41.2069 | 2874.5956 | 2040 | 82571.5363 | 62285.25 | 10.0379 | 85.727 | 78405.25 | 18246.2863 | 4756.2863 | 590 |  | 23.2546 | 62285.25