## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 755 | 560 | 1315 | 0 | 0 | 4 | 1315 | 109 | 13.5 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 1 | 83.1 | 4640 | 41.603 | 3338.01 | -960 | 12387.25 | 13347.25 | 10.15 | 87.9676 | 12295.2 | 0 | 152.05 | 60 |  | 154.4821 | 13347.25
2 | 985 | 365 | 1350 | 0 | 0 | 4 | 1350 | 109 | 18 | 6.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 2 | 83.25 | 5000 | 41.331 | 3019.77 | 360 | 13995 | 13635 | 10.1 | 88.0816 | 13974 | 0 | 81 | 60 |  | 157.8125 | 13635
3 | 870 | 490 | 1360 | 0 | 0 | 4 | 1360 | 109 | 16.7 | 9.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 |  | 3 | 83.75 | 6200 | 41.643 | 3384.81 | 1200 | 14936 | 13736 | 10.1 | 87.0267 | 14891.32 | 0 | 104.68 | 60 |  | 158.9815 | 13736
4 | 690 | 600 | 1290 | 0 | 0 | 4 | 1290 | 109 | 12.4 | 11.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 |  | 4 | 84 | 6800 | 41.418 | 3121.56 | 600 | 14016 | 13416 | 10.4 | 84.0133 | 14008.3 | 0 | 47.7 | 40 |  | 155.2778 | 13416
5 | 625 | 365 | 990 | 0 | 0 | 4 | 990 | 110 | 11.9 | 7.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 5 | 84.4 | 7760 | 41.42 | 3123.9 | 960 | 10860 | 9900 | 10 | 86.5495 | 10760.2 | 0 | 159.8 | 60 |  | 114.5833 | 9900
6 | 805 | 225 | 1030 | 0 | 0 | 4 | 1030 | 110 | 16 | 4.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 6 | 83.65 | 5960 | 41.82 | 3591.9 | -1800 | 11882.734 | 10145.5 | 9.85 | 89.4498 | 11760.3 | 3537.234 | 122.434 | 0 |  | 117.4248 | 10145.5
7 | 245 | 260 | 505 | 0 | 0 | 5 | 505 | 108 | 5 | 5.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 7 | 83.6 | 5840 | 41.12 | 2772.9 | -120 | 6950.836 | 5226.75 | 10.35 | 85.2309 | 6913.8 | 1844.086 | 97.036 | 60 |  | 60.4948 | 5226.75
8 | 620 | 565 | 1185 | 0 | 0 | 4 | 1185 | 110 | 13.1 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 8 | 83.35 | 5240 | 41.5 | 3217.5 | -600 | 11368.5 | 11968.5 | 10.1 | 87.8686 | 11316.9 | 0 | 111.6 | 60 |  | 138.5243 | 11968.5
9 | 230 | 845 | 1075 | 0 | 0 | 4 | 1075 | 108 | 4.7 | 16.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 9 | 84 | 6800 | 41.96 | 3755.7 | 1560 | 12310 | 10750 | 10 | 87.3738 | 12074.2 | 0 | 235.8 | 0 |  | 124.4213 | 10750
10 | 605 | 790 | 1395 | 0 | 0 | 4 | 1395 | 109 | 13.8 | 17.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 10 | 83.6 | 5840 | 41.669 | 3415.23 | -960 | 13129.5 | 14089.5 | 10.1 | 87.3405 | 13032 | 0 | 157.5 | 60 |  | 163.0729 | 14089.5
11 | 295 | 845 | 1140 | 0 | 0 | 4 | 1140 | 109 | 5.65 | 16.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 11 | 84.4 | 7760 | 41.42 | 3123.9 | 1920 | 13320 | 11400 | 10 | 86.5495 | 13329.8 | 0 | 50.2 | 60 |  | 131.9444 | 11400
12 | 340 | 870 | 1210 | 0 | 0 | 4 | 1210 | 109 | 7.05 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 12 | 84.45 | 7880 | 41.291 | 2972.97 | 120 | 12220 | 12100 | 10 | 86.4476 | 12088.8 | 0 | 131.2 | 0 |  | 140.0463 | 12100
13 | 755 | 685 | 1440 | 0 | 0 | 6 | 1440 | 109 | 14.5 | 13.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 13 | 83.65 | 5960 | 41.2595 | 2936.115 | -1920 | 12480 | 14400 | 10 | 88.108 | 12296.55 | 0 | 243.45 | 60 |  | 166.6667 | 14400
14 | 145 | 695 | 840 | 0 | 0 | 6 | 840 | 90 | 3.3 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 14 | 84.15 | 7160 | 41.319 | 3005.73 | 1200 | 9768 | 8568 | 10.2 | 85.3558 | 9782 | 0 | 46 | 60 |  | 99.1667 | 8568
15 | 490 | 215 | 705 | 0 | 0 | 7 | 705 | 110 | 10.4 | 4.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 15 | 84 | 6800 | 41.64 | 3381.3 | -360 | 9116.883 | 7120.5 | 10.1 | 86.5087 | 8856 | 2356.383 | 320.883 | 60 |  | 82.4132 | 7120.5
16 | 375 | 355 | 730 | 0 | 0 | 4 | 730 | 110 | 6.9 | 6.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 16 | 82.6 | 3520 | 41.78 | 3545.1 | -3280 | 7472.9121 | 7665 | 10.5 | 86.0826 | 7507.6 | 3087.9121 | 65.3121 | 100 |  | 88.7153 | 7665
17 | 270 | 575 | 845 | 0 | 0 | 4 | 845 | 108 | 5.8 | 11.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 17 | 83 | 4400 | 41.802 | 3570.84 | 880 | 9752.5 | 8872.5 | 10.5 | 85.2427 | 9752.6 | 0 | 59.9 | 60 |  | 102.691 | 8872.5
18 | 250 | 610 | 860 | 0 | 0 | 5 | 860 | 109 | 4.8 | 11.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 18 | 83.4 | 5360 | 41.451 | 3160.17 | 960 | 9990 | 9030 | 10.5 | 84.4191 | 10026.75 | 0 | 63.25 | 100 |  | 104.5139 | 9030
19 | 0 | 815 | 815 | 0 | 0 | 5 | 815 | 54 | 0 | 15.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 19 | 83.7 | 6080 | 41.32 | 3006.9 | 720 | 8951.5 | 8231.5 | 10.1 | 87.1311 | 8856 | 0 | 155.5 | 60 |  | 95.272 | 8231.5
20 | 245 | 580 | 825 | 0 | 0 | 4 | 825 | 110 | 4.75 | 11.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 20 | 83.35 | 5240 | 41.684 | 3432.78 | -840 | 7822.5 | 8662.5 | 10.5 | 84.5212 | 7830 | 0 | 12.5 | 20 |  | 100.2604 | 8662.5
21 | 230 | 285 | 515 | 0 | 0 | 4 | 515 | 109 | 4.25 | 5.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 21 | 84 | 6800 | 40.96 | 2585.7 | 1560 | 6761.5 | 5201.5 | 10.1 | 86.5087 | 6651.75 | 0 | 169.75 | 60 |  | 60.2025 | 5201.5
22 | 220 | 380 | 600 | 0 | 0 | 4 | 600 | 109 | 4.1 | 8.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 22 | 84.85 | 8840 | 41.4 | 3100.5 | 2040 | 7950 | 5910 | 9.85 | 86.9448 | 7803 | 0 | 147 | 0 |  | 68.4028 | 5910
23 | 450 | 240 | 690 | 0 | 0 | 6 | 690 | 109 | 8.3 | 4.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 23 | 84 | 6800 | 41.001 | 2633.67 | -2040 | 7878.3936 | 7003.5 | 10.15 | 86.0826 | 7920.5 | 2914.8936 | 17.8936 | 60 |  | 81.059 | 7003.5
24 | 235 | 335 | 570 | 0 | 0 | 5 | 570 | 110 | 4.3 | 6.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 24 | 84.05 | 6920 | 41.53 | 3252.6 | 120 | 7853.7179 | 5985 | 10.5 | 83.1142 | 7460.25 | 1748.7179 | 393.4679 | 0 |  | 69.2708 | 5985
25 | 485 | 275 | 760 | 0 | 0 | 4 | 760 | 109 | 8.9 | 5.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 25 | 84.1 | 7040 | 40.851 | 2458.17 | 120 | 9593.8723 | 7676 | 10.1 | 86.3032 | 9453.5 | 1797.8723 | 200.3723 | 60 |  | 88.8426 | 7676
26 | 395 | 395 | 790 | 0 | 0 | 4 | 790 | 109 | 7.3 | 8.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 26 | 84.75 | 8600 | 41.712 | 3465.54 | 1560 | 12485.8085 | 7979 | 10.1 | 84.991 | 12445.25 | 2946.8085 | 100.5585 | 60 |  | 92.3495 | 7979
27 | 550 | 365 | 915 | 0 | 0 | 4 | 915 | 110 | 11 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 27 | 84.5 | 8000 | 41.103 | 2753.01 | -600 | 10997.883 | 9241.5 | 10.1 | 85.491 | 10669.48 | 2356.383 | 388.403 | 60 |  | 106.9618 | 9241.5
28 | 270 | 125 | 395 | 0 | 0 | 4 | 395 | 55 | 5.5 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 28 | 83.55 | 5720 | 39.7839 | 1209.663 | -2280 | 4570.111 | 3989.5 | 10.1 | 87.4456 | 4418.7 | 2860.611 | 151.411 | 0 |  | 46.1748 | 3989.5
29 | 235 | 315 | 550 | 0 | 0 | 4 | 550 | 110 | 5.1 | 7.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 29 | 84 | 6800 | 40.28 | 1790.1 | 1080 | 6635 | 5555 | 10.1 | 86.5087 | 6450 | 0 | 185 | 0 |  | 64.294 | 5555
30 | 465 | 0 | 465 | 0 | 0 | 5 | 465 | 44 | 10.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 30 | 84.4 | 7760 | 39.932 | 1382.94 | 960 | 7958.4893 | 4712.775 | 10.135 | 85.3967 | 7467.9 | 2285.7143 | 490.5893 | 0 |  | 54.546 | 4712.775
31 | 95 | 60 | 155 | 0 | 0 | 4 | 155 | 70 | 2.6 | 1.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 31 | 84.2 | 7280 | 41.3 | 2983.5 | -480 | 4005.7128 | 1565.5 | 10.1 | 86.0987 | 2825.1 | 2920.2128 | 1240.6128 | 60 |  | 18.1192 | 1565.5
| 13225 | 14085 | 27310 | 0 | 0 | 138 | 27172 | 110 | 260.4 | 282.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38 | 40 |  |  | 83.8645 | 6477.4194 | 41.3001 | 2983.6283 | 1680 | 309420.6036 | 277083.775 | 10.1459 | 86.3963 | 304917.75 | 30656.8286 | 5902.8536 | 1400 |  | 103.4512 | 277083.775