## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 0 | 625 | 625 | 0 | 0 | 4 | 625 | 55 | 0 | 12.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 1 | 84.2 | 7280 | 41.34 | 3030.3 | -480 | 5832.5 | 6312.5 | 10.1 | 86.0987 | 5679.4 | 0 | 213.1 | 60 |  | 73.0613 | 6312.5
2 | 75 | 545 | 620 | 0 | 0 | 3 | 620 | 70 | 2.6 | 11.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 2 | 85.1 | 9440 | 41.75 | 3510 | 2160 | 8422 | 6262 | 10.1 | 84.3008 | 8300.1 | 0 | 181.9 | 60 |  | 72.4769 | 6262
3 | 680 | 0 | 680 | 0 | 0 | 4 | 680 | 50 | 12.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 3 | 85.15 | 9560 | 41.84 | 3615.3 | 120 | 6716 | 6596 | 9.7 | 87.6755 | 6696.85 | 0 | 19.15 | 0 |  | 76.3426 | 6596
4 | 635 | 0 | 635 | 0 | 0 | 3 | 635 | 50 | 12.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 4 | 84.9 | 8960 | 41.84 | 3615.3 | -600 | 5591.25 | 6191.25 | 9.75 | 87.7341 | 5292.5 | 0 | 298.75 | 0 |  | 71.658 | 6191.25
5 | 655 | 0 | 655 | 0 | 0 | 4 | 655 | 50 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 5 | 84.5 | 8000 | 42.03 | 3837.6 | -960 | 5524.5 | 6484.5 | 9.9 | 87.2181 | 5349.6 | 0 | 174.9 | 0 |  | 75.0521 | 6484.5
6 | 525 | 0 | 525 | 0 | 0 | 4 | 525 | 50 | 10.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 6 | 84.7 | 8480 | 41.427 | 3132.09 | 480 | 5677.5 | 5197.5 | 9.9 | 86.8095 | 5657.5 | 0 | 20 | 0 |  | 60.1562 | 5197.5
7 | 710 | 0 | 710 | 0 | 0 | 4 | 710 | 50 | 14.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 7 | 84.85 | 8840 | 42 | 3802.5 | 360 | 7247 | 6887 | 9.7 | 88.2893 | 7244.6 | 0 | 2.4 | 0 |  | 79.7106 | 6887
8 | 0 | 520 | 520 | 0 | 0 | 3 | 520 | 50 | 0 | 11.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 8 | 84.6 | 8240 | 41.486 | 3201.12 | -600 | 6448.6809 | 5304 | 10.2 | 84.4541 | 6446.8 | 1744.6809 | 61.8809 | 60 |  | 61.3889 | 5304
9 | 570 | 30 | 600 | 0 | 0 | 4 | 600 | 50 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 9 | 84.8 | 8720 | 41.67 | 3416.4 | 480 | 6300 | 5820 | 9.7 | 88.3924 | 6230.8 | 0 | 69.2 | 0 |  | 67.3611 | 5820
10 | 600 | 0 | 600 | 0 | 0 | 3 | 600 | 50 | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 10 | 85 | 9200 | 41.486 | 3201.12 | 480 | 6330 | 5850 | 9.75 | 87.5301 | 6351 | 0 | 9 | 30 |  | 67.7083 | 5850
11 | 585 | 0 | 585 | 0 | 0 | 5 | 585 | 50 | 12.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 11 | 85 | 9200 | 41.51 | 3229.2 | 0 | 5674.5 | 5674.5 | 9.7 | 87.9813 | 5469.75 | 0 | 204.75 | 0 |  | 65.6771 | 5674.5
12 | 0 | 505 | 505 | 0 | 0 | 4 | 505 | 55 | 0 | 10.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 12 | 84.7 | 8480 | 41.448 | 3156.66 | -720 | 4203.75 | 4923.75 | 9.75 | 88.1451 | 4175.6 | 0 | 28.15 | 0 |  | 56.9878 | 4923.75
13 | 555 | 55 | 610 | 0 | 0 | 4 | 610 | 50 | 12.2 | 1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 13 | 84.25 | 7400 | 41.7408 | 3499.236 | -1080 | 4898 | 5978 | 9.8 | 88.6294 | 4752.3 | 0 | 205.7 | 60 |  | 69.1898 | 5978
14 | 550 | 0 | 550 | 0 | 0 | 4 | 550 | 50 | 12.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 14 | 84.7 | 8480 | 41.52 | 3240.9 | 1080 | 6415 | 5335 | 9.7 | 88.5994 | 6322.5 | 0 | 92.5 | 0 |  | 61.7477 | 5335
15 | 540 | 0 | 540 | 0 | 0 | 2 | 540 | 50 | 12.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 15 | 84.55 | 8120 | 41.48 | 3194.1 | -360 | 4905 | 5265 | 9.75 | 88.4558 | 4865 | 0 | 100 | 60 |  | 60.9375 | 5265
16 | 535 | 0 | 535 | 0 | 0 | 4 | 535 | 50 | 10.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 16 | 84.8 | 8720 | 41.681 | 3429.27 | 600 | 5950 | 5350 | 10 | 85.7407 | 5942.2 | 0 | 67.8 | 60 |  | 61.9213 | 5350
17 | 710 | 100 | 810 | 0 | 0 | 4 | 810 | 105 | 15.8 | 2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 17 | 84.65 | 8360 | 41.562 | 3290.04 | -360 | 7497 | 7857 | 9.7 | 88.7033 | 7444.4 | 0 | 52.6 | 0 |  | 90.9375 | 7857
18 | 495 | 0 | 495 | 0 | 0 | 4 | 495 | 55 | 10.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 18 | 84.35 | 7640 | 40.852 | 2459.34 | -720 | 4180.5 | 4900.5 | 9.9 | 87.527 | 4022.3 | 0 | 158.2 | 0 |  | 56.7188 | 4900.5
19 | 505 | 0 | 505 | 0 | 0 | 3 | 505 | 50 | 11.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 19 | 84.4 | 7760 | 40.502 | 2049.84 | 120 | 5043.75 | 4923.75 | 9.75 | 88.7687 | 4956 | 0 | 87.75 | 0 |  | 56.9878 | 4923.75
20 | 620 | 90 | 710 | 0 | 0 | 4 | 710 | 110 | 12.6 | 1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 1 |  | 20 | 83.95 | 6680 | 41.8315 | 3605.355 | -1080 | 6126.5 | 7206.5 | 10.15 | 86.1852 | 6120 | 0 | 6.5 | 0 |  | 83.4086 | 7206.5
21 | 170 | 255 | 425 | 0 | 0 | 4 | 425 | 55 | 3.4 | 6.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 21 | 83.95 | 6680 | 41.299 | 2982.33 | 0 | 4292.5 | 4292.5 | 10.1 | 86.6118 | 4291.2 | 0 | 61.3 | 60 |  | 49.6817 | 4292.5
22 | 505 | 0 | 505 | 0 | 0 | 3 | 505 | 50 | 11.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 22 | 84 | 6800 | 41.566 | 3294.72 | 120 | 5069 | 4949 | 9.8 | 89.1569 | 5033 | 0 | 36 | 0 |  | 57.2801 | 4949
23 | 350 | 50 | 400 | 0 | 0 | 4 | 400 | 85 | 8.2 | 1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 23 | 84.6 | 8240 | 41.518 | 3238.56 | 1440 | 6852.3404 | 4040 | 10.1 | 85.2903 | 6868.8 | 1372.3404 | 43.5404 | 60 |  | 46.7593 | 4040
24 | 465 | 40 | 505 | 0 | 0 | 4 | 505 | 109 | 9.9 | 1.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 24 | 84.85 | 8840 | 41.78 | 3545.1 | 600 | 5574.25 | 4974.25 | 9.85 | 86.9448 | 5394.7 | 0 | 179.55 | 0 |  | 57.5723 | 4974.25
25 | 455 | 55 | 510 | 0 | 0 | 4 | 510 | 70 | 9.9 | 1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 25 | 84.7 | 8480 | 41.8499 | 3626.883 | -360 | 4740 | 5100 | 10 | 85.9415 | 4667.52 | 0 | 72.48 | 0 |  | 59.0278 | 5100
26 | 485 | 0 | 485 | 0 | 0 | 3 | 485 | 50 | 9.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 26 | 85.05 | 9320 | 41.381 | 3078.27 | 840 | 5593 | 4753 | 9.8 | 86.9824 | 5482.5 | 0 | 110.5 | 0 |  | 55.0116 | 4753
27 | 410 | 90 | 500 | 0 | 0 | 3 | 500 | 110 | 8.6 | 2.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 27 | 85.15 | 9560 | 41.558 | 3285.36 | 240 | 5140 | 4900 | 9.8 | 86.7808 | 4854.5 | 0 | 285.5 | 0 |  | 56.713 | 4900
28 | 45 | 540 | 585 | 0 | 0 | 3 | 585 | 110 | 0.8 | 10.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 28 | 84.55 | 8120 | 41.621 | 3359.07 | -1440 | 7446.7861 | 5967 | 10.2 | 84.5534 | 7504.4 | 2919.7861 | 42.3861 | 100 |  | 69.0625 | 5967
29 | 440 | 0 | 440 | 0 | 0 | 3 | 440 | 50 | 8.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 29 | 85.05 | 9320 | 41.542 | 3266.64 | 1200 | 5644 | 4444 | 10.1 | 84.3988 | 5438.5 | 0 | 205.5 | 0 |  | 51.4352 | 4444
30 | 445 | 0 | 445 | 0 | 0 | 4 | 445 | 55 | 8.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 30 | 83.7 | 6080 | 41.672 | 3418.74 | -3240 | 4523.8298 | 4450 | 10 | 88.0024 | 4496.8 | 3313.8298 | 27.0298 | 0 |  | 51.5046 | 4450
31 | 415 | 225 | 640 | 0 | 0 | 4 | 640 | 110 | 8.6 | 4.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 |  | 31 | 84.8 | 8720 | 41.88 | 3662.1 | 2640 | 8944 | 6304 | 9.85 | 87.0463 | 8537.1 | 0 | 406.9 | 0 |  | 72.963 | 6304
| 13730 | 3725 | 17455 | 0 | 0 | 113 | 17342 | 110 | 291.4 | 77.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 53 | 19 |  |  | 84.6306 | 8313.5484 | 41.5698 | 3299.1434 | 960 | 182803.1372 | 172492.5 | 9.8821 | 87.1081 | 179888.22 | 9350.6372 | 3524.9172 | 610 |  | 64.4013 | 172492.5