## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 165 | 0 | 165 | 0 | 0 | 3 | 165 | 55 | 4.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 1 | 84.3 | 7520 | 40.33 | 1848.6 | -840 | 2138.8112 | 1575.75 | 9.55 | 90.842 | 1545 | 1403.0612 | 593.8112 | 0 |  | 18.2378 | 1575.75
2 | 265 | 75 | 340 | 0 | 0 | 3 | 340 | 70 | 7.1 | 2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 2 | 84.65 | 8360 | 41.212 | 2880.54 | 840 | 5340.4211 | 3332 | 9.8 | 87.7982 | 5400 | 1168.4211 | 40.4211 | 100 |  | 38.5648 | 3332
3 | 445 | 145 | 590 | 0 | 0 | 3 | 590 | 55 | 9.1 | 3.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 3 | 84.4 | 7760 | 41.289 | 2970.63 | -600 | 5742.5 | 6342.5 | 10.75 | 80.5112 | 5909.2 | 0 | 33.3 | 200 |  | 73.4086 | 6342.5
4 | 295 | 0 | 295 | 0 | 0 | 5 | 295 | 55 | 6.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 4 | 84.5 | 8000 | 41.521 | 3242.07 | 240 | 3219.5 | 2979.5 | 10.1 | 85.491 | 3233.9 | 0 | 45.6 | 60 |  | 34.485 | 2979.5
5 | 390 | 85 | 475 | 0 | 0 | 3 | 475 | 80 | 9.8 | 2.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 5 | 84.6 | 8240 | 41.452 | 3161.34 | 240 | 4990 | 4750 | 10 | 86.1432 | 4905.6 | 0 | 84.4 | 0 |  | 54.9769 | 4750
6 | 100 | 165 | 265 | 0 | 0 | 4 | 265 | 35 | 2.8 | 3.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 6 | 84.45 | 7880 | 40.602 | 2166.84 | -360 | 2356.25 | 2716.25 | 10.25 | 84.3391 | 2234.4 | 0 | 121.85 | 0 |  | 31.4381 | 2716.25
7 | 95 | 140 | 235 | 0 | 0 | 4 | 235 | 55 | 2.15 | 3.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 7 | 84.4 | 7760 | 41 | 2632.5 | -120 | 2183 | 2303 | 9.8 | 88.3158 | 2160.8 | 0 | 82.2 | 60 |  | 26.6551 | 2303
8 | 425 | 0 | 425 | 0 | 0 | 4 | 425 | 55 | 9.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 8 | 84.75 | 8600 | 41.006 | 2639.52 | 840 | 5005 | 4165 | 9.8 | 87.5928 | 4825.3 | 0 | 179.7 | 0 |  | 48.206 | 4165
9 | 370 | 80 | 450 | 0 | 0 | 4 | 450 | 108 | 9 | 1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 9 | 84.15 | 7160 | 41.4 | 3100.5 | -1440 | 3060 | 4500 | 10 | 87.0629 | 2993 | 0 | 67 | 0 |  | 52.0833 | 4500
10 | 0 | 140 | 140 | 0 | 0 | 4 | 140 | 50 | 0 | 3.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 10 | 84.3 | 7520 | 40.162 | 1652.04 | 360 | 1732 | 1372 | 9.8 | 88.5246 | 1602.3 | 0 | 129.7 | 0 |  | 15.8796 | 1372
11 | 265 | 0 | 265 | 0 | 0 | 4 | 265 | 55 | 6.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 11 | 83.8 | 6320 | 41.425 | 3129.75 | -1200 | 1542.75 | 2742.75 | 10.35 | 84.8231 | 1391.6 | 0 | 151.15 | 0 |  | 31.7448 | 2742.75
12 | 0 | 90 | 90 | 0 | 0 | 4 | 90 | 35 | 0 | 2.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 12 | 84.1 | 7040 | 40.412 | 1944.54 | 720 | 1615.5 | 895.5 | 9.95 | 87.6043 | 1391.2 | 0 | 224.3 | 0 |  | 10.3646 | 895.5
13 | 210 | 0 | 210 | 0 | 0 | 4 | 210 | 40 | 4.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 13 | 83.95 | 6680 | 41.093 | 2741.31 | -360 | 1740 | 2100 | 10 | 87.4779 | 1693.6 | 0 | 46.4 | 0 |  | 24.3056 | 2100
14 | 0 | 215 | 215 | 0 | 0 | 2 | 215 | 45 | 0 | 5.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 14 | 83.6 | 5840 | 41.214 | 2882.88 | -840 | 1310 | 2150 | 10 | 88.2139 | 1414 | 0 | 46 | 150 |  | 24.8843 | 2150
15 | 605 | 580 | 1185 | 0 | 0 | 2 | 1185 | 110 | 11.2 | 11.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 15 | 84.5 | 8000 | 41.682 | 3430.44 | 2160 | 14010 | 11850 | 10 | 86.3459 | 14037.8 | 0 | 32.2 | 60 |  | 137.1528 | 11850
16 | 90 | 280 | 370 | 0 | 0 | 4 | 370 | 110 | 2.25 | 5.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 16 | 84.35 | 7640 | 41.698 | 3449.16 | -360 | 3266 | 3626 | 9.8 | 88.4201 | 3013.5 | 0 | 252.5 | 0 |  | 41.9676 | 3626
17 | 205 | 0 | 205 | 0 | 0 | 8 | 205 | 55 | 4.35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 17 | 84.25 | 7400 | 41.098 | 2747.16 | -240 | 1830.5 | 2070.5 | 10.1 | 85.9968 | 1773.9 | 0 | 56.6 | 0 |  | 23.9641 | 2070.5
18 | 0 | 145 | 145 | 0 | 0 | 4 | 145 | 55 | 0 | 2.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 18 | 84 | 6800 | 40.54 | 2094.3 | -600 | 864.5 | 1464.5 | 10.1 | 86.5087 | 700.8 | 0 | 163.7 | 0 |  | 16.9502 | 1464.5
19 | 95 | 365 | 460 | 0 | 0 | 1 | 460 | 109 | 2 | 7.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 19 | 83.9 | 6560 | 41.389 | 3087.63 | -240 | 4406 | 4646 | 10.1 | 86.7152 | 4277.8 | 0 | 188.2 | 60 |  | 53.7731 | 4646
20 | 250 | 0 | 250 | 0 | 0 | 1 | 250 | 35 | 6.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 20 | 84 | 6800 | 41.323 | 3010.41 | 240 | 2777.5 | 2537.5 | 10.15 | 86.0826 | 2584.2 | 0 | 193.3 | 0 |  | 29.3692 | 2537.5
21 | 110 | 0 | 110 | 0 | 0 | 4 | 110 | 35 | 3 | 0 | 0 | 8 | 0 | 0 | 0 | 8 | 0 | 0 | 1 | 0 | ΣΥΝΤΗΡΗΣΗ ΓΡΑΜΜΗΣ ΜΕΤΑΦΟΡΑΣ 150KV | 21 | 84.2 | 7280 | 40.867 | 2476.89 | 480 | 1596.5 | 1116.5 | 10.15 | 85.6746 | 1275 | 0 | 321.5 | 0 |  | 12.9225 | 1116.5
22 | 100 | 0 | 100 | 0 | 0 | 3 | 100 | 35 | 2.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 22 | 84.3 | 7520 | 40.701 | 2282.67 | 240 | 1305 | 1065 | 10.65 | 81.4593 | 1050 | 0 | 315 | 60 |  | 12.3264 | 1065
23 | 150 | 0 | 150 | 0 | 0 | 4 | 150 | 35 | 4.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 23 | 84.4 | 7760 | 41.0075 | 2641.275 | 240 | 1815 | 1575 | 10.5 | 82.4281 | 1460 | 0 | 355 | 0 |  | 18.2292 | 1575
24 | 265 | 0 | 265 | 0 | 0 | 3 | 265 | 40 | 6.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 24 | 84.25 | 7400 | 41.798 | 3566.16 | -360 | 2343 | 2703 | 10.2 | 85.1537 | 2271.8 | 0 | 71.2 | 0 |  | 31.2847 | 2703
25 | 185 | 0 | 185 | 0 | 0 | 4 | 185 | 40 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 25 | 84.35 | 7640 | 41.202 | 2868.84 | 240 | 2090 | 1850 | 10 | 86.6517 | 1961 | 0 | 129 | 0 |  | 21.412 | 1850
26 | 230 | 0 | 230 | 0 | 0 | 4 | 230 | 35 | 5.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 26 | 84.05 | 6920 | 41.268 | 2946.06 | -720 | 1580 | 2300 | 10 | 87.2699 | 1503.8 | 0 | 76.2 | 0 |  | 26.6204 | 2300
27 | 0 | 115 | 115 | 0 | 0 | 4 | 115 | 35 | 0 | 3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 27 | 83.95 | 6680 | 39.883 | 1325.61 | -240 | 973.25 | 1213.25 | 10.55 | 82.9175 | 800.8 | 0 | 232.45 | 60 |  | 14.0422 | 1213.25
28 | 195 | 0 | 195 | 0 | 0 | 4 | 195 | 40 | 4.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 28 | 83.95 | 6680 | 40.87 | 2480.4 | 0 | 1985.1 | 1985.1 | 10.18 | 85.9312 | 1868.8 | 0 | 116.3 | 0 |  | 22.9757 | 1985.1
29 | 495 | 0 | 495 | 0 | 0 | 2 | 495 | 55 | 9.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 29 | 84.1 | 7040 | 41.648 | 3390.66 | 360 | 5359.5 | 4999.5 | 10.1 | 86.3032 | 5117.3 | 0 | 242.2 | 0 |  | 57.8646 | 4999.5
30 | 165 | 430 | 595 | 0 | 0 | 4 | 595 | 110 | 3 | 8.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 30 | 83.85 | 6440 | 40.861 | 2469.87 | -600 | 5409.5 | 6009.5 | 10.1 | 86.8188 | 5431.2 | 0 | 38.3 | 60 |  | 69.5544 | 6009.5
31 | 105 | 400 | 505 | 0 | 0 | 4 | 505 | 70 | 3 | 9.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 31 | 84.15 | 7160 | 41.431 | 3136.77 | 720 | 5820.5 | 5100.5 | 10.1 | 86.2009 | 5489.6 | 0 | 330.9 | 0 |  | 59.0336 | 5100.5
| 6270 | 3450 | 9720 | 0 | 0 | 111 | 9609 | 110 | 145 | 77.6 | 0 | 8 | 0 | 0 | 0 | 8 | 0 | 0 | 41 | 24 |  |  | 84.2097 | 7303.2258 | 41.0769 | 2722.4956 | -1200 | 99407.5823 | 98036.1 | 10.086 | 86.1983 | 95317.2 | 2571.4823 | 4960.3823 | 870 |  | 36.6025 | 98036.1