## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 80 | 0 | 80 | 0 | 0 | 4 | 80 | 35 | 2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 1 | 84.2 | 7280 | 40.43 | 1965.6 | 1440 | 2801.6327 | 780 | 9.75 | 89.1895 | 2597.4 | 581.6327 | 204.2327 | 0 |  | 9.0278 | 780
2 | 95 | 0 | 95 | 0 | 0 | 4 | 95 | 35 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 2 | 84.5 | 8000 | 40.51 | 2059.2 | 720 | 1646.25 | 926.25 | 9.75 | 88.5599 | 1567.5 | 0 | 78.75 | 0 |  | 10.7205 | 926.25
3 | 285 | 0 | 285 | 0 | 0 | 5 | 285 | 55 | 6.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 3 | 84.1 | 7040 | 41.64 | 3381.3 | -960 | 1790.25 | 2750.25 | 9.65 | 90.3277 | 1757 | 0 | 33.25 | 0 |  | 31.8316 | 2750.25
4 | 405 | 0 | 405 | 0 | 0 | 5 | 405 | 55 | 7.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 4 | 84 | 6800 | 41.049 | 2689.83 | -240 | 3850.5 | 4090.5 | 10.1 | 86.5087 | 3839.8 | 0 | 40.7 | 30 |  | 47.3438 | 4090.5
5 | 0 | 85 | 85 | 0 | 0 | 4 | 85 | 35 | 0 | 2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 5 | 84 | 6800 | 40.835 | 2439.45 | 0 | 858.5 | 858.5 | 10.1 | 86.5087 | 744.6 | 0 | 113.9 | 0 |  | 9.9363 | 858.5
6 | 80 | 85 | 165 | 0 | 0 | 4 | 165 | 80 | 2.1 | 1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 6 | 83.6 | 5840 | 41.746 | 3505.32 | -960 | 813.75 | 1773.75 | 10.75 | 82.0595 | 734.4 | 0 | 79.35 | 0 |  | 20.5295 | 1773.75
7 | 100 | 0 | 100 | 0 | 0 | 5 | 100 | 35 | 2.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 7 | 84.1 | 7040 | 41.34 | 3030.3 | 1200 | 2175 | 975 | 9.75 | 89.4013 | 2007.5 | 0 | 167.5 | 0 |  | 11.2847 | 975
8 | 195 | 0 | 195 | 0 | 0 | 4 | 195 | 55 | 4.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 8 | 84.2 | 7280 | 41.57 | 3299.4 | 240 | 2287.5 | 2047.5 | 10.5 | 82.8188 | 2022.1 | 0 | 265.4 | 0 |  | 23.6979 | 2047.5
9 | 185 | 0 | 185 | 0 | 0 | 3 | 185 | 36 | 4.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 9 | 84.055 | 6932 | 41.481 | 3195.27 | -348 | 1465 | 1813 | 9.8 | 89.0403 | 1316 | 0 | 149 | 0 |  | 20.9838 | 1813
10 | 200 | 0 | 200 | 0 | 0 | 5 | 200 | 55 | 5.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 10 | 84.2 | 7280 | 41.5 | 3217.5 | 348 | 2368 | 2020 | 10.1 | 86.0987 | 2146.2 | 0 | 221.8 | 0 |  | 23.3796 | 2020
11 | 75 | 0 | 75 | 0 | 0 | 5 | 75 | 35 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 11 | 83.9 | 6560 | 40.85 | 2457 | -720 | 1761.4583 | 757.5 | 10.1 | 86.7152 | 1620.6 | 1723.9583 | 140.8583 | 0 |  | 8.7674 | 757.5
12 | 205 | 0 | 205 | 0 | 0 | 4 | 205 | 35 | 5.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 12 | 83.55 | 5720 | 41.55 | 3276 | -840 | 1230.5 | 2070.5 | 10.1 | 87.4456 | 1189.9 | 0 | 40.6 | 0 |  | 23.9641 | 2070.5
13 | 135 | 0 | 135 | 0 | 0 | 4 | 135 | 35 | 3.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 13 | 84.15 | 7160 | 41.112 | 2763.54 | 1440 | 2756.25 | 1316.25 | 9.75 | 89.2953 | 2584.2 | 0 | 172.05 | 0 |  | 15.2344 | 1316.25
14 | 95 | 0 | 95 | 0 | 0 | 5 | 95 | 35 | 2.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 14 | 84.5 | 8000 | 40.71 | 2293.2 | 840 | 1790 | 950 | 10 | 86.3459 | 1708.2 | 0 | 81.8 | 0 |  | 10.9954 | 950
15 | 230 | 0 | 230 | 0 | 0 | 4 | 230 | 36 | 6.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 15 | 83.9 | 6560 | 41.535 | 3258.45 | -1440 | 860 | 2300 | 10 | 87.5823 | 790.4 | 0 | 69.6 | 0 |  | 26.6204 | 2300
16 | 70 | 0 | 70 | 0 | 0 | 5 | 70 | 35 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 16 | 84.55 | 8120 | 40.54 | 2094.3 | 1560 | 2274 | 714 | 10.2 | 84.5534 | 2190 | 0 | 84 | 0 |  | 8.2639 | 714
17 | 155 | 0 | 155 | 0 | 0 | 5 | 155 | 35 | 4.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 17 | 84.5 | 8000 | 41.47 | 3182.4 | -120 | 2440.2917 | 1565.5 | 10.1 | 85.491 | 2321.4 | 994.7917 | 118.8917 | 0 |  | 18.1192 | 1565.5
18 | 340 | 115 | 455 | 0 | 0 | 3 | 455 | 110 | 6.95 | 2.35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 18 | 83.5 | 5600 | 41.652 | 3395.34 | -2400 | 2195.5 | 4595.5 | 10.1 | 87.551 | 2168.1 | 0 | 87.4 | 60 |  | 53.1887 | 4595.5
19 | 215 | 130 | 345 | 0 | 0 | 5 | 345 | 110 | 4.15 | 2.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 19 | 84 | 6800 | 41.3 | 2983.5 | 1200 | 4581 | 3381 | 9.8 | 89.1569 | 4565.8 | 0 | 15.2 | 0 |  | 39.1319 | 3381
20 | 580 | 0 | 580 | 0 | 0 | 4 | 580 | 55 | 12.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.2 | 0 | 1 | 0 | ΒΛΑΒΗ ΒΑΛΒΙΔΑΣ SA & ΡΥΘΜΙΣΤΗ ΣΤΟΦΩΝ | 20 | 83.95 | 6680 | 40.65 | 2223 | -120 | 5622 | 5742 | 9.9 | 88.3616 | 5577.2 | 0 | 44.8 | 0 |  | 66.4583 | 5742
21 | 225 | 0 | 225 | 0 | 0 | 4 | 225 | 40 | 5.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 0 | 1 | 0 | ΒΛΑΒΗ ΒΑΛΒΙΔΑΣ SA & ΡΥΘΜΙΣΤΗ ΣΤΟΦΩΝ | 21 | 84.1 | 7040 | 41.499 | 3216.33 | 360 | 2531.25 | 2171.25 | 9.65 | 90.3277 | 2484.3 | 0 | 46.95 | 0 |  | 25.1302 | 2171.25
22 | 210 | 0 | 210 | 0 | 0 | 5 | 210 | 40 | 5.35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 22 | 84.1 | 7040 | 41.755 | 3515.85 | 0 | 2016 | 2016 | 9.6 | 90.7982 | 1882.5 | 0 | 133.5 | 0 |  | 23.3333 | 2016
23 | 145 | 0 | 145 | 0 | 0 | 5 | 145 | 55 | 2.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 23 | 84.25 | 7400 | 41.202 | 2868.84 | 360 | 1752 | 1392 | 9.6 | 90.4758 | 1531.8 | 0 | 220.2 | 0 |  | 16.1111 | 1392
24 | 210 | 0 | 210 | 0 | 0 | 4 | 210 | 55 | 4.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 24 | 84.4 | 7760 | 41.79 | 3556.8 | 360 | 2481 | 2121 | 10.1 | 85.6926 | 2394.4 | 0 | 86.6 | 0 |  | 24.5486 | 2121
25 | 310 | 160 | 470 | 0 | 0 | 4 | 470 | 110 | 7 | 2.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 25 | 83.8 | 6320 | 41.6815 | 3429.855 | -1440 | 3307 | 4747 | 10.1 | 86.9226 | 3337.4 | 0 | 29.6 | 60 |  | 54.9421 | 4747
26 | 160 | 0 | 160 | 0 | 0 | 4 | 160 | 55 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 26 | 84.2 | 7280 | 41.52 | 3240.9 | 960 | 2496 | 1536 | 9.6 | 90.583 | 2355 | 0 | 141 | 0 |  | 17.7778 | 1536
27 | 215 | 0 | 215 | 0 | 0 | 4 | 215 | 55 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 27 | 84.1 | 7040 | 41.8 | 3568.5 | -240 | 1856.25 | 2096.25 | 9.75 | 89.4013 | 1803.1 | 0 | 53.15 | 0 |  | 24.2622 | 2096.25
28 | 175 | 40 | 215 | 0 | 0 | 4 | 215 | 70 | 4.8 | 1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 28 | 83.9 | 6560 | 41.9 | 3685.5 | -480 | 1616.25 | 2096.25 | 9.75 | 89.828 | 1533 | 0 | 83.25 | 0 |  | 24.2622 | 2096.25
29 | 125 | 0 | 125 | 0 | 0 | 4 | 125 | 36 | 3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 29 | 84.35 | 7640 | 41.5 | 3217.5 | 1080 | 2330 | 1250 | 10 | 86.6517 | 2227.5 | 0 | 102.5 | 0 |  | 14.4676 | 1250
30 | 75 | 0 | 75 | 0 | 0 | 3 | 75 | 40 | 1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 30 | 84.75 | 8600 | 40.85 | 2457 | 960 | 1691.25 | 731.25 | 9.75 | 88.042 | 1492.5 | 0 | 198.75 | 0 |  | 8.4635 | 731.25
31 | 70 | 0 | 70 | 0 | 0 | 3 | 70 | 40 | 1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 31 | 84.1 | 7040 | 40.869 | 2479.23 | -1560 | 1102.766 | 700 | 10 | 87.1663 | 1043.9 | 1962.766 | 58.866 | 0 |  | 8.1019 | 700
| 5645 | 615 | 6260 | 0 | 0 | 131 | 6129 | 110 | 131.9 | 12.8 | 0 | 0 | 0 | 0 | 0 | 0 | 26.2 | 0 | 39 | 6 |  |  | 84.1131 | 7071.3548 | 41.285 | 2966.0066 | 1200 | 68747.1486 | 62284 | 9.9495 | 87.5813 | 65533.7 | 5263.1486 | 3363.4486 | 150 |  | 23.2542 | 62284