## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 105 | 0 | 105 | 0 | 0 | 4 | 105 | 35 | 2.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 1 | 83.9 | 6560 | 40.781 | 2376.27 | 0 | 1060.5 | 1060.5 | 10.1 | 86.7152 | 844.9 | 0 | 215.6 | 0 |  | 12.2743 | 1060.5
2 | 85 | 0 | 85 | 0 | 0 | 4 | 85 | 35 | 2.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 2 | 84.2 | 7280 | 40.46 | 2000.7 | 720 | 1553 | 833 | 9.8 | 88.7344 | 1204.5 | 0 | 348.5 | 0 |  | 9.6412 | 833
3 | 0 | 85 | 85 | 0 | 0 | 3 | 85 | 35 | 0 | 2.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 3 | 84.25 | 7400 | 40.544 | 2098.98 | 120 | 944.5 | 824.5 | 9.7 | 89.5431 | 791.8 | 0 | 152.7 | 0 |  | 9.5428 | 824.5
4 | 185 | 120 | 305 | 0 | 0 | 4 | 305 | 108 | 3.8 | 2.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 4 | 84.25 | 7400 | 41.749 | 3508.83 | 0 | 3080.5 | 3080.5 | 10.1 | 85.9968 | 3022.2 | 0 | 58.3 | 0 |  | 35.6539 | 3080.5
5 | 70 | 0 | 70 | 0 | 0 | 4 | 70 | 35 | 1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 5 | 84.25 | 7400 | 41.65 | 3393 | 0 | 1775.0513 | 693 | 9.9 | 87.7341 | 1709.4 | 1082.0513 | 65.6513 | 0 |  | 8.0208 | 693
6 | 65 | 0 | 65 | 0 | 0 | 4 | 65 | 35 | 1.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 6 | 84.3 | 7520 | 41.65 | 3393 | 120 | 776.5 | 656.5 | 10.1 | 85.8952 | 828 | 0 | 8.5 | 60 |  | 7.5984 | 656.5
7 | 210 | 0 | 210 | 0 | 0 | 2 | 210 | 51 | 4.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 7 | 83.6 | 5840 | 41.408 | 3109.86 | -1680 | 2072.9784 | 2068.5 | 9.85 | 89.5573 | 1933.05 | 1684.4784 | 139.9284 | 0 |  | 23.941 | 2068.5
8 | 110 | 55 | 165 | 0 | 0 | 3 | 165 | 70 | 2.8 | 1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 8 | 84.05 | 6920 | 41.802 | 3570.84 | 1080 | 2730 | 1650 | 10 | 87.2699 | 2715.8 | 0 | 14.2 | 0 |  | 19.0972 | 1650
9 | 110 | 0 | 110 | 0 | 0 | 4 | 110 | 55 | 2.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 9 | 84.35 | 7640 | 41.503 | 3221.01 | 720 | 1781.5 | 1061.5 | 9.65 | 89.7945 | 1537.5 | 0 | 244 | 0 |  | 12.2859 | 1061.5
10 | 185 | 0 | 185 | 0 | 0 | 4 | 185 | 35 | 4.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 10 | 84.15 | 7160 | 41.2 | 2866.5 | -480 | 1351.5 | 1831.5 | 9.9 | 87.9423 | 1270.2 | 0 | 81.3 | 0 |  | 21.1979 | 1831.5
11 | 0 | 120 | 120 | 0 | 0 | 4 | 120 | 35 | 0 | 2.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 11 | 84.3 | 7520 | 41.102 | 2751.84 | 360 | 1548 | 1188 | 9.9 | 87.6304 | 1416.2 | 0 | 131.8 | 0 |  | 13.75 | 1188
12 | 65 | 0 | 65 | 0 | 0 | 3 | 65 | 35 | 1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 12 | 84.4 | 7760 | 40.582 | 2143.44 | 240 | 877 | 637 | 9.8 | 88.3158 | 766.5 | 0 | 110.5 | 0 |  | 7.3727 | 637
13 | 180 | 20 | 200 | 0 | 0 | 3 | 200 | 70 | 4.1 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 13 | 84.2 | 7280 | 40.902 | 2517.84 | -480 | 1540 | 2020 | 10.1 | 86.0987 | 985.5 | 0 | 554.5 | 0 |  | 23.3796 | 2020
14 | 70 | 0 | 70 | 0 | 0 | 4 | 70 | 55 | 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 14 | 84.6 | 8240 | 40.43 | 1965.6 | 960 | 2681.7143 | 686 | 9.8 | 87.9012 | 2077.5 | 1035.7143 | 604.2143 | 0 |  | 7.9398 | 686
15 | 0 | 220 | 220 | 0 | 0 | 4 | 220 | 55 | 0 | 4.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 15 | 84.25 | 7400 | 41.645 | 3387.15 | -840 | 2584.1277 | 2222 | 10.1 | 85.9968 | 2430.9 | 1202.1277 | 213.2277 | 60 |  | 25.7176 | 2222
16 | 190 | 0 | 190 | 0 | 0 | 4 | 190 | 55 | 4.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 16 | 84.15 | 7160 | 41.25 | 2925 | -240 | 1641 | 1881 | 9.9 | 87.9423 | 1460 | 0 | 181 | 0 |  | 21.7708 | 1881
17 | 140 | 0 | 140 | 0 | 0 | 3 | 140 | 55 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 17 | 84.3 | 7520 | 41.45 | 3159 | 360 | 1732 | 1372 | 9.8 | 88.5246 | 1497.45 | 0 | 234.55 | 0 |  | 15.8796 | 1372
18 | 95 | 0 | 95 | 0 | 0 | 4 | 95 | 35 | 2.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 18 | 84.25 | 7400 | 41.11 | 2761.2 | -120 | 815.75 | 935.75 | 9.85 | 88.1795 | 715.4 | 0 | 100.35 | 0 |  | 10.8304 | 935.75
19 | 150 | 25 | 175 | 0 | 0 | 4 | 175 | 70 | 4 | 0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 3.75 | 0 | 1 | 1 | ΧΑΜΗΜΗ ΡΟΗ ΝΕΡΟΥ ΣΤΟΥΣ ΔΑΚΤΥΛΙΟΥΣ ΣΤΕΓΑΝΟΤΗΤΑΣ | 19 | 84.5 | 8000 | 41.44 | 3147.3 | 600 | 2315 | 1715 | 9.8 | 88.108 | 2035 | 0 | 280 | 0 |  | 19.8495 | 1715
20 | 0 | 85 | 85 | 0 | 0 | 4 | 85 | 51 | 0 | 1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 9.5 | 0 | 0 | 1 | ΧΑΜΗΜΗ ΡΟΗ ΝΕΡΟΥ ΣΤΟΥΣ ΔΑΚΤΥΛΙΟΥΣ ΣΤΕΓΑΝΟΤΗΤΑΣ | 20 | 84.6 | 8240 | 40.78 | 2375.1 | 240 | 3509.9583 | 858.5 | 10.1 | 85.2903 | 3292.3 | 2411.4583 | 217.6583 | 0 |  | 9.9363 | 858.5
21 | 135 | 30 | 165 | 0 | 0 | 4 | 165 | 35 | 3.75 | 0.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 21 | 83.9 | 6560 | 41.123 | 2776.41 | -1680 | 2336.4921 | 1650 | 10 | 87.5823 | 2279.2 | 2366.4921 | 57.2921 | 0 |  | 19.0972 | 1650
22 | 155 | 30 | 185 | 0 | 0 | 4 | 185 | 70 | 3.95 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 22 | 84.15 | 7160 | 41 | 2632.5 | 600 | 2940.0479 | 1951.75 | 10.55 | 82.524 | 2908.8 | 388.2979 | 91.2479 | 60 |  | 22.5897 | 1951.75
23 | 330 | 0 | 330 | 0 | 0 | 3 | 330 | 55 | 7.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 23 | 84.35 | 7640 | 41.62 | 3357.9 | 480 | 3730.5 | 3250.5 | 9.85 | 87.9713 | 3590.9 | 0 | 139.6 | 0 |  | 37.6215 | 3250.5
24 | 105 | 0 | 105 | 0 | 0 | 3 | 105 | 55 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 24 | 84.4 | 7760 | 40.81 | 2410.2 | 120 | 1170 | 1050 | 10 | 86.5495 | 1036.6 | 0 | 133.4 | 0 |  | 12.1528 | 1050
25 | 185 | 0 | 185 | 0 | 0 | 3 | 185 | 35 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 25 | 84.4 | 7760 | 40.83 | 2433.6 | 0 | 1831.5 | 1831.5 | 9.9 | 87.4238 | 1721.4 | 0 | 110.1 | 0 |  | 21.1979 | 1831.5
26 | 175 | 125 | 300 | 0 | 0 | 4 | 300 | 109 | 3.8 | 2.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 26 | 84.55 | 8120 | 41.803 | 3572.01 | 360 | 4214.4681 | 3030 | 10.1 | 85.3905 | 4182.9 | 824.4681 | 91.5681 | 60 |  | 35.0694 | 3030
27 | 105 | 0 | 105 | 0 | 0 | 3 | 105 | 35 | 2.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 27 | 84.6 | 8240 | 40.58 | 2141.1 | 120 | 1149 | 1029 | 9.8 | 87.9012 | 960 | 0 | 189 | 0 |  | 11.9097 | 1029
28 | 300 | 0 | 300 | 0 | 0 | 4 | 300 | 55 | 7.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 28 | 84.15 | 7160 | 41.2655 | 2943.135 | -1080 | 1920 | 3000 | 10 | 87.0629 | 1825.25 | 0 | 94.75 | 0 |  | 34.7222 | 3000
29 | 70 | 0 | 70 | 0 | 0 | 4 | 70 | 55 | 1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 29 | 84.3 | 7520 | 40.7 | 2281.5 | 360 | 1046 | 686 | 9.8 | 88.5246 | 882 | 0 | 164 | 0 |  | 7.9398 | 686
30 | 65 | 0 | 65 | 0 | 0 | 4 | 65 | 35 | 1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 30 | 84.85 | 8840 | 40.648 | 2220.66 | 1320 | 2002.5 | 682.5 | 10.5 | 81.5625 | 1737.21 | 0 | 265.29 | 0 |  | 7.8993 | 682.5
31 | 95 | 60 | 155 | 0 | 0 | 4 | 155 | 70 | 2.6 | 1.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 31 | 84.2 | 7280 | 40.978 | 2606.76 | -1560 | 2806.5204 | 1565.5 | 10.1 | 86.0987 | 2786.4 | 2801.0204 | 20.1204 | 0 |  | 18.1192 | 1565.5
| 3735 | 975 | 4710 | 0 | 0 | 113 | 4597 | 109 | 91.1 | 22.25 | 0 | 0 | 0 | 0 | 0 | 0 | 13.25 | 0 | 36 | 12 |  |  | 84.2806 | 7473.5484 | 41.1224 | 2775.7495 | 720 | 61517.6084 | 47001.5 | 9.9791 | 86.9757 | 56444.76 | 13796.1084 | 5312.8484 | 240 |  | 17.5483 | 47001.5