## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 195 | 0 | 195 | 0 | 0 | 4 | 195 | 55 | 3.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 1 | 83.7 | 6080 | 39.361 | 714.87 | -2040 | 2211.4149 | 1969.5 | 10.1 | 87.1311 | 2168.1 | 2281.9149 | 103.3149 | 60 |  | 22.7951 | 1969.5
2 | 205 | 0 | 205 | 0 | 0 | 3 | 205 | 50 | 5.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 2 | 83.7 | 6080 | 40.46 | 2000.7 | 0 | 2557.6795 | 2070.5 | 10.1 | 87.1311 | 2425.5 | 487.1795 | 132.1795 | 0 |  | 23.9641 | 2070.5
3 | 265 | 0 | 265 | 0 | 0 | 3 | 265 | 55 | 5.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 3 | 84.05 | 6920 | 41.18 | 2843.1 | 840 | 5138.8404 | 2676.5 | 10.1 | 86.4059 | 5068.8 | 1622.3404 | 130.0404 | 60 |  | 30.978 | 2676.5
4 | 315 | 0 | 315 | 0 | 0 | 4 | 315 | 55 | 7.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 |  | 4 | 84.1 | 7040 | 40.93 | 2550.6 | 120 | 3348.75 | 3228.75 | 10.25 | 85.0403 | 3166.6 | 0 | 182.15 | 0 |  | 37.3698 | 3228.75
5 | 270 | 60 | 330 | 0 | 0 | 4 | 330 | 70 | 6.8 | 1.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 5 | 84.3 | 7520 | 41.4095 | 3111.615 | 480 | 3747 | 3267 | 9.9 | 87.6304 | 3642.7 | 0 | 104.3 | 0 |  | 37.8125 | 3267
6 | 205 | 190 | 395 | 0 | 0 | 3 | 395 | 75 | 5.4 | 5.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 6 | 84.5 | 8000 | 41.78 | 3545.1 | 480 | 4469.5 | 3989.5 | 10.1 | 85.491 | 4431.1 | 0 | 38.4 | 0 |  | 46.1748 | 3989.5
7 | 160 | 45 | 205 | 0 | 0 | 3 | 205 | 80 | 4 | 1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 7 | 84.65 | 8360 | 41.39 | 3088.8 | 360 | 2369 | 2009 | 9.8 | 87.7982 | 2255.7 | 0 | 173.3 | 60 |  | 23.2523 | 2009
8 | 170 | 65 | 235 | 0 | 0 | 4 | 235 | 75 | 4.2 | 1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 8 | 84.55 | 8120 | 41.69 | 3439.8 | -240 | 2227.5 | 2467.5 | 10.5 | 82.1375 | 1977.15 | 0 | 250.35 | 0 |  | 28.559 | 2467.5
9 | 280 | 0 | 280 | 0 | 0 | 4 | 280 | 55 | 6.5 | 0 | 0 | 0 | 0 | 0 | 16.25 | 0 | 0 | 0 | 2 | 0 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙΙ | 9 | 84.45 | 7880 | 41.38 | 3077.1 | -240 | 2490 | 2730 | 9.75 | 88.6642 | 2286.6 | 0 | 203.4 | 0 |  | 31.5972 | 2730
10 | 380 | 0 | 380 | 0 | 0 | 4 | 380 | 55 | 8.6 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 2 | 0 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙΙ | 10 | 84 | 6800 | 41.832 | 3605.94 | -1080 | 2758 | 3838 | 10.1 | 86.5087 | 2695.55 | 0 | 122.45 | 60 |  | 44.4213 | 3838
11 | 310 | 0 | 310 | 0 | 0 | 4 | 310 | 55 | 7.2 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 2 | 0 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙΙ | 11 | 83.8 | 6320 | 41.7 | 3451.5 | -480 | 2651 | 3131 | 10.1 | 86.9226 | 2606.1 | 0 | 104.9 | 60 |  | 36.2384 | 3131
12 | 340 | 0 | 340 | 0 | 0 | 4 | 340 | 40 | 8.1 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 2 | 0 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙΙ | 12 | 84.15 | 7160 | 41.852 | 3629.34 | 840 | 4410 | 3570 | 10.5 | 82.917 | 4020.45 | 0 | 389.55 | 0 |  | 41.3194 | 3570
13 | 345 | 0 | 345 | 0 | 0 | 3 | 345 | 55 | 8.2 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 2 | 0 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙΙ | 13 | 84.2 | 7280 | 41.537 | 3260.79 | 120 | 3535.5 | 3415.5 | 9.9 | 87.8381 | 3367 | 0 | 168.5 | 0 |  | 39.5312 | 3415.5
14 | 295 | 0 | 295 | 0 | 0 | 3 | 295 | 50 | 7 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 2 | 0 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙΙ | 14 | 84.1 | 7040 | 41.456 | 3166.02 | -240 | 2813.25 | 3053.25 | 10.35 | 84.2186 | 2628 | 0 | 185.25 | 0 |  | 35.3385 | 3053.25
15 | 435 | 0 | 435 | 0 | 0 | 4 | 435 | 50 | 9.9 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 2 | 0 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙΙ | 15 | 84.5 | 8000 | 41.602 | 3336.84 | 960 | 5353.5 | 4393.5 | 10.1 | 85.491 | 5234.4 | 0 | 179.1 | 60 |  | 50.8507 | 4393.5
16 | 355 | 0 | 355 | 0 | 0 | 3 | 355 | 40 | 8.9 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 2 | 0 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙΙ | 16 | 84.6 | 8240 | 41.24 | 2913.3 | 240 | 3914.25 | 3674.25 | 10.35 | 83.2301 | 3708.4 | 0 | 265.85 | 60 |  | 42.526 | 3674.25
17 | 410 | 0 | 410 | 0 | 0 | 4 | 410 | 45 | 9.7 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 2 | 0 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙΙ | 17 | 84.25 | 7400 | 41.473 | 3185.91 | -840 | 3526.5 | 4366.5 | 10.65 | 81.5557 | 3328.8 | 0 | 197.7 | 0 |  | 50.5382 | 4366.5
18 | 550 | 0 | 550 | 0 | 0 | 4 | 550 | 50 | 12.4 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 2 | 0 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙΙ | 18 | 84.1 | 7040 | 41.922 | 3711.24 | -360 | 5030 | 5390 | 9.8 | 88.9452 | 4861.8 | 0 | 168.2 | 0 |  | 62.3843 | 5390
19 | 420 | 0 | 420 | 0 | 0 | 4 | 420 | 45 | 9.5 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 2 | 0 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙΙ | 19 | 84.15 | 7160 | 41.577 | 3307.59 | 120 | 4572 | 4452 | 10.6 | 82.1348 | 4314.45 | 0 | 257.55 | 0 |  | 51.5278 | 4452
20 | 460 | 0 | 460 | 0 | 0 | 3 | 460 | 55 | 10.7 | 0 | 0 | 0 | 0 | 0 | 12.5 | 0 | 0 | 0 | 2 | 0 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙΙ | 20 | 83.9 | 6560 | 41.8 | 3568.5 | -600 | 4046 | 4646 | 10.1 | 86.7152 | 4051.5 | 0 | 54.5 | 60 |  | 53.7731 | 4646
21 | 175 | 390 | 565 | 0 | 0 | 4 | 565 | 110 | 3.5 | 8.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 21 | 83.7 | 6080 | 41.95 | 3744 | -480 | 5226.5 | 5706.5 | 10.1 | 87.1311 | 4839.9 | 0 | 446.6 | 60 |  | 66.0475 | 5706.5
22 | 115 | 340 | 455 | 0 | 0 | 4 | 455 | 70 | 2.9 | 8.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 22 | 83.7 | 6080 | 41.965 | 3761.55 | 0 | 4595.5 | 4595.5 | 10.1 | 87.1311 | 4555.2 | 0 | 100.3 | 60 |  | 53.1887 | 4595.5
23 | 0 | 470 | 470 | 0 | 0 | 3 | 470 | 45 | 0 | 11.5 | 16.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙ | 23 | 83.8 | 6320 | 41.329 | 3017.43 | 240 | 4987 | 4747 | 10.1 | 86.9226 | 4869.1 | 0 | 117.9 | 0 |  | 54.9421 | 4747
24 | 0 | 430 | 430 | 0 | 0 | 3 | 430 | 45 | 0 | 9.7 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙ | 24 | 84.1 | 7040 | 41.191 | 2855.97 | 720 | 4955.5 | 4235.5 | 9.85 | 88.4937 | 4777.5 | 0 | 178 | 0 |  | 49.022 | 4235.5
25 | 0 | 700 | 700 | 0 | 0 | 4 | 700 | 40 | 0 | 17.3 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙ | 25 | 83.8 | 6320 | 41.821 | 3593.07 | -720 | 6420 | 7140 | 10.2 | 86.0705 | 6447 | 0 | 33 | 60 |  | 82.6389 | 7140
26 | 0 | 730 | 730 | 0 | 0 | 3 | 730 | 40 | 0 | 16.9 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙ | 26 | 83.5 | 5600 | 41.861 | 3639.87 | -720 | 6653 | 7373 | 10.1 | 87.551 | 6643 | 0 | 70 | 60 |  | 85.3356 | 7373
27 | 0 | 775 | 775 | 0 | 0 | 4 | 775 | 40 | 0 | 19.1 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙ | 27 | 84.25 | 7400 | 41.7 | 3451.5 | 1800 | 9550 | 7750 | 10 | 86.8568 | 9442.5 | 0 | 107.5 | 0 |  | 89.6991 | 7750
28 | 0 | 795 | 795 | 0 | 0 | 4 | 795 | 40 | 0 | 19 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙ | 28 | 84.3 | 7520 | 41.589 | 3321.63 | 120 | 8149.5 | 8029.5 | 10.1 | 85.8952 | 8217.3 | 0 | 32.2 | 100 |  | 92.934 | 8029.5
29 | 0 | 725 | 725 | 0 | 0 | 4 | 725 | 45 | 0 | 18 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙ | 29 | 84.5 | 8000 | 41.698 | 3449.16 | 480 | 7802.5 | 7322.5 | 10.1 | 85.491 | 7822.1 | 0 | 40.4 | 60 |  | 84.7512 | 7322.5
30 | 0 | 810 | 810 | 0 | 0 | 4 | 810 | 45 | 0 | 19.25 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙ | 30 | 84.8 | 8720 | 41.549 | 3274.83 | 720 | 8739 | 8019 | 9.9 | 86.6067 | 8679.2 | 0 | 59.8 | 0 |  | 92.8125 | 8019
31 | 0 | 790 | 790 | 0 | 0 | 4 | 790 | 40 | 0 | 19.3 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙ | 31 | 85 | 9200 | 41.501 | 3218.67 | 480 | 8459 | 7979 | 10.1 | 84.4969 | 8475 | 0 | 44 | 60 |  | 92.3495 | 7979
| 6655 | 7315 | 13970 | 0 | 0 | 113 | 13857 | 110 | 155.7 | 176.05 | 208.8 | 0 | 0 | 0 | 268.75 | 0 | 0 | 0 | 40 | 19 |  |  | 84.1677 | 7202.5806 | 41.475 | 3188.2689 | 1080 | 146707.1848 | 141235.75 | 10.1099 | 86.0799 | 143006.5 | 4391.4348 | 4640.6848 | 940 |  | 52.7314 | 141235.75