## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 385 | 0 | 385 | 0 | 0 | 4 | 385 | 45 | 7.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 1 | 85 | 9200 | 41.638 | 3378.96 | 360 | 4094.5 | 3734.5 | 9.7 | 87.9813 | 3669.3 | 0 | 425.2 | 0 |  | 43.2234 | 3734.5
2 | 395 | 0 | 395 | 0 | 0 | 4 | 395 | 45 | 9.35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 2 | 84.9 | 8960 | 41.622 | 3360.24 | -240 | 3848.25 | 4088.25 | 10.35 | 82.6481 | 3881.45 | 0 | 26.8 | 60 |  | 47.3177 | 4088.25
3 | 420 | 0 | 420 | 0 | 0 | 4 | 420 | 45 | 9.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 3 | 84.5 | 8000 | 42.049 | 3859.83 | -960 | 3387 | 4347 | 10.35 | 83.426 | 3321.5 | 0 | 65.5 | 0 |  | 50.3125 | 4347
4 | 185 | 140 | 325 | 0 | 0 | 4 | 325 | 80 | 4.7 | 3.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 4 | 83.7 | 6080 | 41.872 | 3652.74 | -1920 | 4764.3434 | 3250 | 10 | 88.0024 | 4805 | 3434.3434 | 19.3434 | 60 |  | 37.6157 | 3250
5 | 350 | 0 | 350 | 0 | 0 | 3 | 350 | 45 | 8.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 5 | 84.25 | 7400 | 41.802 | 3570.84 | 1320 | 4820 | 3500 | 10 | 86.8568 | 4608 | 0 | 212 | 0 |  | 40.5093 | 3500
6 | 0 | 320 | 320 | 0 | 0 | 3 | 320 | 54 | 0 | 7.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 6 | 84.3 | 7520 | 41.192 | 2857.14 | 120 | 3352 | 3232 | 10.1 | 85.8952 | 3261.6 | 0 | 150.4 | 60 |  | 37.4074 | 3232
7 | 310 | 15 | 325 | 0 | 0 | 3 | 325 | 40 | 7.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 7 | 84.5 | 8000 | 41.78 | 3545.1 | 480 | 3731.5 | 3251.5 | 10.0046 | 86.306 | 3445.6 | 0 | 345.9 | 60 |  | 37.6331 | 3251.5
8 | 0 | 125 | 125 | 0 | 0 | 4 | 125 | 45 | 0 | 3.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 8 | 84.65 | 8360 | 40.701 | 2282.67 | 360 | 1678.75 | 1318.75 | 10.55 | 81.5566 | 1540.3 | 0 | 138.45 | 0 |  | 15.2633 | 1318.75
9 | 220 | 0 | 220 | 0 | 0 | 3 | 220 | 39 | 5.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 9 | 84.55 | 8120 | 41.081 | 2727.27 | -240 | 1960 | 2200 | 10 | 86.2444 | 1746.4 | 0 | 213.6 | 0 |  | 25.463 | 2200
10 | 85 | 0 | 85 | 0 | 0 | 4 | 85 | 40 | 2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 10 | 84.8 | 8720 | 40.71 | 2293.2 | 600 | 1433 | 833 | 9.8 | 87.4905 | 1311.2 | 0 | 121.8 | 0 |  | 9.6412 | 833
11 | 100 | 0 | 100 | 0 | 0 | 3 | 100 | 35 | 2.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 11 | 84.3 | 7520 | 40.197 | 1692.99 | -1200 | 2730.2128 | 1010 | 10.1 | 85.8952 | 2671.8 | 2920.2128 | 78.4128 | 20 |  | 11.6898 | 1010
12 | 105 | 0 | 105 | 0 | 0 | 4 | 105 | 40 | 2.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 12 | 84.6 | 8240 | 40.2 | 1696.5 | 720 | 1749 | 1029 | 9.8 | 87.9012 | 1494.8 | 0 | 254.2 | 0 |  | 11.9097 | 1029
13 | 275 | 0 | 275 | 0 | 0 | 4 | 275 | 40 | 6.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 13 | 84.45 | 7880 | 41.399 | 3099.33 | -360 | 2348.75 | 2708.75 | 9.85 | 87.764 | 2263.8 | 0 | 84.95 | 0 |  | 31.3513 | 2708.75
14 | 200 | 0 | 200 | 0 | 0 | 3 | 200 | 40 | 5.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 14 | 84.55 | 8120 | 41.58 | 3311.1 | 240 | 2260 | 2020 | 10.1 | 85.3905 | 2234.8 | 0 | 25.2 | 0 |  | 23.3796 | 2020
15 | 230 | 0 | 230 | 0 | 0 | 3 | 230 | 45 | 5.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 15 | 84.55 | 8120 | 41.769 | 3532.23 | 0 | 2323 | 2323 | 10.1 | 85.3905 | 2248.4 | 0 | 134.6 | 60 |  | 26.8866 | 2323
16 | 170 | 0 | 170 | 0 | 0 | 3 | 170 | 40 | 4.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 16 | 84.7 | 8480 | 40.552 | 2108.34 | 360 | 2034.5 | 1674.5 | 9.85 | 87.2502 | 1897.5 | 0 | 137 | 0 |  | 19.3808 | 1674.5
17 | 120 | 0 | 120 | 0 | 0 | 4 | 120 | 35 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 17 | 84.85 | 8840 | 40.942 | 2564.64 | 360 | 1530 | 1170 | 9.75 | 87.8365 | 1318.65 | 0 | 211.35 | 0 |  | 13.5417 | 1170
18 | 130 | 0 | 130 | 0 | 0 | 4 | 130 | 45 | 3.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 18 | 84.9 | 8960 | 41.178 | 2840.76 | 120 | 1394 | 1274 | 9.8 | 87.2865 | 1244.15 | 0 | 149.85 | 0 |  | 14.7454 | 1274
19 | 155 | 0 | 155 | 0 | 0 | 3 | 155 | 55 | 3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 19 | 85 | 9200 | 40.752 | 2342.34 | 240 | 1743.5 | 1503.5 | 9.7 | 87.9813 | 1470 | 0 | 273.5 | 0 |  | 17.4016 | 1503.5
20 | 275 | 0 | 275 | 0 | 0 | 4 | 275 | 40 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 20 | 84.5 | 8000 | 41.399 | 3099.33 | -1200 | 1577.5 | 2777.5 | 10.1 | 85.491 | 1494.8 | 0 | 142.7 | 60 |  | 32.147 | 2777.5
21 | 170 | 0 | 170 | 0 | 0 | 4 | 170 | 40 | 3.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 21 | 84.5 | 8000 | 41.05 | 2691 | 0 | 1683 | 1683 | 9.9 | 87.2181 | 1583.6 | 0 | 99.4 | 0 |  | 19.4792 | 1683
22 | 185 | 0 | 185 | 0 | 0 | 5 | 185 | 40 | 4.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 22 | 84.5 | 8000 | 41.352 | 3044.34 | 0 | 1850 | 1850 | 10 | 86.3459 | 1656 | 0 | 194 | 0 |  | 21.412 | 1850
23 | 170 | 75 | 245 | 0 | 0 | 4 | 245 | 80 | 4.3 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 23 | 84.55 | 8120 | 41.801 | 3569.67 | 120 | 2594.5 | 2474.5 | 10.1 | 85.3905 | 2649.9 | 0 | 44.6 | 100 |  | 28.64 | 2474.5
24 | 0 | 180 | 180 | 0 | 0 | 4 | 180 | 35 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 24 | 84.75 | 8600 | 41.068 | 2712.06 | 480 | 2298 | 1818 | 10.1 | 84.991 | 2087.4 | 0 | 210.6 | 0 |  | 21.0417 | 1818
25 | 80 | 185 | 265 | 0 | 0 | 4 | 265 | 70 | 2 | 4.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 25 | 84.45 | 7880 | 41.6515 | 3394.755 | -720 | 1930 | 2650 | 10 | 86.4476 | 1854.2 | 0 | 75.8 | 0 |  | 30.6713 | 2650
26 | 0 | 160 | 160 | 0 | 0 | 4 | 160 | 45 | 0 | 4.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 26 | 84.45 | 7880 | 41.115 | 2767.05 | 0 | 1600 | 1600 | 10 | 86.4476 | 1337.7 | 0 | 262.3 | 0 |  | 18.5185 | 1600
27 | 175 | 0 | 175 | 0 | 0 | 4 | 175 | 40 | 4.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 27 | 84.45 | 7880 | 40.403 | 1934.01 | 0 | 1750 | 1750 | 10 | 86.4476 | 1653.75 | 0 | 96.25 | 0 |  | 20.2546 | 1750
28 | 180 | 0 | 180 | 0 | 0 | 2 | 180 | 35 | 4.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 28 | 84.35 | 7640 | 40.601 | 2165.67 | -240 | 1578 | 1818 | 10.1 | 85.7938 | 1503.8 | 0 | 74.2 | 0 |  | 21.0417 | 1818
29 | 155 | 100 | 255 | 0 | 0 | 2 | 255 | 70 | 3.7 | 2.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 29 | 84.3 | 7520 | 41.351 | 3043.17 | -120 | 2404.5 | 2524.5 | 9.9 | 87.6304 | 2355 | 0 | 49.5 | 0 |  | 29.2188 | 2524.5
30 | 200 | 0 | 200 | 0 | 0 | 4 | 200 | 40 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 30 | 84.2 | 7280 | 41 | 2632.5 | -240 | 1730 | 1970 | 9.85 | 88.284 | 1507.5 | 0 | 222.5 | 0 |  | 22.8009 | 1970
| 5425 | 1300 | 6725 | 0 | 0 | 108 | 6617 | 80 | 132.1 | 32.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40 | 11 |  |  | 84.535 | 8084 | 41.1936 | 2858.9925 | -1560 | 72177.8062 | 67383.25 | 10.0198 | 86.1042 | 68117.9 | 6354.5562 | 4539.9062 | 480 |  | 25.9966