## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 60 | 165 | 225 | 0 | 0 | 4 | 225 | 75 | 1.1 | 3.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 1 | 84.35 | 7640 | 41.642 | 3383.64 | 360 | 2632.5 | 2272.5 | 10.1 | 85.7938 | 2612.2 | 0 | 80.3 | 60 |  | 26.3021 | 2272.5
2 | 240 | 0 | 240 | 0 | 0 | 4 | 240 | 50 | 5.35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 2 | 84.4 | 7760 | 41.748 | 3507.66 | 120 | 2544 | 2424 | 10.1 | 85.6926 | 2448 | 0 | 96 | 0 |  | 28.0556 | 2424
3 | 370 | 150 | 520 | 0 | 0 | 3 | 520 | 90 | 7.75 | 2.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 3 | 84.6 | 8240 | 41.821 | 3593.07 | 480 | 5628 | 5148 | 9.9 | 87.0133 | 5527.5 | 0 | 100.5 | 0 |  | 59.5833 | 5148
4 | 0 | 265 | 265 | 0 | 0 | 3 | 265 | 55 | 0 | 6.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 4 | 84.6 | 8240 | 40.95 | 2574 | 0 | 2597 | 2597 | 9.8 | 87.9012 | 2453.75 | 0 | 143.25 | 0 |  | 30.0579 | 2597
5 | 230 | 0 | 230 | 0 | 0 | 4 | 230 | 35 | 5.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 5 | 84.45 | 7880 | 41.77 | 3533.4 | -360 | 1940 | 2300 | 10 | 86.4476 | 1773.9 | 0 | 166.1 | 0 |  | 26.6204 | 2300
6 | 250 | 40 | 290 | 0 | 0 | 4 | 290 | 70 | 5.9 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 6 | 84.65 | 8360 | 41.65 | 3393 | 480 | 3409 | 2929 | 10.1 | 85.1903 | 3255.8 | 0 | 153.2 | 0 |  | 33.9005 | 2929
7 | 245 | 55 | 300 | 0 | 0 | 3 | 300 | 89 | 6 | 1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 7 | 84.6 | 8240 | 41.215 | 2884.05 | -120 | 2820 | 2940 | 9.8 | 87.9012 | 2660.7 | 0 | 159.3 | 0 |  | 34.0278 | 2940
8 | 195 | 0 | 195 | 0 | 0 | 3 | 195 | 35 | 5.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 8 | 84.5 | 8000 | 41.717 | 3471.39 | -240 | 1661.25 | 1901.25 | 9.75 | 88.5599 | 1650 | 0 | 11.25 | 0 |  | 22.0052 | 1901.25
9 | 190 | 55 | 245 | 0 | 0 | 4 | 245 | 108 | 4.2 | 1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 9 | 84.8 | 8720 | 41.638 | 3378.96 | 720 | 3133.25 | 2413.25 | 9.85 | 87.0463 | 2890.8 | 0 | 242.45 | 0 |  | 27.9311 | 2413.25
10 | 300 | 0 | 300 | 0 | 0 | 3 | 300 | 54 | 6.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 10 | 84.5 | 8000 | 41.231 | 2902.77 | -720 | 2280 | 3000 | 10 | 86.3459 | 2117 | 0 | 223 | 60 |  | 34.7222 | 3000
11 | 115 | 0 | 115 | 0 | 0 | 4 | 115 | 50 | 2.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 11 | 84.65 | 8360 | 40.917 | 2535.39 | 360 | 1510 | 1150 | 10 | 86.0422 | 1452.7 | 0 | 57.3 | 0 |  | 13.3102 | 1150
12 | 190 | 0 | 190 | 0 | 0 | 4 | 190 | 50 | 4.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 12 | 84.5 | 8000 | 41.403 | 3104.01 | -360 | 1492.5 | 1852.5 | 9.75 | 88.5599 | 1333.55 | 0 | 158.95 | 0 |  | 21.441 | 1852.5
13 | 195 | 0 | 195 | 0 | 0 | 4 | 195 | 50 | 5.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 13 | 84.65 | 8360 | 41.172 | 2833.74 | 360 | 2310 | 1950 | 10 | 86.0422 | 2044 | 0 | 266 | 0 |  | 22.5694 | 1950
14 | 185 | 0 | 185 | 0 | 0 | 4 | 185 | 50 | 4.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 14 | 84.55 | 8120 | 41.1 | 2749.5 | -240 | 1656.25 | 1896.25 | 10.25 | 84.1409 | 1708.2 | 0 | 8.05 | 60 |  | 21.9473 | 1896.25
15 | 140 | 80 | 220 | 0 | 0 | 4 | 220 | 80 | 3.7 | 2.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 15 | 84.6 | 8240 | 41.217 | 2886.39 | 120 | 2276 | 2156 | 9.8 | 87.9012 | 2181.95 | 0 | 94.05 | 0 |  | 24.9537 | 2156
16 | 150 | 0 | 150 | 0 | 0 | 5 | 150 | 54 | 3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 16 | 84.6 | 8240 | 41.111 | 2762.37 | 0 | 1455 | 1455 | 9.7 | 88.8074 | 1231.65 | 0 | 223.35 | 0 |  | 16.8403 | 1455
17 | 225 | 0 | 225 | 0 | 0 | 4 | 225 | 54 | 5.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 17 | 84.65 | 8360 | 41.503 | 3221.01 | 120 | 2392.5 | 2272.5 | 10.1 | 85.1903 | 2343.3 | 0 | 109.2 | 60 |  | 26.3021 | 2272.5
18 | 0 | 245 | 245 | 0 | 0 | 4 | 245 | 54 | 0 | 5.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 18 | 84.65 | 8360 | 41.652 | 3395.34 | 0 | 2450 | 2450 | 10 | 86.0422 | 2233.8 | 0 | 216.2 | 0 |  | 28.3565 | 2450
19 | 230 | 115 | 345 | 0 | 0 | 5 | 345 | 108 | 4.7 | 2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 19 | 84.55 | 8120 | 41.75 | 3510 | -240 | 3175.5 | 3415.5 | 9.9 | 87.1156 | 2987.45 | 0 | 188.05 | 0 |  | 39.5312 | 3415.5
20 | 680 | 230 | 910 | 0 | 0 | 4 | 910 | 110 | 13.3 | 4.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 20 | 84.65 | 8360 | 41.85 | 3627 | 240 | 9067 | 8827 | 9.7 | 88.7033 | 9057.6 | 0 | 9.4 | 0 |  | 102.1644 | 8827
21 | 605 | 310 | 915 | 0 | 0 | 5 | 915 | 110 | 13.7 | 7.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 |  | 21 | 84.65 | 8360 | 41.63 | 3369.6 | 0 | 9150 | 9150 | 10 | 86.0422 | 9003.75 | 0 | 146.25 | 0 |  | 105.9028 | 9150
22 | 0 | 555 | 555 | 0 | 0 | 5 | 555 | 50 | 0 | 11.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 22 | 84.7 | 8480 | 41.646 | 3388.32 | 120 | 5586.75 | 5466.75 | 9.85 | 87.2502 | 5365 | 0 | 221.75 | 0 |  | 63.2726 | 5466.75
23 | 135 | 170 | 305 | 0 | 0 | 4 | 305 | 107 | 3.2 | 3.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 23 | 84.7 | 8480 | 41.82 | 3591.9 | 0 | 3080.5 | 3080.5 | 10.1 | 85.0905 | 2876.2 | 0 | 204.3 | 0 |  | 35.6539 | 3080.5
24 | 0 | 505 | 505 | 0 | 0 | 4 | 505 | 50 | 0 | 11.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 24 | 84.3 | 7520 | 41.302 | 2985.84 | -960 | 4090 | 5050 | 10 | 86.7541 | 3991.05 | 0 | 98.95 | 0 |  | 58.4491 | 5050
25 | 420 | 0 | 420 | 0 | 0 | 3 | 420 | 50 | 9.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 25 | 84.3 | 7520 | 41.301 | 2984.67 | 0 | 4158 | 4158 | 9.9 | 87.6304 | 3807.3 | 0 | 350.7 | 0 |  | 48.125 | 4158
26 | 640 | 0 | 640 | 0 | 0 | 4 | 640 | 54 | 14.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 26 | 84.5 | 8000 | 41.398 | 3098.16 | 480 | 6944 | 6464 | 10.1 | 85.491 | 6852.4 | 0 | 91.6 | 0 |  | 74.8148 | 6464
27 | 460 | 65 | 525 | 0 | 0 | 4 | 525 | 90 | 10.45 | 1.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 27 | 84.1 | 7040 | 41.4 | 3100.5 | -960 | 4185 | 5145 | 9.8 | 88.9452 | 4121.8 | 0 | 63.2 | 0 |  | 59.5486 | 5145
28 | 430 | 0 | 430 | 0 | 0 | 5 | 430 | 50 | 9.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 28 | 84.2 | 7280 | 41.656 | 3400.02 | 240 | 4475.5 | 4235.5 | 9.85 | 88.284 | 4270.25 | 0 | 205.25 | 0 |  | 49.022 | 4235.5
29 | 150 | 540 | 690 | 0 | 0 | 5 | 690 | 108 | 2.8 | 11.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 29 | 84.55 | 8120 | 41.658 | 3402.36 | 840 | 7671 | 6831 | 9.9 | 87.1156 | 7519 | 0 | 152 | 0 |  | 79.0625 | 6831
30 | 275 | 205 | 480 | 0 | 0 | 5 | 480 | 110 | 5.1 | 3.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 30 | 84.55 | 8120 | 41.652 | 3395.34 | 0 | 4728 | 4728 | 9.85 | 87.5578 | 4480 | 0 | 248 | 0 |  | 54.7222 | 4728
31 | 505 | 245 | 750 | 0 | 0 | 4 | 750 | 110 | 11.6 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 31 | 84.15 | 7160 | 41.799 | 3567.33 | -960 | 6652.5 | 7612.5 | 10.15 | 85.7762 | 6672.2 | 0 | 40.3 | 60 |  | 88.1076 | 7612.5
| 7810 | 3995 | 11805 | 0 | 0 | 125 | 11680 | 110 | 175.2 | 86.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 48 | 24 |  |  | 84.5226 | 8054.1935 | 41.4942 | 3210.6687 | -120 | 117151 | 117271 | 9.934 | 86.8733 | 112922.8 | 0 | 4528.2 | 300 |  | 43.784 | 117271