## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 0 | 165 | 165 | 0 | 0 | 5 | 165 | 40 | 0 | 3.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 1 | 84 | 6800 | 40.8 | 2398.5 | 0 | 1608.75 | 1608.75 | 9.75 | 89.6142 | 1511.1 | 0 | 97.65 | 0 |  | 18.6198 | 1608.75
2 | 360 | 220 | 580 | 0 | 0 | 4 | 580 | 108 | 7 | 4.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 2 | 84.2 | 7280 | 41.75 | 3510 | 480 | 6280 | 5800 | 10 | 86.9597 | 6085.8 | 0 | 194.2 | 0 |  | 67.1296 | 5800
3 | 860 | 360 | 1220 | 0 | 0 | 5 | 1220 | 110 | 16.6 | 7.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 3 | 83.9 | 6560 | 41.752 | 3512.34 | -720 | 11602 | 12322 | 10.1 | 86.7152 | 11606.4 | 0 | 55.6 | 60 |  | 142.6157 | 12322
4 | 375 | 770 | 1145 | 0 | 0 | 4 | 1145 | 108 | 7.2 | 15.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 4 | 83.8 | 6320 | 41.15 | 2808 | -240 | 11324.5 | 11564.5 | 10.1 | 86.9226 | 11044.9 | 0 | 339.6 | 60 |  | 133.8484 | 11564.5
5 | 245 | 80 | 325 | 0 | 0 | 4 | 325 | 100 | 5.5 | 2.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 5 | 83.8 | 6320 | 41.82 | 3591.9 | 0 | 3282.5 | 3282.5 | 10.1 | 86.9226 | 3248 | 0 | 94.5 | 60 |  | 37.9919 | 3282.5
6 | 165 | 10 | 175 | 0 | 0 | 6 | 175 | 55 | 3.5 | 0.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 6 | 83.75 | 6200 | 41.14 | 2796.3 | -120 | 3993.0423 | 1785 | 10.2 | 86.1735 | 3960 | 2328.0423 | 93.0423 | 60 |  | 20.6597 | 1785
7 | 205 | 520 | 725 | 0 | 0 | 5 | 725 | 110 | 3.8 | 8.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 7 | 83.55 | 5720 | 41.56 | 3287.7 | -480 | 6842.5 | 7322.5 | 10.1 | 87.4456 | 6818.2 | 0 | 84.3 | 60 |  | 84.7512 | 7322.5
8 | 745 | 650 | 1395 | 0 | 0 | 5 | 1395 | 110 | 15.1 | 13.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 8 | 83.4 | 5360 | 41.799 | 3567.33 | -360 | 14357.25 | 14717.25 | 10.55 | 84.019 | 14434.75 | 0 | 42.5 | 120 |  | 170.3385 | 14717.25
9 | 780 | 825 | 1605 | 0 | 0 | 4 | 1605 | 110 | 14.3 | 19.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 9 | 83.4 | 5360 | 41.6 | 3334.5 | 0 | 17305.183 | 16948.8 | 10.56 | 83.9395 | 17408.95 | 356.383 | 16.233 | 120 |  | 196.1667 | 16948.8
10 | 915 | 860 | 1775 | 0 | 0 | 4 | 1775 | 110 | 17.1 | 12.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 10 | 83.75 | 6200 | 41.141 | 2797.47 | 840 | 20940.5585 | 18903.75 | 10.65 | 82.5324 | 21002.2 | 1196.8085 | 8.3585 | 70 |  | 218.7934 | 18903.75
11 | 900 | 845 | 1745 | 0 | 0 | 8 | 1745 | 110 | 16.6 | 15.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 11 | 83.3 | 5120 | 40.8 | 2398.5 | -1080 | 16021 | 17101 | 9.8 | 90.6681 | 15540 | 0 | 481 | 0 |  | 197.9282 | 17101
12 | 550 | 170 | 720 | 0 | 0 | 5 | 720 | 110 | 10.9 | 3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 12 | 83.9 | 6560 | 41.5 | 3217.5 | 1440 | 8640 | 7200 | 10 | 87.5823 | 8446.1 | 0 | 193.9 | 0 |  | 83.3333 | 7200
13 | 825 | 630 | 1455 | 0 | 0 | 4 | 1455 | 110 | 16 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 |  | 13 | 84.25 | 7400 | 41.45 | 3159 | 840 | 15390 | 14550 | 10 | 86.8568 | 15235.1 | 0 | 154.9 | 0 |  | 168.4028 | 14550
14 | 770 | 750 | 1520 | 0 | 0 | 4 | 1520 | 110 | 15.45 | 14.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 14 | 83.85 | 6440 | 41.401 | 3101.67 | -960 | 14240 | 15200 | 10 | 87.687 | 14171.3 | 0 | 128.7 | 60 |  | 175.9259 | 15200
15 | 540 | 0 | 540 | 0 | 0 | 4 | 540 | 55 | 11.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 15 | 83.5 | 5600 | 41.498 | 3215.16 | -840 | 4614 | 5454 | 10.1 | 87.551 | 4555.2 | 0 | 118.8 | 60 |  | 63.125 | 5454
16 | 985 | 905 | 1890 | 0 | 0 | 7 | 1890 | 110 | 18.3 | 16.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 16 | 83.85 | 6440 | 40.6 | 2164.5 | 840 | 19740 | 18900 | 10 | 87.687 | 19584 | 0 | 156 | 0 |  | 218.75 | 18900
17 | 705 | 490 | 1195 | 0 | 0 | 5 | 1195 | 110 | 13.2 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 17 | 84.7 | 8480 | 41.35 | 3042 | 2040 | 14169.25 | 12129.25 | 10.15 | 84.6714 | 14192.9 | 0 | 36.35 | 60 |  | 140.3848 | 12129.25
18 | 0 | 565 | 565 | 0 | 0 | 5 | 565 | 55 | 0 | 12.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 18 | 84 | 6800 | 41.103 | 2753.01 | -1680 | 6581.9309 | 6017.25 | 10.65 | 82.0411 | 6629 | 2244.6809 | 12.9309 | 60 |  | 69.6441 | 6017.25
19 | 865 | 850 | 1715 | 0 | 0 | 4 | 1715 | 110 | 18.25 | 17.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 19 | 84 | 6800 | 41.733 | 3490.11 | 0 | 17150 | 17150 | 10 | 87.3738 | 16936 | 0 | 214 | 0 |  | 198.4954 | 17150
20 | 75 | 0 | 75 | 0 | 0 | 6 | 75 | 35 | 2.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 20 | 84.3 | 7520 | 39.718 | 1132.56 | 720 | 1462.5 | 742.5 | 9.9 | 87.6304 | 1311.2 | 0 | 151.3 | 0 |  | 8.5938 | 742.5
21 | 160 | 95 | 255 | 0 | 0 | 4 | 255 | 110 | 3 | 1.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 21 | 83.7 | 6080 | 40.844 | 2449.98 | -1440 | 1135.5 | 2575.5 | 10.1 | 87.1311 | 1131.5 | 0 | 24 | 20 |  | 29.809 | 2575.5
22 | 70 | 0 | 70 | 0 | 0 | 4 | 70 | 55 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 22 | 83.8 | 6320 | 40.205 | 1702.35 | 240 | 919 | 679 | 9.7 | 90.5071 | 735 | 0 | 184 | 0 |  | 7.8588 | 679
23 | 365 | 210 | 575 | 0 | 0 | 6 | 575 | 110 | 7.1 | 4.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 23 | 84.05 | 6920 | 41.5 | 3217.5 | 600 | 6177.5 | 5577.5 | 9.7 | 89.969 | 6037.5 | 0 | 140 | 0 |  | 64.5544 | 5577.5
24 | 390 | 325 | 715 | 0 | 0 | 5 | 715 | 110 | 7.3 | 6.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 24 | 83.7 | 6080 | 41.21 | 2878.2 | -840 | 6631.75 | 7471.75 | 10.45 | 84.2128 | 6559 | 0 | 132.75 | 60 |  | 86.4786 | 7471.75
25 | 0 | 65 | 65 | 0 | 0 | 5 | 65 | 55 | 0 | 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 25 | 83.7 | 6080 | 40.94 | 2562.3 | 0 | 692.25 | 692.25 | 10.65 | 82.6314 | 759.2 | 0 | 13.05 | 80 |  | 8.0122 | 692.25
26 | 90 | 0 | 90 | 0 | 0 | 5 | 90 | 40 | 2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 26 | 83.8 | 6320 | 40.812 | 2412.54 | 240 | 2825.7368 | 891 | 9.9 | 88.6787 | 2722.9 | 1694.7368 | 102.8368 | 0 |  | 10.3125 | 891
27 | 125 | 0 | 125 | 0 | 0 | 4 | 125 | 50 | 2.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 27 | 83.65 | 5960 | 40.998 | 2630.16 | -360 | 2608.5897 | 1225 | 9.8 | 89.9062 | 2476.95 | 1743.5897 | 131.6397 | 0 |  | 14.1782 | 1225
28 | 65 | 0 | 65 | 0 | 0 | 4 | 65 | 40 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 28 | 83.6 | 5840 | 40.73 | 2316.6 | -120 | 2276.5952 | 640.25 | 9.85 | 89.5573 | 2174.4 | 1756.3452 | 102.1952 | 0 |  | 7.4103 | 640.25
29 | 80 | 0 | 80 | 0 | 0 | 4 | 80 | 55 | 1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 29 | 84.05 | 6920 | 40.599 | 2163.33 | 1080 | 1888 | 808 | 10.1 | 86.4059 | 1827.1 | 0 | 60.9 | 0 |  | 9.3519 | 808
30 | 90 | 0 | 90 | 0 | 0 | 5 | 90 | 55 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 30 | 84.25 | 7400 | 40.5 | 2047.5 | 480 | 3143.7021 | 886.5 | 9.85 | 88.1795 | 2844.45 | 1777.2021 | 299.2521 | 0 |  | 10.2604 | 886.5
31 | 0 | 165 | 165 | 0 | 0 | 5 | 165 | 55 | 0 | 2.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 31 | 84 | 6800 | 40.949 | 2572.83 | -600 | 3466.5213 | 1699.5 | 10.3 | 84.8289 | 3504 | 2367.0213 | 22.5213 | 60 |  | 19.6701 | 1699.5
| 12300 | 10525 | 22825 | 0 | 0 | 149 | 22676 | 110 | 241.3 | 205.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34 | 27 |  |  | 83.8548 | 6451.6129 | 41.1275 | 2781.6561 | 0 | 247310.1098 | 231845.3 | 10.1575 | 86.3172 | 244493.1 | 15464.8098 | 3887.0098 | 1070 |  | 86.5611 | 231845.3