## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 0 | 320 | 320 | 0 | 0 | 4 | 320 | 55 | 0 | 6.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 1 | 84.2 | 7280 | 41.7 | 3451.5 | 480 | 3712 | 3232 | 10.1 | 86.0987 | 3664.8 | 0 | 107.2 | 60 |  | 37.4074 | 3232
2 | 0 | 325 | 325 | 0 | 0 | 4 | 325 | 45 | 0 | 7.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 2 | 84.3 | 7520 | 41.669 | 3415.23 | 240 | 3490 | 3250 | 10 | 86.7541 | 3426.2 | 0 | 63.8 | 0 |  | 37.6157 | 3250
3 | 0 | 360 | 360 | 0 | 0 | 4 | 360 | 45 | 0 | 8.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 3 | 84.4 | 7760 | 41.435 | 3141.45 | 240 | 3876 | 3636 | 10.1 | 85.6926 | 3701.1 | 0 | 234.9 | 60 |  | 42.0833 | 3636
4 | 345 | 0 | 345 | 0 | 0 | 4 | 345 | 45 | 8.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 4 | 84.45 | 7880 | 41.606 | 3341.52 | 120 | 3604.5 | 3484.5 | 10.1 | 85.5917 | 3569.7 | 0 | 94.8 | 60 |  | 40.3299 | 3484.5
5 | 315 | 0 | 315 | 0 | 0 | 2 | 315 | 45 | 7.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 5 | 84.5 | 8000 | 41.125 | 2778.75 | 120 | 3270 | 3150 | 10 | 86.3459 | 3076.85 | 0 | 193.15 | 0 |  | 36.4583 | 3150
6 | 175 | 190 | 365 | 0 | 0 | 3 | 365 | 55 | 3.8 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 6 | 84.45 | 7880 | 42.05 | 3861 | -120 | 3639.5 | 3759.5 | 10.3 | 83.9297 | 3525.9 | 0 | 113.6 | 0 |  | 43.5127 | 3759.5
7 | 0 | 380 | 380 | 0 | 0 | 4 | 380 | 45 | 0 | 8.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 7 | 85 | 9200 | 41.43 | 3135.6 | 1320 | 5158 | 3838 | 10.1 | 84.4969 | 4845.6 | 0 | 372.4 | 60 |  | 44.4213 | 3838
8 | 0 | 380 | 380 | 0 | 0 | 4 | 380 | 55 | 0 | 8.2 | 0 | 0 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | ΒΛΑΒΗ ΥΔΡΑΥΛΙΚΟΥ ΚΥΚΛ. ΠΕΔΗΣΗΣ Μον. ΝοΙΙ | 8 | 85 | 9200 | 41.107 | 2757.69 | 0 | 3800 | 3800 | 10 | 85.3419 | 3628.1 | 0 | 171.9 | 0 |  | 43.9815 | 3800
9 | 0 | 440 | 440 | 0 | 0 | 4 | 440 | 55 | 0 | 10.15 | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | ΒΛΑΒΗ ΥΔΡΑΥΛΙΚΟΥ ΚΥΚΛ. ΠΕΔΗΣΗΣ Μον. ΝοΙΙ | 9 | 84.9 | 8960 | 41.302 | 2985.84 | -240 | 4229.1489 | 4400 | 10 | 85.5408 | 4134.4 | 69.1489 | 94.7489 | 0 |  | 50.9259 | 4400
10 | 0 | 450 | 450 | 0 | 0 | 4 | 450 | 55 | 0 | 10.25 | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | ΒΛΑΒΗ ΥΔΡΑΥΛΙΚΟΥ ΚΥΚΛ. ΠΕΔΗΣΗΣ Μον. ΝοΙΙ | 10 | 84.75 | 8600 | 41.4 | 3100.5 | -360 | 4095 | 4455 | 9.9 | 86.708 | 3936.8 | 0 | 158.2 | 0 |  | 51.5625 | 4455
11 | 0 | 430 | 430 | 0 | 0 | 4 | 430 | 45 | 0 | 9.5 | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | ΒΛΑΒΗ ΥΔΡΑΥΛΙΚΟΥ ΚΥΚΛ. ΠΕΔΗΣΗΣ Μον. ΝοΙΙ | 11 | 84.9 | 8960 | 41.622 | 3360.24 | 360 | 4574 | 4214 | 9.8 | 87.2865 | 4386.55 | 0 | 187.45 | 0 |  | 48.7731 | 4214
12 | 165 | 245 | 410 | 0 | 0 | 2 | 410 | 45 | 3.9 | 5.8 | 0 | 0 | 13.5 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | ΒΛΑΒΗ ΥΔΡΑΥΛΙΚΟΥ ΚΥΚΛ. ΠΕΔΗΣΗΣ Μον. ΝοΙΙ | 12 | 85 | 9200 | 41.56 | 3287.7 | 240 | 4381 | 4141 | 10.1 | 84.4969 | 4312.5 | 0 | 128.5 | 60 |  | 47.9282 | 4141
13 | 465 | 0 | 465 | 0 | 0 | 2 | 465 | 45 | 10.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 13 | 85 | 9200 | 41.63 | 3369.6 | 0 | 4580.25 | 4580.25 | 9.85 | 86.6415 | 4522.45 | 0 | 57.8 | 0 |  | 53.0122 | 4580.25
14 | 470 | 0 | 470 | 0 | 0 | 4 | 470 | 45 | 11.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 14 | 84.9 | 8960 | 41.776 | 3540.42 | -240 | 4507 | 4747 | 10.1 | 84.6939 | 4512.9 | 0 | 54.1 | 60 |  | 54.9421 | 4747
15 | 280 | 175 | 455 | 0 | 0 | 3 | 455 | 55 | 6 | 3.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 15 | 84.95 | 9080 | 41.75 | 3510 | 120 | 4601.75 | 4481.75 | 9.85 | 86.7423 | 4133.55 | 0 | 468.2 | 0 |  | 51.8721 | 4481.75
16 | 310 | 190 | 500 | 0 | 0 | 3 | 500 | 55 | 5.7 | 4.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 16 | 85 | 9200 | 41.802 | 3570.84 | 120 | 5020 | 4900 | 9.8 | 87.0835 | 4801.8 | 0 | 218.2 | 0 |  | 56.713 | 4900
17 | 245 | 295 | 540 | 0 | 0 | 4 | 540 | 45 | 5.8 | 6.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 17 | 85 | 9200 | 42.06 | 3872.7 | 0 | 5292 | 5292 | 9.8 | 87.0835 | 5043.4 | 0 | 248.6 | 0 |  | 61.25 | 5292
18 | 490 | 0 | 490 | 0 | 0 | 4 | 490 | 45 | 11.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 18 | 85 | 9200 | 41.62 | 3357.9 | 0 | 4949 | 4949 | 10.1 | 84.4969 | 4847.2 | 0 | 161.8 | 60 |  | 57.2801 | 4949
19 | 330 | 230 | 560 | 0 | 0 | 4 | 560 | 45 | 7 | 5.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 19 | 85.2 | 9680 | 41.8 | 3568.5 | 480 | 5968 | 5488 | 9.8 | 86.6804 | 5778.3 | 0 | 189.7 | 0 |  | 63.5185 | 5488
20 | 90 | 500 | 590 | 0 | 0 | 4 | 590 | 100 | 1.75 | 10.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 20 | 85.2 | 9680 | 42.141 | 3967.47 | 0 | 5752.5 | 5752.5 | 9.75 | 87.1249 | 5405.8 | 0 | 346.7 | 0 |  | 66.5799 | 5752.5
21 | 615 | 0 | 615 | 0 | 0 | 2 | 615 | 54 | 12.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 21 | 84.9 | 8960 | 41.611 | 3347.37 | -720 | 5307 | 6027 | 9.8 | 87.2865 | 5186.85 | 0 | 120.15 | 0 |  | 69.7569 | 6027
22 | 510 | 235 | 745 | 0 | 0 | 3 | 745 | 110 | 10.2 | 4.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 |  | 22 | 84.4 | 7760 | 41.81 | 3580.2 | -1200 | 6324.5 | 7524.5 | 10.1 | 85.6926 | 6372.2 | 0 | 12.3 | 60 |  | 87.0891 | 7524.5
23 | 590 | 0 | 590 | 0 | 0 | 3 | 590 | 45 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 23 | 84.65 | 8360 | 41.758 | 3519.36 | 600 | 6352.5 | 5752.5 | 9.75 | 88.2484 | 6064.8 | 0 | 287.7 | 0 |  | 66.5799 | 5752.5
24 | 545 | 0 | 545 | 0 | 0 | 4 | 545 | 45 | 11.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 24 | 84.55 | 8120 | 41.668 | 3414.06 | -240 | 5073.75 | 5313.75 | 9.75 | 88.4558 | 4998.1 | 0 | 75.65 | 0 |  | 61.5017 | 5313.75
25 | 570 | 0 | 570 | 0 | 0 | 3 | 570 | 54 | 12.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 25 | 84.1 | 7040 | 41.391 | 3089.97 | -1080 | 4563 | 5643 | 9.9 | 88.0467 | 4343.5 | 0 | 219.5 | 0 |  | 65.3125 | 5643
26 | 585 | 0 | 585 | 0 | 0 | 4 | 585 | 55 | 11.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 26 | 84.2 | 7280 | 41.698 | 3449.16 | 240 | 5973 | 5733 | 9.8 | 88.7344 | 5775 | 0 | 198 | 0 |  | 66.3542 | 5733
27 | 590 | 0 | 590 | 0 | 0 | 3 | 590 | 54 | 12.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 27 | 84.2 | 7280 | 41.752 | 3512.34 | 0 | 8267.5106 | 5959 | 10.1 | 86.0987 | 8294.4 | 2308.5106 | 33.1106 | 60 |  | 68.9699 | 5959
28 | 645 | 0 | 645 | 0 | 0 | 4 | 645 | 55 | 13.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 28 | 84.4 | 7760 | 41.802 | 3570.84 | 480 | 6930 | 6450 | 10 | 86.5495 | 6608 | 0 | 322 | 0 |  | 74.6528 | 6450
29 | 580 | 85 | 665 | 0 | 0 | 4 | 665 | 90 | 12.8 | 2.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 29 | 84.4 | 7760 | 41.751 | 3511.17 | 0 | 6716.5 | 6716.5 | 10.1 | 85.6926 | 6523.2 | 0 | 253.3 | 60 |  | 77.7373 | 6716.5
30 | 540 | 285 | 825 | 0 | 0 | 4 | 825 | 80 | 12.45 | 7.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 30 | 84.95 | 9080 | 41.849 | 3625.83 | 1320 | 9652.5 | 8332.5 | 10.1 | 84.5953 | 9607.5 | 0 | 105 | 60 |  | 96.441 | 8332.5
| 9450 | 5515 | 14965 | 0 | 0 | 105 | 14860 | 110 | 204.05 | 123.8 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 34 | 26 |  |  | 84.695 | 8468 | 41.6558 | 3399.825 | 2280 | 153659.9096 | 149002.25 | 9.9567 | 86.3252 | 46208.5 | 2377.6596 | 5292.4596 | 660 |  | 57.4854 | 149002.25