## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 0 | 410 | 410 | 0 | 0 | 4 | 410 | 45 | 0 | 8.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 1 | 85.25 | 9800 | 41.81 | 3580.2 | 600 | 4638.5 | 4038.5 | 9.85 | 86.1407 | 4522.5 | 0 | 116 | 0 |  | 46.7419 | 4038.5
2 | 0 | 425 | 425 | 0 | 0 | 4 | 425 | 45 | 0 | 9.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 2 | 85.15 | 9560 | 41.811 | 3581.37 | -240 | 3882.5 | 4122.5 | 9.7 | 87.6755 | 3820.3 | 0 | 62.2 | 0 |  | 47.7141 | 4122.5
3 | 410 | 0 | 410 | 0 | 0 | 3 | 410 | 45 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 3 | 85.15 | 9560 | 41.945 | 3738.15 | 0 | 3956.5 | 3956.5 | 9.65 | 88.1297 | 3932.1 | 0 | 24.4 | 0 |  | 45.7928 | 3956.5
4 | 0 | 415 | 415 | 0 | 0 | 3 | 415 | 45 | 0 | 8.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 4 | 85.3 | 9920 | 41.902 | 3687.84 | 360 | 4385.5 | 4025.5 | 9.7 | 87.3717 | 4125.25 | 0 | 260.25 | 0 |  | 46.5914 | 4025.5
5 | 405 | 75 | 480 | 0 | 0 | 3 | 480 | 108 | 8.2 | 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 5 | 84.8 | 8720 | 41.798 | 3566.16 | -1200 | 3504 | 4704 | 9.8 | 87.4905 | 3246.5 | 0 | 257.5 | 0 |  | 54.4444 | 4704
6 | 0 | 320 | 320 | 0 | 0 | 4 | 320 | 45 | 0 | 7.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 6 | 84.95 | 9080 | 41.452 | 3161.34 | 360 | 3528 | 3168 | 9.9 | 86.3043 | 3365.3 | 0 | 162.7 | 0 |  | 36.6667 | 3168
7 | 350 | 0 | 350 | 0 | 0 | 4 | 350 | 54 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 7 | 85 | 9200 | 41.65 | 3393 | 120 | 3585 | 3465 | 9.9 | 86.2039 | 3404 | 0 | 181 | 0 |  | 40.1042 | 3465
8 | 0 | 335 | 335 | 0 | 0 | 4 | 335 | 45 | 0 | 7.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 8 | 84.7 | 8480 | 41.504 | 3222.18 | -720 | 2663.5 | 3383.5 | 10.1 | 85.0905 | 2679.1 | 0 | 44.4 | 60 |  | 39.1609 | 3383.5
9 | 335 | 0 | 335 | 0 | 0 | 4 | 335 | 54 | 6.75 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 9 | 84.05 | 6920 | 41.58 | 3311.1 | -1560 | 1723 | 3283 | 9.8 | 89.0509 | 1573.2 | 0 | 149.8 | 0 |  | 37.9977 | 3283
10 | 0 | 320 | 320 | 0 | 0 | 4 | 320 | 55 | 0 | 6.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 10 | 84.4 | 7760 | 41.698 | 3449.16 | 840 | 3944 | 3104 | 9.7 | 89.2263 | 3881.45 | 0 | 62.55 | 0 |  | 35.9259 | 3104
11 | 330 | 0 | 330 | 0 | 0 | 4 | 330 | 45 | 7.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 11 | 84.6 | 8240 | 41.88 | 3662.1 | 480 | 3813 | 3333 | 10.1 | 85.2903 | 3569.7 | 0 | 243.3 | 0 |  | 38.5764 | 3333
12 | 0 | 290 | 290 | 0 | 0 | 4 | 290 | 40 | 0 | 6.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 12 | 84.75 | 8600 | 41.7599 | 3521.583 | 360 | 3173 | 2813 | 9.7 | 88.4958 | 3100.6 | 0 | 72.4 | 0 |  | 32.5579 | 2813
13 | 320 | 0 | 320 | 0 | 0 | 1 | 320 | 55 | 6.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 13 | 84.7 | 8480 | 41.77 | 3533.4 | -120 | 3112 | 3232 | 10.1 | 85.0905 | 3124.8 | 0 | 47.2 | 60 |  | 37.4074 | 3232
14 | 75 | 285 | 360 | 0 | 0 | 1 | 360 | 70 | 2.1 | 7.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 14 | 84.5 | 8000 | 41.6999 | 3451.383 | -480 | 3156 | 3636 | 10.1 | 85.491 | 2980.8 | 0 | 235.2 | 60 |  | 42.0833 | 3636
15 | 450 | 0 | 450 | 0 | 0 | 1 | 450 | 45 | 10.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 15 | 84 | 6800 | 41.699 | 3450.33 | -1200 | 3255 | 4455 | 9.9 | 88.2564 | 3182 | 0 | 73 | 0 |  | 51.5625 | 4455
16 | 0 | 215 | 215 | 0 | 0 | 1 | 215 | 45 | 0 | 4.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 16 | 83.7 | 6080 | 40.951 | 2575.17 | -720 | 1451.5 | 2171.5 | 10.1 | 87.1311 | 1314 | 0 | 137.5 | 0 |  | 25.1331 | 2171.5
17 | 290 | 0 | 290 | 0 | 0 | 3 | 290 | 45 | 6.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 17 | 83.7 | 6080 | 40.851 | 2458.17 | 0 | 2958 | 2958 | 10.2 | 86.2769 | 2793 | 0 | 165 | 0 |  | 34.2361 | 2958
18 | 0 | 305 | 305 | 0 | 0 | 3 | 305 | 45 | 0 | 6.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 18 | 83.9 | 6560 | 41.183 | 2846.61 | 480 | 3499.5 | 3019.5 | 9.9 | 88.467 | 3400.25 | 0 | 99.25 | 0 |  | 34.9479 | 3019.5
19 | 235 | 0 | 235 | 0 | 0 | 3 | 235 | 55 | 4.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 19 | 84.05 | 6920 | 40.7255 | 2311.335 | 360 | 2757 | 2397 | 10.2 | 85.5587 | 2804.5 | 0 | 12.5 | 60 |  | 27.7431 | 2397
20 | 0 | 230 | 230 | 0 | 0 | 4 | 230 | 50 | 0 | 4.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 20 | 84.35 | 7640 | 40.083 | 1559.61 | 720 | 2997 | 2277 | 9.9 | 87.527 | 2535.75 | 0 | 461.25 | 0 |  | 26.3542 | 2277
21 | 235 | 0 | 235 | 0 | 0 | 4 | 235 | 45 | 5.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 21 | 84.45 | 7880 | 39.511 | 890.37 | 240 | 2543 | 2303 | 9.8 | 88.2118 | 2511.2 | 0 | 31.8 | 0 |  | 26.6551 | 2303
22 | 0 | 255 | 255 | 0 | 0 | 4 | 255 | 45 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 22 | 84.75 | 8600 | 40.12 | 1602.9 | 720 | 3295.5 | 2575.5 | 10.1 | 84.991 | 3263.4 | 0 | 32.1 | 0 |  | 29.809 | 2575.5
23 | 320 | 0 | 320 | 0 | 0 | 4 | 320 | 45 | 7.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 23 | 84.8 | 8720 | 40.702 | 2283.84 | 120 | 3352 | 3232 | 10.1 | 84.8917 | 3204.7 | 0 | 147.3 | 0 |  | 37.4074 | 3232
24 | 0 | 225 | 225 | 0 | 0 | 4 | 225 | 45 | 0 | 5.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 24 | 85 | 9200 | 40.445 | 1983.15 | 480 | 2640 | 2160 | 9.6 | 88.8978 | 2547.45 | 0 | 92.55 | 0 |  | 25 | 2160
25 | 265 | 0 | 265 | 0 | 0 | 1 | 265 | 54 | 5.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 25 | 85.1 | 9440 | 40.78 | 2375.1 | 240 | 2890 | 2650 | 10 | 85.1439 | 2635.3 | 0 | 254.7 | 0 |  | 30.6713 | 2650
26 | 90 | 335 | 425 | 0 | 0 | 1 | 425 | 109 | 1.9 | 7.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 26 | 84.85 | 8840 | 42.101 | 3920.67 | -600 | 3586.25 | 4186.25 | 9.85 | 86.9448 | 3532.5 | 0 | 53.75 | 0 |  | 48.452 | 4186.25
27 | 180 | 55 | 235 | 0 | 0 | 1 | 235 | 109 | 4.05 | 1.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 27 | 84.75 | 8600 | 41.791 | 3557.97 | -240 | 2133.5 | 2373.5 | 10.1 | 84.991 | 2117 | 0 | 16.5 | 0 |  | 27.4711 | 2373.5
28 | 0 | 220 | 220 | 0 | 0 | 2 | 220 | 45 | 0 | 5.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 28 | 85 | 9200 | 41.308 | 2992.86 | 600 | 2767 | 2167 | 9.85 | 86.6415 | 2592.6 | 0 | 174.4 | 0 |  | 25.081 | 2167
29 | 165 | 25 | 190 | 0 | 0 | 3 | 190 | 45 | 4.15 | 0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 29 | 85 | 9200 | 41.031 | 2668.77 | 0 | 1919 | 1919 | 10.1 | 84.4969 | 1898 | 0 | 51 | 30 |  | 22.2106 | 1919
30 | 0 | 205 | 205 | 0 | 0 | 3 | 205 | 55 | 0 | 4.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 30 | 85.05 | 9320 | 41.053 | 2694.51 | 120 | 2108.5 | 1988.5 | 9.7 | 87.8791 | 2023.4 | 0 | 85.1 | 0 |  | 23.015 | 1988.5
| 4455 | 4945 | 9400 | 0 | 0 | 89 | 9311 | 109 | 96.8 | 109.15 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28 | 33 |  |  | 84.6583 | 8380 | 41.2865 | 2967.6777 | 120 | 93217.25 | 93097.25 | 9.904 | 86.8596 | 89680.65 | 0 | 3806.6 | 270 |  | 35.9171 | 93097.25