## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 220 | 0 | 220 | 0 | 0 | 3 | 220 | 54 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 1 | 85 | 9200 | 41.178 | 2840.76 | -120 | 2080 | 2200 | 10 | 85.3419 | 1949.1 | 0 | 130.9 | 0 |  | 25.463 | 2200
2 | 165 | 165 | 330 | 0 | 0 | 3 | 330 | 108 | 3.4 | 3.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 2 | 84.85 | 8840 | 41.8 | 3568.5 | -360 | 2907 | 3267 | 9.9 | 86.5057 | 2712.15 | 0 | 194.85 | 0 |  | 37.8125 | 3267
3 | 205 | 0 | 205 | 0 | 0 | 3 | 205 | 45 | 4.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 3 | 85.05 | 9320 | 41.499 | 3216.33 | 480 | 2550.5 | 2070.5 | 10.1 | 84.3988 | 2575.2 | 0 | 35.3 | 60 |  | 23.9641 | 2070.5
4 | 185 | 175 | 360 | 0 | 0 | 2 | 360 | 105 | 4.3 | 3.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 4 | 84.9 | 8960 | 41.962 | 3758.04 | -360 | 3240 | 3600 | 10 | 85.5408 | 3109.8 | 0 | 190.2 | 60 |  | 41.6667 | 3600
5 | 315 | 0 | 315 | 0 | 0 | 3 | 315 | 55 | 7.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 5 | 84.85 | 8840 | 41.831 | 3604.77 | -120 | 2998.5 | 3118.5 | 9.9 | 86.5057 | 2861.6 | 0 | 136.9 | 0 |  | 36.0938 | 3118.5
6 | 0 | 230 | 230 | 0 | 0 | 3 | 230 | 45 | 0 | 5.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 6 | 85.2 | 9680 | 41.891 | 3674.97 | 840 | 3140 | 2300 | 10 | 84.9468 | 3087.9 | 0 | 52.1 | 0 |  | 26.6204 | 2300
7 | 195 | 0 | 195 | 0 | 0 | 3 | 195 | 55 | 4.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 7 | 85.1 | 9440 | 41.35 | 3042 | -240 | 1690.5 | 1930.5 | 9.9 | 86.0039 | 1700.9 | 0 | 49.6 | 60 |  | 22.3438 | 1930.5
8 | 0 | 225 | 225 | 0 | 0 | 3 | 225 | 40 | 0 | 5.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 8 | 85.05 | 9320 | 41.811 | 3581.37 | -120 | 2929.0957 | 2272.5 | 10.1 | 84.3988 | 2803.2 | 776.5957 | 125.8957 | 0 |  | 26.3021 | 2272.5
9 | 415 | 0 | 415 | 0 | 0 | 3 | 415 | 55 | 8.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 9 | 85.2 | 9680 | 41.8 | 3568.5 | 360 | 4551.5 | 4191.5 | 10.1 | 84.1057 | 4387.3 | 0 | 224.2 | 60 |  | 48.5127 | 4191.5
10 | 95 | 365 | 460 | 0 | 0 | 3 | 460 | 108 | 1.9 | 7.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 10 | 84.6 | 8240 | 41.649 | 3391.83 | -1440 | 3206 | 4646 | 10.1 | 85.2903 | 3153.6 | 0 | 82.4 | 30 |  | 53.7731 | 4646
11 | 255 | 90 | 345 | 0 | 0 | 4 | 345 | 110 | 5.5 | 2.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 11 | 85 | 9200 | 41.848 | 3624.66 | 960 | 4444.5 | 3484.5 | 10.1 | 84.4969 | 4314.3 | 0 | 190.2 | 60 |  | 40.3299 | 3484.5
12 | 0 | 200 | 200 | 0 | 0 | 4 | 200 | 54 | 0 | 4.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 12 | 85.2 | 9680 | 41.2 | 2866.5 | 480 | 2480 | 2000 | 10 | 84.9468 | 2396.1 | 0 | 83.9 | 0 |  | 23.1481 | 2000
13 | 235 | 0 | 235 | 0 | 0 | 4 | 235 | 40 | 5.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 13 | 84.9 | 8960 | 41.598 | 3332.16 | -720 | 1594.75 | 2314.75 | 9.85 | 86.8434 | 1510 | 0 | 84.75 | 0 |  | 26.7911 | 2314.75
14 | 35 | 125 | 160 | 0 | 0 | 4 | 160 | 70 | 1 | 3.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 14 | 85 | 9200 | 41.599 | 3333.33 | 240 | 2468.2723 | 1600 | 10 | 85.3419 | 2343.3 | 628.2723 | 124.9723 | 0 |  | 18.5185 | 1600
15 | 165 | 0 | 165 | 0 | 0 | 3 | 165 | 55 | 3.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 15 | 85.2 | 9680 | 41.35 | 3042 | 480 | 3103.4043 | 1650 | 10 | 84.9468 | 2949.2 | 973.4043 | 154.2043 | 0 |  | 19.0972 | 1650
16 | 0 | 155 | 155 | 0 | 0 | 3 | 155 | 45 | 0 | 3.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 16 | 85 | 9200 | 41.299 | 2982.33 | -480 | 2746.6923 | 1519 | 9.8 | 87.0835 | 2585.15 | 1707.6923 | 161.5423 | 0 |  | 17.581 | 1519
17 | 150 | 0 | 150 | 0 | 0 | 3 | 150 | 45 | 3.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 17 | 85.2 | 9680 | 41.5 | 3217.5 | 480 | 3782.234 | 1515 | 10.1 | 84.1057 | 3817.9 | 1787.234 | 24.334 | 60 |  | 17.5347 | 1515
18 | 0 | 145 | 145 | 0 | 0 | 1 | 145 | 45 | 0 | 3.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 18 | 85.05 | 9320 | 41.352 | 3044.34 | -360 | 5504.8936 | 1450 | 10 | 85.2427 | 5307.1 | 4414.8936 | 197.7936 | 0 |  | 16.7824 | 1450
19 | 135 | 75 | 210 | 0 | 0 | 1 | 210 | 108 | 2.7 | 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 19 | 85.1 | 9440 | 41.4 | 3100.5 | 120 | 5051.2564 | 2121 | 10.1 | 84.3008 | 5066.2 | 2810.2564 | 15.0564 | 30 |  | 24.5486 | 2121
20 | 0 | 230 | 230 | 0 | 0 | 4 | 230 | 54 | 0 | 4.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 20 | 85.1 | 9440 | 41.5285 | 3250.845 | 0 | 4769.8085 | 2323 | 10.1 | 84.3008 | 4701.2 | 2446.8085 | 128.6085 | 60 |  | 26.8866 | 2323
21 | 100 | 85 | 185 | 0 | 0 | 4 | 185 | 80 | 2.1 | 1.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 21 | 85.1 | 9440 | 41.654 | 3397.68 | 0 | 1850 | 1850 | 10 | 85.1439 | 1694.6 | 0 | 155.4 | 0 |  | 21.412 | 1850
22 | 105 | 145 | 250 | 0 | 0 | 4 | 250 | 109 | 2.35 | 3.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 22 | 84.7 | 8480 | 41.798 | 3566.16 | -960 | 1515 | 2475 | 9.9 | 86.8095 | 1415.5 | 0 | 99.5 | 0 |  | 28.6458 | 2475
23 | 150 | 0 | 150 | 0 | 0 | 1 | 150 | 54 | 3.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 23 | 84.85 | 8840 | 41.822 | 3594.24 | 360 | 1875 | 1515 | 10.1 | 84.7927 | 1540 | 0 | 335 | 0 |  | 17.5347 | 1515
24 | 0 | 145 | 145 | 0 | 0 | 1 | 145 | 45 | 0 | 3.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 24 | 84.95 | 9080 | 41.888 | 3671.46 | 240 | 3372.0513 | 1450 | 10 | 85.4412 | 3257.95 | 1682.0513 | 114.1013 | 0 |  | 16.7824 | 1450
25 | 155 | 0 | 155 | 0 | 0 | 3 | 155 | 45 | 3.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 25 | 85 | 9200 | 41.774 | 3538.08 | 120 | 1685.5 | 1565.5 | 10.1 | 84.4969 | 1460 | 0 | 285.5 | 60 |  | 18.1192 | 1565.5
26 | 0 | 125 | 125 | 0 | 0 | 3 | 125 | 54 | 0 | 2.35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 26 | 85.1 | 9440 | 41.58 | 3311.1 | 240 | 1490 | 1250 | 10 | 85.1439 | 1367.1 | 0 | 122.9 | 0 |  | 14.4676 | 1250
27 | 155 | 0 | 155 | 0 | 0 | 3 | 155 | 54 | 3.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 27 | 85.1 | 9440 | 41.701 | 3452.67 | 0 | 1550 | 1550 | 10 | 85.1439 | 1306.7 | 0 | 243.3 | 0 |  | 17.9398 | 1550
28 | 0 | 65 | 65 | 0 | 0 | 3 | 65 | 44 | 0 | 1.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 28 | 85.2 | 9680 | 41.063 | 2706.21 | 240 | 890 | 650 | 10 | 84.9468 | 777 | 0 | 113 | 0 |  | 7.5231 | 650
29 | 85 | 0 | 85 | 0 | 0 | 3 | 85 | 45 | 2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 29 | 85.25 | 9800 | 41.15 | 2808 | 120 | 953 | 833 | 9.8 | 86.5802 | 686.2 | 0 | 266.8 | 0 |  | 9.6412 | 833
30 | 0 | 220 | 220 | 0 | 0 | 3 | 220 | 54 | 0 | 4.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 30 | 84.85 | 8840 | 41.8615 | 3640.455 | -960 | 1218 | 2178 | 9.9 | 86.5057 | 1080.4 | 0 | 137.6 | 0 |  | 25.2083 | 2178
31 | 215 | 190 | 405 | 0 | 0 | 3 | 405 | 109 | 4 | 3.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 31 | 85 | 9200 | 41.842 | 3617.64 | 360 | 4288.5 | 3928.5 | 9.7 | 87.9813 | 4093.95 | 0 | 194.55 | 0 |  | 45.4688 | 3928.5
| 3735 | 3155 | 6890 | 0 | 0 | 91 | 6799 | 110 | 79.8 | 69.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 27 |  |  | 85.021 | 9250.3226 | 41.5993 | 3333.7074 | -120 | 85925.9584 | 68818.75 | 9.9882 | 85.401 | 82010.6 | 17227.2084 | 4455.3584 | 540 |  | 25.694 | 68818.75