## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 130 | 0 | 130 | 0 | 0 | 3 | 130 | 55 | 2.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 1 | 85.1 | 9440 | 41.4635 | 3174.795 | 240 | 1540 | 1300 | 10 | 85.1439 | 1408.9 | 0 | 131.1 | 0 |  | 15.0463 | 1300
2 | 0 | 235 | 235 | 0 | 0 | 4 | 235 | 54 | 0 | 4.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 2 | 85 | 9200 | 41.782 | 3547.44 | -240 | 2133.5 | 2373.5 | 10.1 | 84.4969 | 1942.5 | 0 | 191 | 0 |  | 27.4711 | 2373.5
3 | 65 | 0 | 65 | 0 | 0 | 3 | 65 | 40 | 1.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 3 | 85.1 | 9440 | 41.147 | 2804.49 | 240 | 873.75 | 633.75 | 9.75 | 87.327 | 656.85 | 0 | 216.9 | 0 |  | 7.3351 | 633.75
4 | 0 | 265 | 265 | 0 | 0 | 3 | 265 | 54 | 0 | 5.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 4 | 85 | 9200 | 41.702 | 3453.84 | -240 | 2383.5 | 2623.5 | 9.9 | 86.2039 | 2190.4 | 0 | 253.1 | 60 |  | 30.3646 | 2623.5
5 | 65 | 0 | 65 | 0 | 0 | 3 | 65 | 54 | 1.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 5 | 85.05 | 9320 | 40.7 | 2281.5 | 120 | 1941.3936 | 656.5 | 10.1 | 84.3988 | 1817.7 | 1164.8936 | 123.6936 | 0 |  | 7.5984 | 656.5
6 | 0 | 95 | 95 | 0 | 0 | 3 | 95 | 54 | 0 | 2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 6 | 85 | 9200 | 40.967 | 2593.89 | -120 | 877.5 | 997.5 | 10.5 | 81.278 | 737.3 | 0 | 200.2 | 60 |  | 11.5451 | 997.5
7 | 185 | 0 | 185 | 0 | 0 | 4 | 185 | 54 | 3.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 7 | 85 | 9200 | 41.702 | 3453.84 | 0 | 1813 | 1813 | 9.8 | 87.0835 | 1631.55 | 0 | 181.45 | 0 |  | 20.9838 | 1813
8 | 0 | 225 | 225 | 0 | 0 | 3 | 225 | 54 | 0 | 4.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 8 | 84.9 | 8960 | 41.7765 | 3541.005 | -240 | 3726.4948 | 2250 | 10 | 85.5408 | 3516.4 | 1716.4948 | 210.0948 | 0 |  | 26.0417 | 2250
9 | 75 | 0 | 75 | 0 | 0 | 3 | 75 | 55 | 1.35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 9 | 84.9 | 8960 | 41.15 | 2808 | 0 | 787.5 | 787.5 | 10.5 | 81.4674 | 657 | 0 | 130.5 | 0 |  | 9.1146 | 787.5
10 | 0 | 135 | 135 | 0 | 0 | 3 | 135 | 55 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 10 | 84.35 | 7640 | 41.492 | 3208.14 | -1320 | 3500.9468 | 1363.5 | 10.1 | 85.7938 | 3343.4 | 3457.4468 | 217.5468 | 60 |  | 15.7812 | 1363.5
11 | 105 | 0 | 105 | 0 | 0 | 3 | 105 | 45 | 2.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 11 | 84.55 | 8120 | 41.548 | 3273.66 | 480 | 1530 | 1050 | 10 | 86.2444 | 1387 | 0 | 203 | 60 |  | 12.1528 | 1050
12 | 0 | 75 | 75 | 0 | 0 | 3 | 75 | 35 | 0 | 1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 12 | 84.6 | 8240 | 41.278 | 2957.76 | 120 | 877.5 | 757.5 | 10.1 | 85.2903 | 722.7 | 0 | 214.8 | 60 |  | 8.7674 | 757.5
13 | 150 | 0 | 150 | 0 | 0 | 3 | 150 | 55 | 2.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 13 | 84.3 | 7520 | 41.732 | 3488.94 | -720 | 2518.0769 | 1515 | 10.1 | 85.8952 | 2400 | 1723.0769 | 118.0769 | 0 |  | 17.5347 | 1515
14 | 0 | 75 | 75 | 0 | 0 | 3 | 75 | 35 | 0 | 1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 14 | 84.15 | 7160 | 41.35 | 3042 | -360 | 2187.8226 | 757.5 | 10.1 | 86.2009 | 2170 | 1790.3226 | 77.8226 | 60 |  | 8.7674 | 757.5
15 | 80 | 0 | 80 | 0 | 0 | 3 | 80 | 35 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 15 | 84.35 | 7640 | 41.17 | 2831.4 | 480 | 2446.449 | 844 | 10.55 | 82.1343 | 2249.9 | 1122.449 | 256.549 | 60 |  | 9.7685 | 844
16 | 0 | 80 | 80 | 0 | 0 | 3 | 80 | 35 | 0 | 2.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 16 | 84.4 | 7760 | 41.3 | 2983.5 | 120 | 2414.7368 | 800 | 10 | 86.5495 | 1547.6 | 1494.7368 | 867.1368 | 0 |  | 9.2593 | 800
17 | 70 | 0 | 70 | 0 | 0 | 4 | 70 | 54 | 1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 17 | 84.9 | 8960 | 41.46 | 3170.7 | 1200 | 3063.1579 | 700 | 10 | 85.5408 | 2354.2 | 1163.1579 | 708.9579 | 0 |  | 8.1019 | 700
18 | 0 | 80 | 80 | 0 | 0 | 3 | 80 | 55 | 0 | 1.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 18 | 84.95 | 9080 | 41.46 | 3170.7 | 120 | 2470.5532 | 808 | 10.1 | 84.5953 | 2372.5 | 1542.5532 | 98.0532 | 0 |  | 9.3519 | 808
19 | 155 | 0 | 155 | 0 | 0 | 4 | 155 | 35 | 3.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 19 | 84.7 | 8480 | 41.75 | 3510 | -600 | 926.75 | 1526.75 | 9.85 | 87.2502 | 823.2 | 0 | 103.55 | 0 |  | 17.6707 | 1526.75
20 | 0 | 75 | 75 | 0 | 0 | 3 | 75 | 45 | 0 | 1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 20 | 84.8 | 8720 | 41.2 | 2866.5 | 240 | 2153.2653 | 750 | 10 | 85.7407 | 1841.138 | 1163.2653 | 312.1273 | 0 |  | 8.6806 | 750
21 | 135 | 0 | 135 | 0 | 0 | 4 | 135 | 55 | 2.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 21 | 84.65 | 8360 | 41.5785 | 3309.345 | -360 | 2150.8684 | 1363.5 | 10.1 | 85.1903 | 2167.5 | 1147.3684 | 43.3684 | 60 |  | 15.7812 | 1363.5
22 | 0 | 105 | 105 | 0 | 0 | 3 | 105 | 55 | 0 | 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 22 | 84.8 | 8720 | 41.75 | 3510 | 360 | 3720.8808 | 1050 | 10 | 85.7407 | 3535.35 | 2310.8808 | 185.5308 | 0 |  | 12.1528 | 1050
23 | 120 | 0 | 120 | 0 | 0 | 4 | 120 | 54 | 2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 23 | 84.6 | 8240 | 41.6 | 3334.5 | -480 | 1866.0206 | 1212 | 10.1 | 85.2903 | 1932.8 | 1134.0206 | 13.2206 | 80 |  | 14.0278 | 1212
24 | 0 | 75 | 75 | 0 | 0 | 4 | 75 | 54 | 0 | 1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 24 | 84.7 | 8480 | 41.45 | 3159 | 240 | 2125.7051 | 757.5 | 10.1 | 85.0905 | 1910.15 | 1128.2051 | 215.5551 | 0 |  | 8.7674 | 757.5
25 | 80 | 0 | 80 | 0 | 0 | 3 | 80 | 40 | 2.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 25 | 85 | 9200 | 41.7 | 3451.5 | 720 | 1520 | 800 | 10 | 85.3419 | 1306.7 | 0 | 213.3 | 0 |  | 9.2593 | 800
26 | 0 | 80 | 80 | 0 | 0 | 4 | 80 | 35 | 0 | 2.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 26 | 85.2 | 9680 | 41.8 | 3568.5 | 480 | 1288 | 808 | 10.1 | 84.1057 | 1255.6 | 0 | 92.4 | 60 |  | 9.3519 | 808
27 | 85 | 0 | 85 | 0 | 0 | 4 | 85 | 54 | 1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 27 | 85.3 | 9920 | 41.312 | 2997.54 | 240 | 2760.9235 | 837.25 | 9.85 | 86.0412 | 2634.95 | 1683.6735 | 125.9735 | 0 |  | 9.6904 | 837.25
28 | 0 | 235 | 235 | 0 | 0 | 4 | 235 | 55 | 0 | 5.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 28 | 85.25 | 9800 | 41.84 | 3615.3 | -120 | 3418.4485 | 2373.5 | 10.1 | 84.0085 | 3189.9 | 1164.9485 | 228.5485 | 0 |  | 27.4711 | 2373.5
29 | 250 | 0 | 250 | 0 | 0 | 3 | 250 | 55 | 5.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 29 | 85.05 | 9320 | 41.642 | 3383.64 | -480 | 2045 | 2525 | 10.1 | 84.3988 | 1898 | 0 | 207 | 60 |  | 29.2245 | 2525
30 | 0 | 235 | 235 | 0 | 0 | 5 | 235 | 54 | 0 | 5.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 30 | 85.2 | 9680 | 41.621 | 3359.07 | 360 | 2686.5 | 2326.5 | 9.9 | 85.8048 | 2464.2 | 0 | 222.3 | 0 |  | 26.9271 | 2326.5
| 1750 | 2070 | 3820 | 0 | 0 | 102 | 3718 | 55 | 37.85 | 45.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 20 |  |  | 84.8283 | 8788 | 41.4808 | 3195.0165 | 480 | 63748.2439 | 38360.75 | 10.0421 | 85.3249 | 58065.388 | 24907.4939 | 6362.8559 | 680 |  | 14.7997 | 38360.75