## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 75 | 0 | 75 | 0 | 0 | 3 | 75 | 35 | 1.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 1 | 85.1 | 9440 | 40.721 | 2306.07 | -240 | 8187.7128 | 757.5 | 10.1 | 84.3008 | 8073.8 | 7670.2128 | 173.9128 | 60 |  | 8.7674 | 757.5
2 | 0 | 75 | 75 | 0 | 0 | 3 | 75 | 35 | 0 | 2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 2 | 85.35 | 10040 | 40.98 | 2609.1 | 600 | 5990.4787 | 757.5 | 10.1 | 83.8147 | 5949.5 | 4632.9787 | 100.9787 | 60 |  | 8.7674 | 757.5
3 | 65 | 0 | 65 | 0 | 0 | 3 | 65 | 35 | 1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 3 | 82.8 | 3960 | 40.9 | 2515.5 | -6080 | 3739.1409 | 656.5 | 10.1 | 89.0531 | 3759 | 9162.6409 | 40.1409 | 60 |  | 7.5984 | 656.5
4 | 0 | 85 | 85 | 0 | 0 | 4 | 85 | 35 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 4 | 83.75 | 6200 | 41.13 | 2784.6 | 2240 | 6474.6154 | 850 | 10 | 87.897 | 6177 | 3384.6154 | 297.6154 | 0 |  | 9.838 | 850
5 | 45 | 0 | 45 | 0 | 0 | 5 | 45 | 45 | 1.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 5 | 84.1 | 7040 | 41.1 | 2749.5 | 840 | 3327.4712 | 477 | 10.6 | 82.2323 | 3145.8 | 2010.4712 | 181.6712 | 0 |  | 5.5208 | 477
6 | 0 | 85 | 85 | 0 | 0 | 2 | 85 | 55 | 0 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 6 | 84.45 | 7880 | 41.111 | 2762.37 | 840 | 4531.7628 | 871.25 | 10.25 | 84.3391 | 4460.3 | 2820.5128 | 71.4628 | 0 |  | 10.0839 | 871.25
7 | 105 | 0 | 105 | 0 | 0 | 3 | 105 | 55 | 2.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 7 | 84.6 | 8240 | 41.4 | 3100.5 | 360 | 1420.5 | 1060.5 | 10.1 | 85.2903 | 1250.6 | 0 | 169.9 | 0 |  | 12.2743 | 1060.5
8 | 0 | 70 | 70 | 0 | 0 | 3 | 70 | 35 | 0 | 1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 8 | 84.7 | 8480 | 41.422 | 3126.24 | 240 | 922.5 | 682.5 | 9.75 | 88.1451 | 767.35 | 0 | 155.15 | 0 |  | 7.8993 | 682.5
9 | 110 | 0 | 110 | 0 | 0 | 3 | 110 | 35 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 9 | 85.1 | 9440 | 42 | 3802.5 | 960 | 2071 | 1111 | 10.1 | 84.3008 | 1854.2 | 0 | 216.8 | 0 |  | 12.8588 | 1111
10 | 0 | 70 | 70 | 0 | 0 | 3 | 70 | 35 | 0 | 1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 10 | 84.1 | 7040 | 41.86 | 3638.7 | -2400 | 1567.6383 | 707 | 10.1 | 86.3032 | 1576.8 | 3260.6383 | 50.8383 | 60 |  | 8.1829 | 707
11 | 65 | 0 | 65 | 0 | 0 | 3 | 65 | 36 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 11 | 84.25 | 7400 | 41.6 | 3334.5 | 360 | 993.75 | 633.75 | 9.75 | 89.0839 | 745 | 0 | 248.75 | 0 |  | 7.3351 | 633.75
12 | 0 | 65 | 65 | 0 | 0 | 3 | 65 | 35 | 0 | 1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 12 | 84.3 | 7520 | 41.563 | 3291.21 | 120 | 770 | 650 | 10 | 86.7541 | 705.6 | 0 | 64.4 | 0 |  | 7.5231 | 650
13 | 65 | 0 | 65 | 0 | 0 | 4 | 65 | 55 | 1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 13 | 84.55 | 8120 | 41.74 | 3498.3 | 600 | 1250 | 650 | 10 | 86.2444 | 1161.3 | 0 | 88.7 | 0 |  | 7.5231 | 650
14 | 0 | 65 | 65 | 0 | 0 | 2 | 65 | 35 | 0 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 14 | 84.6 | 8240 | 41.537 | 3260.79 | 120 | 770 | 650 | 10 | 86.1432 | 661.5 | 0 | 108.5 | 0 |  | 7.5231 | 650
15 | 70 | 0 | 70 | 0 | 0 | 2 | 70 | 55 | 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 15 | 84.65 | 8360 | 41.5 | 3217.5 | 120 | 820 | 700 | 10 | 86.0422 | 677.95 | 0 | 142.05 | 0 |  | 8.1019 | 700
16 | 0 | 65 | 65 | 0 | 0 | 3 | 65 | 35 | 0 | 1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 16 | 84.85 | 8840 | 41.351 | 3043.17 | 480 | 1123.5 | 643.5 | 9.9 | 86.5057 | 923.8 | 0 | 199.7 | 0 |  | 7.4479 | 643.5
17 | 0 | 75 | 75 | 0 | 0 | 3 | 75 | 35 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 17 | 84.9 | 8960 | 41.384 | 3081.78 | 120 | 855 | 735 | 9.8 | 87.2865 | 762.2 | 0 | 92.8 | 0 |  | 8.5069 | 735
18 | 105 | 255 | 360 | 0 | 0 | 3 | 360 | 70 | 2.95 | 6.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 18 | 84.6 | 8240 | 41.58 | 3311.1 | -720 | 2880 | 3600 | 10 | 86.1432 | 2775 | 0 | 105 | 0 |  | 41.6667 | 3600
19 | 285 | 140 | 425 | 0 | 0 | 3 | 425 | 108 | 7.35 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 19 | 84.5 | 8000 | 41.611 | 3347.37 | -240 | 4052.5 | 4292.5 | 10.1 | 85.491 | 3989.7 | 0 | 122.8 | 60 |  | 49.6817 | 4292.5
20 | 0 | 130 | 130 | 0 | 0 | 3 | 130 | 54 | 0 | 2.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 20 | 84.7 | 8480 | 41.652 | 3395.34 | 480 | 1793 | 1313 | 10.1 | 85.0905 | 1540.3 | 0 | 252.7 | 0 |  | 15.1968 | 1313
21 | 95 | 0 | 95 | 0 | 0 | 0 | 95 | 35 | 1.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 21 | 85 | 9200 | 41.3 | 2983.5 | 720 | 1679.5 | 959.5 | 10.1 | 84.4969 | 1642.5 | 0 | 97 | 60 |  | 11.1053 | 959.5
22 | 0 | 315 | 315 | 0 | 0 | 8 | 315 | 55 | 0 | 7.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 22 | 85 | 9200 | 41.728 | 3484.26 | 0 | 3181.5 | 3181.5 | 10.1 | 84.4969 | 3102.5 | 0 | 139 | 60 |  | 36.8229 | 3181.5
23 | 120 | 0 | 120 | 0 | 0 | 3 | 120 | 55 | 2.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 23 | 85.15 | 9560 | 41.438 | 3144.96 | 360 | 1536 | 1176 | 9.8 | 86.7808 | 1332 | 0 | 204 | 0 |  | 13.6111 | 1176
24 | 0 | 95 | 95 | 0 | 0 | 4 | 95 | 40 | 0 | 2.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 24 | 85.2 | 9680 | 41.31 | 2995.2 | 120 | 1051 | 931 | 9.8 | 86.6804 | 875.8 | 0 | 175.2 | 0 |  | 10.7755 | 931
25 | 75 | 0 | 75 | 0 | 0 | 3 | 75 | 35 | 2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 25 | 85.2 | 9680 | 41.46 | 3170.7 | 0 | 783.75 | 783.75 | 10.45 | 81.2888 | 708.1 | 0 | 75.65 | 0 |  | 9.0712 | 783.75
26 | 0 | 70 | 70 | 0 | 0 | 3 | 70 | 35 | 0 | 1.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 26 | 85 | 9200 | 41.62 | 3357.9 | -480 | 1508.9184 | 693 | 9.9 | 86.2039 | 1480 | 1295.9184 | 28.9184 | 0 |  | 8.0208 | 693
27 | 65 | 0 | 65 | 0 | 0 | 3 | 65 | 35 | 1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 27 | 85 | 9200 | 41.5 | 3217.5 | 0 | 650 | 650 | 10 | 85.3419 | 657 | 0 | 53 | 60 |  | 7.5231 | 650
28 | 0 | 120 | 120 | 0 | 0 | 3 | 120 | 35 | 0 | 3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 28 | 85.1 | 9440 | 41.97 | 3767.4 | 240 | 1422 | 1182 | 9.85 | 86.4405 | 1080.25 | 0 | 341.75 | 0 |  | 13.6806 | 1182
29 | 70 | 0 | 70 | 0 | 0 | 4 | 70 | 35 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 29 | 85.15 | 9560 | 41.75 | 3510 | 120 | 813 | 693 | 9.9 | 85.9042 | 630 | 0 | 183 | 0 |  | 8.0208 | 693
30 | 0 | 105 | 105 | 0 | 0 | 3 | 105 | 35 | 0 | 2.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 30 | 85.4 | 10160 | 41.7 | 3451.5 | 600 | 5187.0957 | 1060.5 | 10.1 | 83.7181 | 5110 | 3526.5957 | 77.0957 | 0 |  | 12.2743 | 1060.5
31 | 80 | 0 | 80 | 0 | 0 | 3 | 80 | 35 | 1.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 31 | 85.1 | 9440 | 41.4 | 3100.5 | -720 | 3603.1667 | 844 | 10.55 | 80.7051 | 3577 | 3479.1667 | 86.1667 | 60 |  | 9.7685 | 844
| 1495 | 1885 | 3380 | 0 | 0 | 98 | 3282 | 108 | 36.4 | 46.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 18 |  |  | 84.7177 | 8523.871 | 41.4619 | 3172.889 | -240 | 74956.5009 | 33952.75 | 10.0452 | 85.5193 | 71151.85 | 41243.7509 | 4344.6509 | 540 |  | 12.6765 | 33952.75