## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 0 | 65 | 65 | 0 | 0 | 4 | 65 | 35 | 0 | 1.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 1 | 85.05 | 9320 | 41.54 | 3264.3 | -120 | 5875.0417 | 656.5 | 10.1 | 84.3988 | 5861.9 | 5338.5417 | 73.1417 | 60 |  | 7.5984 | 656.5
2 | 0 | 145 | 145 | 0 | 0 | 4 | 145 | 35 | 0 | 4.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 2 | 84.85 | 8840 | 42.059 | 3871.53 | -480 | 1580.2447 | 1464.5 | 10.1 | 84.7927 | 1618.8 | 595.7447 | 21.4447 | 60 |  | 16.9502 | 1464.5
3 | 65 | 0 | 65 | 0 | 0 | 3 | 65 | 35 | 1.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 3 | 85 | 9200 | 41.61 | 3346.2 | 360 | 1010 | 650 | 10 | 85.3419 | 808.5 | 0 | 201.5 | 0 |  | 7.5231 | 650
4 | 0 | 105 | 105 | 0 | 0 | 4 | 105 | 54 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 4 | 85 | 9200 | 41.9 | 3685.5 | 0 | 4085.8974 | 1050 | 10 | 85.3419 | 3759.5 | 3035.8974 | 326.3974 | 0 |  | 12.1528 | 1050
5 | 65 | 0 | 65 | 0 | 0 | 3 | 65 | 40 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 5 | 85.15 | 9560 | 41.9 | 3685.5 | 360 | 1000.25 | 640.25 | 9.85 | 86.3403 | 862.5 | 0 | 137.75 | 0 |  | 7.4103 | 640.25
6 | 80 | 45 | 125 | 0 | 0 | 4 | 125 | 45 | 2.1 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 6 | 85 | 9200 | 41.753 | 3513.51 | -360 | 890 | 1250 | 10 | 85.3419 | 908.9 | 0 | 41.1 | 60 |  | 14.4676 | 1250
7 | 65 | 0 | 65 | 0 | 0 | 3 | 65 | 35 | 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 7 | 85.15 | 9560 | 41.4 | 3100.5 | 360 | 997 | 637 | 9.8 | 86.7808 | 797.15 | 0 | 199.85 | 0 |  | 7.3727 | 637
8 | 240 | 0 | 240 | 0 | 0 | 4 | 240 | 55 | 4.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 8 | 85.25 | 9800 | 41.69 | 3439.8 | 240 | 2604 | 2364 | 9.85 | 86.1407 | 2322.6 | 0 | 281.4 | 0 |  | 27.3611 | 2364
9 | 175 | 0 | 175 | 0 | 0 | 3 | 175 | 35 | 4.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 9 | 85.1 | 9440 | 41.462 | 3173.04 | -360 | 1407.5 | 1767.5 | 10.1 | 84.3008 | 1418.55 | 0 | 18.95 | 30 |  | 20.4572 | 1767.5
10 | 0 | 65 | 65 | 0 | 0 | 3 | 65 | 55 | 0 | 1.35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 10 | 85.1 | 9440 | 41.48 | 3194.1 | 0 | 4141.0361 | 656.5 | 10.1 | 84.3008 | 4174.8 | 3484.5361 | 26.2361 | 60 |  | 7.5984 | 656.5
11 | 80 | 0 | 80 | 0 | 0 | 4 | 80 | 38 | 1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 11 | 85.3 | 9920 | 41.7 | 3451.5 | 480 | 4818.6809 | 844 | 10.55 | 80.3323 | 4584.4 | 3494.6809 | 234.2809 | 0 |  | 9.7685 | 844
12 | 0 | 190 | 190 | 0 | 0 | 4 | 190 | 55 | 0 | 4.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 12 | 85.2 | 9680 | 41.701 | 3452.67 | -240 | 1660 | 1900 | 10 | 84.9468 | 1547.6 | 0 | 112.4 | 0 |  | 21.9907 | 1900
13 | 85 | 0 | 85 | 0 | 0 | 3 | 85 | 35 | 2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 13 | 85.3 | 9920 | 40.87 | 2480.4 | 240 | 1098.5 | 858.5 | 10.1 | 83.9115 | 1036.6 | 0 | 121.9 | 60 |  | 9.9363 | 858.5
14 | 0 | 510 | 510 | 0 | 0 | 3 | 510 | 54 | 0 | 10.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 14 | 84.25 | 7400 | 41.63 | 3369.6 | -2520 | 7668.234 | 5151 | 10.1 | 85.9968 | 7621.2 | 5037.234 | 47.034 | 0 |  | 59.6181 | 5151
15 | 535 | 130 | 665 | 0 | 0 | 4 | 665 | 108 | 10.45 | 2.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 15 | 84.6 | 8240 | 41.6 | 3334.5 | 840 | 7556.5 | 6716.5 | 10.1 | 85.2903 | 7397.85 | 0 | 218.65 | 60 |  | 77.7373 | 6716.5
16 | 0 | 100 | 100 | 0 | 0 | 4 | 100 | 35 | 0 | 2.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 16 | 84.1 | 7040 | 40.8 | 2398.5 | -1200 | 2166.383 | 1010 | 10.1 | 86.3032 | 2117 | 2356.383 | 109.383 | 60 |  | 11.6898 | 1010
17 | 215 | 0 | 215 | 0 | 0 | 6 | 215 | 35 | 5.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 17 | 84.5 | 8000 | 40.97 | 2597.4 | 960 | 4865.3191 | 2150 | 10 | 86.3459 | 4708.5 | 1755.3191 | 156.8191 | 0 |  | 24.8843 | 2150
18 | 115 | 215 | 330 | 0 | 0 | 4 | 330 | 110 | 2.8 | 5.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 18 | 84.35 | 7640 | 41.742 | 3500.64 | -360 | 2973 | 3333 | 10.1 | 85.7938 | 2890.8 | 0 | 82.2 | 0 |  | 38.5764 | 3333
19 | 175 | 0 | 175 | 0 | 0 | 4 | 175 | 55 | 3.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 19 | 84.6 | 8240 | 42.069 | 3883.23 | 600 | 2367.5 | 1767.5 | 10.1 | 85.2903 | 2204.6 | 0 | 162.9 | 0 |  | 20.4572 | 1767.5
20 | 75 | 0 | 75 | 0 | 0 | 4 | 75 | 35 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 20 | 84.8 | 8720 | 41.6 | 3334.5 | 480 | 1849.2893 | 750 | 10 | 85.7407 | 1646.4 | 619.2893 | 202.8893 | 0 |  | 8.6806 | 750
21 | 70 | 0 | 70 | 0 | 0 | 4 | 70 | 35 | 1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 21 | 85.1 | 9440 | 41.22 | 2889.9 | 720 | 1402.5 | 682.5 | 9.75 | 87.327 | 1348.45 | 0 | 54.05 | 0 |  | 7.8993 | 682.5
22 | 330 | 0 | 330 | 0 | 0 | 4 | 330 | 55 | 6.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 22 | 84.5 | 8000 | 41.8 | 3568.5 | -1440 | 4116.4103 | 3300 | 10 | 86.3459 | 4108.65 | 2256.4103 | 67.7603 | 60 |  | 38.1944 | 3300
23 | 155 | 0 | 155 | 0 | 0 | 6 | 155 | 55 | 3.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 23 | 84.8 | 8720 | 41.55 | 3276 | 720 | 2231.25 | 1511.25 | 9.75 | 87.9391 | 1969.8 | 0 | 261.45 | 0 |  | 17.4913 | 1511.25
24 | 315 | 245 | 560 | 0 | 0 | 3 | 560 | 108 | 6.8 | 5.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 |  | 24 | 84.95 | 9080 | 41.652 | 3395.34 | 360 | 5960 | 5600 | 10 | 85.4412 | 5927.6 | 0 | 92.4 | 60 |  | 64.8148 | 5600
25 | 165 | 380 | 545 | 0 | 0 | 4 | 545 | 110 | 3.25 | 7.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 |  | 25 | 84.1 | 7040 | 41.601 | 3335.67 | -2040 | 7087.4211 | 5559 | 10.2 | 85.4571 | 7094.47 | 3568.4211 | 52.9511 | 60 |  | 64.3403 | 5559
26 | 60 | 205 | 265 | 0 | 0 | 3 | 265 | 110 | 1.4 | 4.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 26 | 84.95 | 9080 | 41.89 | 3673.8 | 2040 | 4690 | 2650 | 10 | 85.4412 | 4476.15 | 0 | 213.85 | 0 |  | 30.6713 | 2650
27 | 145 | 120 | 265 | 0 | 0 | 3 | 265 | 70 | 3.9 | 3.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 27 | 84.8 | 8720 | 41.85 | 3627 | -360 | 2316.5 | 2676.5 | 10.1 | 84.8917 | 2292.2 | 0 | 24.3 | 0 |  | 30.978 | 2676.5
28 | 0 | 225 | 225 | 0 | 0 | 5 | 225 | 55 | 0 | 4.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 28 | 84.6 | 8240 | 41.929 | 3719.43 | -480 | 1725 | 2205 | 9.8 | 87.9012 | 1653.9 | 0 | 71.1 | 0 |  | 25.5208 | 2205
29 | 265 | 115 | 380 | 0 | 0 | 3 | 380 | 110 | 5.5 | 2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 29 | 84.95 | 9080 | 41.78 | 3545.1 | 840 | 4583 | 3743 | 9.85 | 86.7423 | 4402.5 | 0 | 180.5 | 0 |  | 43.3218 | 3743
30 | 80 | 165 | 245 | 0 | 0 | 3 | 245 | 70 | 1.85 | 3.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 30 | 85.1 | 9440 | 41.78 | 3545.1 | 360 | 2810 | 2450 | 10 | 85.1439 | 2649.2 | 0 | 160.8 | 0 |  | 28.3565 | 2450
31 | 115 | 0 | 115 | 0 | 0 | 4 | 115 | 35 | 2.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 31 | 85.2 | 9680 | 41.15 | 2808 | 240 | 1390 | 1150 | 10 | 84.9468 | 1222.5 | 0 | 167.5 | 0 |  | 13.3102 | 1150
| 3670 | 3025 | 6695 | 0 | 0 | 117 | 6578 | 110 | 80.85 | 67.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31 | 22 |  |  | 84.8613 | 8867.0968 | 41.6025 | 3337.4439 | 240 | 98926.4575 | 67144 | 10.029 | 85.3707 | 95433.57 | 31542.4575 | 4122.8875 | 630 |  | 25.0687 | 67144