## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 510 | 505 | 1015 | 0 | 0 | 4 | 1015 | 110 | 10.1 | 10.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 |  | 1 | 84.55 | 8120 | 41.752 | 3512.34 | -240 | 9910 | 10150 | 10 | 86.2444 | 9525.6 | 0 | 384.4 | 0 |  | 117.4769 | 10150
2 | 405 | 655 | 1060 | 0 | 0 | 5 | 1060 | 110 | 8.2 | 13.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 |  | 2 | 83.4 | 5360 | 41.379 | 3075.93 | -2760 | 7946 | 10706 | 10.1 | 87.7625 | 7942.4 | 0 | 63.6 | 60 |  | 123.912 | 10706
3 | 200 | 0 | 200 | 0 | 0 | 4 | 200 | 55 | 3.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 3 | 83.3 | 5120 | 41.149 | 2806.83 | -240 | 1780 | 2020 | 10.1 | 87.975 | 1547.6 | 0 | 292.4 | 60 |  | 23.3796 | 2020
4 | 185 | 220 | 405 | 0 | 0 | 4 | 405 | 110 | 4.3 | 5.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 4 | 84.35 | 7640 | 42.053 | 3864.51 | 2520 | 6610.5 | 4090.5 | 10.1 | 85.7938 | 6600.7 | 0 | 69.8 | 60 |  | 47.3438 | 4090.5
5 | 750 | 265 | 1015 | 0 | 0 | 3 | 1015 | 90 | 14.8 | 5.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 5 | 84.5 | 8000 | 41.462 | 3173.04 | 360 | 10611.5 | 10251.5 | 10.1 | 85.491 | 10455 | 0 | 156.5 | 0 |  | 118.6516 | 10251.5
6 | 185 | 350 | 535 | 0 | 0 | 3 | 535 | 110 | 3.85 | 7.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 6 | 83.4 | 5360 | 40.54 | 2094.3 | -2640 | 2763.5 | 5403.5 | 10.1 | 87.7625 | 2613.6 | 0 | 209.9 | 60 |  | 62.5405 | 5403.5
7 | 700 | 300 | 1000 | 0 | 0 | 6 | 1000 | 100 | 14.85 | 6.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 7 | 83.1 | 4640 | 42.031 | 3838.77 | -720 | 9380 | 10100 | 10.1 | 88.4031 | 9374.25 | 0 | 65.75 | 60 |  | 116.8981 | 10100
8 | 385 | 770 | 1155 | 0 | 0 | 4 | 1155 | 108 | 8.5 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 8 | 83.3 | 5120 | 42.06 | 3872.7 | 480 | 12145.5 | 11665.5 | 10.1 | 87.975 | 12161.8 | 0 | 43.7 | 60 |  | 135.0174 | 11665.5
9 | 375 | 580 | 955 | 0 | 0 | 4 | 955 | 100 | 8.95 | 14.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 9 | 83.35 | 5240 | 41.931 | 3721.77 | 120 | 9670 | 9550 | 10 | 88.7473 | 9603.67 | 0 | 66.33 | 0 |  | 110.5324 | 9550
10 | 580 | 650 | 1230 | 0 | 0 | 4 | 1230 | 100 | 13.05 | 14.27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 10 | 83.35 | 5240 | 41.7 | 3451.5 | 0 | 12300 | 12300 | 10 | 88.7473 | 12069.4 | 0 | 230.6 | 0 |  | 142.3611 | 12300
11 | 275 | 890 | 1165 | 0 | 0 | 4 | 1165 | 100 | 5.8 | 18.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 11 | 83.3 | 5120 | 41.698 | 3449.16 | -120 | 11646.5 | 11766.5 | 10.1 | 87.975 | 11658.1 | 0 | 48.4 | 60 |  | 136.1863 | 11766.5
12 | 420 | 580 | 1000 | 0 | 0 | 5 | 1000 | 100 | 8.7 | 12.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 12 | 83.7 | 6080 | 41.421 | 3125.07 | 960 | 11060 | 10100 | 10.1 | 87.1311 | 11070.4 | 0 | 49.6 | 60 |  | 116.8981 | 10100
13 | 760 | 545 | 1305 | 0 | 0 | 4 | 1305 | 100 | 17.3 | 13.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 13 | 82.75 | 3850 | 41.903 | 3689.01 | -2230 | 10820 | 13050 | 10 | 90.054 | 10767 | 0 | 53 | 0 |  | 151.0417 | 13050
14 | 255 | 770 | 1025 | 0 | 0 | 4 | 1025 | 90 | 5.8 | 16.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 14 | 83 | 4400 | 41.749 | 3508.83 | 550 | 11312.5 | 10762.5 | 10.5 | 85.2427 | 11256.95 | 0 | 115.55 | 60 |  | 124.566 | 10762.5
15 | 755 | 100 | 855 | 0 | 0 | 4 | 855 | 100 | 15 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 15 | 83.5 | 5600 | 41.602 | 3336.84 | 1200 | 9835.5 | 8635.5 | 10.1 | 87.551 | 9774.05 | 0 | 121.45 | 60 |  | 99.9479 | 8635.5
16 | 390 | 480 | 870 | 0 | 0 | 4 | 870 | 110 | 8.8 | 10.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 |  | 16 | 82.5 | 3300 | 41.822 | 3594.24 | -2300 | 6617.5 | 8917.5 | 10.25 | 88.3999 | 6636 | 0 | 41.5 | 60 |  | 103.2118 | 8917.5
17 | 805 | 230 | 1035 | 0 | 0 | 4 | 1035 | 100 | 17.1 | 5.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 17 | 83.6 | 5840 | 41.998 | 3800.16 | 2540 | 12890 | 10350 | 10 | 88.2139 | 12775.6 | 0 | 114.4 | 0 |  | 119.7917 | 10350
18 | 135 | 815 | 950 | 0 | 0 | 3 | 950 | 80 | 3.25 | 16.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 18 | 83.5 | 5600 | 41.712 | 3465.54 | -240 | 9355 | 9595 | 10.1 | 87.551 | 9095.8 | 0 | 319.2 | 60 |  | 111.0532 | 9595
19 | 810 | 160 | 970 | 0 | 0 | 4 | 970 | 108 | 15.55 | 3.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 19 | 84 | 6800 | 41.631 | 3370.77 | 1200 | 10997 | 9797 | 10.1 | 86.5087 | 10935.1 | 0 | 61.9 | 0 |  | 113.3912 | 9797
20 | 265 | 895 | 1160 | 0 | 0 | 5 | 1160 | 108 | 5.2 | 17.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 20 | 83.85 | 6440 | 41.59 | 3322.8 | -360 | 11240 | 11600 | 10 | 87.687 | 11069.1 | 0 | 170.9 | 0 |  | 134.2593 | 11600
21 | 860 | 190 | 1050 | 0 | 0 | 3 | 1050 | 108 | 17 | 3.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 21 | 83.5 | 5600 | 41.832 | 3605.94 | -840 | 9765 | 10605 | 10.1 | 87.551 | 9803.9 | 0 | 21.1 | 60 |  | 122.7431 | 10605
22 | 375 | 800 | 1175 | 0 | 0 | 5 | 1175 | 110 | 7.3 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 22 | 83 | 4400 | 41.628 | 3367.26 | -1200 | 10608.75 | 11808.75 | 10.05 | 89.0596 | 10537.6 | 0 | 71.15 | 0 |  | 136.6753 | 11808.75
23 | 485 | 505 | 990 | 0 | 0 | 3 | 990 | 109 | 9.9 | 10.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 |  | 23 | 83.3 | 5120 | 41.841 | 3616.47 | 720 | 10719 | 9999 | 10.1 | 87.975 | 10725 | 0 | 54 | 60 |  | 115.7292 | 9999
24 | 305 | 795 | 1100 | 0 | 0 | 4 | 1100 | 100 | 7.4 | 17.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 24 | 83.8 | 6320 | 41.74 | 3498.3 | 1200 | 12310 | 11110 | 10.1 | 86.9226 | 12007.5 | 0 | 302.5 | 0 |  | 128.588 | 11110
25 | 65 | 995 | 1060 | 0 | 0 | 5 | 1060 | 70 | 1.55 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 25 | 82.65 | 3630 | 41.07 | 2714.4 | -2690 | 8016 | 10706 | 10.1 | 89.3817 | 7905.9 | 0 | 170.1 | 60 |  | 123.912 | 10706
26 | 170 | 495 | 665 | 0 | 0 | 4 | 665 | 100 | 3.75 | 10.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 26 | 83.9 | 6560 | 41.6 | 3334.5 | 2930 | 9646.5 | 6716.5 | 10.1 | 86.7152 | 9402.25 | 0 | 304.25 | 60 |  | 77.7373 | 6716.5
27 | 805 | 415 | 1220 | 0 | 0 | 4 | 1220 | 100 | 17.1 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 |  | 27 | 83.5 | 5600 | 41.802 | 3570.84 | -960 | 11362 | 12322 | 10.1 | 87.551 | 11179.35 | 0 | 182.65 | 0 |  | 142.6157 | 12322
28 | 215 | 780 | 995 | 0 | 0 | 4 | 995 | 100 | 4.3 | 16.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 |  | 28 | 82.85 | 4070 | 41.299 | 2982.33 | -1530 | 8420 | 9950 | 10 | 89.8335 | 8008.75 | 0 | 411.25 | 0 |  | 115.162 | 9950
29 | 445 | 185 | 630 | 0 | 0 | 4 | 630 | 108 | 8.9 | 3.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 29 | 84.25 | 7400 | 41.39 | 3088.8 | 3330 | 9693 | 6363 | 10.1 | 85.9968 | 9428 | 0 | 325 | 60 |  | 73.6458 | 6363
30 | 620 | 365 | 985 | 0 | 0 | 4 | 985 | 108 | 11.9 | 7.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 30 | 83.8 | 6320 | 41.972 | 3769.74 | -1080 | 8868.5 | 9948.5 | 10.1 | 86.9226 | 8807.6 | 0 | 120.9 | 60 |  | 115.1447 | 9948.5
31 | 810 | 405 | 1215 | 0 | 0 | 3 | 1215 | 109 | 16.1 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 31 | 82.35 | 2970 | 41.879 | 3660.93 | -3350 | 9103.75 | 12453.75 | 10.25 | 88.7285 | 9100 | 0 | 63.75 | 60 |  | 144.1406 | 12453.75
| 14300 | 15690 | 29990 | 0 | 0 | 125 | 29865 | 110 | 298 | 333.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40 | 41 |  |  | 83.4581 | 5511.6129 | 41.6528 | 3396.2458 | -5390 | 297403.5 | 302793.5 | 10.0965 | 87.6701 | 293837.97 | 0 | 4705.53 | 1140 |  | 113.0501 | 302793.5