## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 245 | 0 | 245 | 0 | 0 | 3 | 245 | 40 | 6.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 1 | 84 | 6800 | 41.39 | 3088.8 | -1320 | 1154.5 | 2474.5 | 10.1 | 86.5087 | 1200 | 0 | 14.5 | 60 |  | 28.64 | 2474.5
2 | 0 | 190 | 190 | 0 | 0 | 3 | 190 | 40 | 0 | 5.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 2 | 84 | 6800 | 41.362 | 3056.04 | 0 | 1919 | 1919 | 10.1 | 86.5087 | 1895.7 | 0 | 83.3 | 60 |  | 22.2106 | 1919
3 | 175 | 0 | 175 | 0 | 0 | 4 | 175 | 40 | 4.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 3 | 84.3 | 7520 | 41.203 | 2870.01 | 720 | 2487.5 | 1767.5 | 10.1 | 85.8952 | 2446.2 | 0 | 41.3 | 0 |  | 20.4572 | 1767.5
4 | 0 | 385 | 385 | 0 | 0 | 4 | 385 | 54 | 0 | 8.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 4 | 84.7 | 8480 | 41.801 | 3569.67 | 960 | 4810 | 3850 | 10 | 85.9415 | 4635.5 | 0 | 234.5 | 60 |  | 44.5602 | 3850
5 | 190 | 0 | 190 | 0 | 0 | 3 | 190 | 40 | 4.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 5 | 84.85 | 8840 | 40.782 | 2377.44 | 360 | 2279 | 1919 | 10.1 | 84.7927 | 2220 | 0 | 59 | 0 |  | 22.2106 | 1919
6 | 0 | 150 | 150 | 0 | 0 | 4 | 150 | 40 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 6 | 84.9 | 8960 | 40.602 | 2166.84 | 120 | 1635 | 1515 | 10.1 | 84.6939 | 1547.75 | 0 | 87.25 | 0 |  | 17.5347 | 1515
7 | 248 | 0 | 248 | 0 | 0 | 3 | 248 | 54 | 5.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 7 | 84.5 | 8000 | 41.102 | 2751.84 | -960 | 1544.8 | 2504.8 | 10.1 | 85.491 | 1518.4 | 0 | 86.4 | 60 |  | 28.9907 | 2504.8
8 | 0 | 240 | 240 | 0 | 0 | 3 | 240 | 54 | 0 | 4.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 8 | 84.15 | 7160 | 40.63 | 2199.6 | -840 | 1560 | 2400 | 10 | 87.0629 | 1385.7 | 0 | 174.3 | 0 |  | 27.7778 | 2400
9 | 172 | 0 | 172 | 0 | 0 | 3 | 172 | 40 | 4.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 9 | 84 | 6800 | 40.8 | 2398.5 | -360 | 1360 | 1720 | 10 | 87.3738 | 1273.95 | 0 | 86.05 | 0 |  | 19.9074 | 1720
10 | 0 | 155 | 155 | 0 | 0 | 4 | 155 | 40 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 10 | 84 | 6800 | 40.67 | 2246.4 | 0 | 1534.5 | 1534.5 | 9.9 | 88.2564 | 1366.55 | 0 | 167.95 | 0 |  | 17.7604 | 1534.5
11 | 180 | 0 | 180 | 0 | 0 | 3 | 180 | 40 | 3.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 11 | 83.95 | 6680 | 41.02 | 2655.9 | -120 | 1698 | 1818 | 10.1 | 86.6118 | 1744.05 | 0 | 13.95 | 60 |  | 21.0417 | 1818
12 | 0 | 155 | 155 | 0 | 0 | 3 | 155 | 40 | 0 | 3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 12 | 84.05 | 6920 | 41.15 | 2808 | 240 | 1790 | 1550 | 10 | 87.2699 | 1668.55 | 0 | 121.45 | 0 |  | 17.9398 | 1550
13 | 115 | 0 | 115 | 0 | 0 | 3 | 115 | 54 | 2.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 13 | 84.15 | 7160 | 41.05 | 2691 | 240 | 1401.5 | 1161.5 | 10.1 | 86.2009 | 1321.25 | 0 | 80.25 | 0 |  | 13.4433 | 1161.5
14 | 0 | 145 | 145 | 0 | 0 | 4 | 145 | 55 | 0 | 3.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 14 | 84.2 | 7280 | 40.9 | 2515.5 | 120 | 1584.5 | 1464.5 | 10.1 | 86.0987 | 1518.4 | 0 | 126.1 | 60 |  | 16.9502 | 1464.5
15 | 375 | 60 | 435 | 0 | 0 | 3 | 435 | 108 | 7.1 | 1.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 15 | 84.15 | 7160 | 41.42 | 3123.9 | -120 | 4273.5 | 4393.5 | 10.1 | 86.2009 | 4270.35 | 0 | 33.15 | 30 |  | 50.8507 | 4393.5
16 | 0 | 310 | 310 | 0 | 0 | 4 | 310 | 54 | 0 | 7.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 16 | 84.25 | 7400 | 41.27 | 2948.4 | 240 | 3371 | 3131 | 10.1 | 85.9968 | 3393 | 0 | 8 | 30 |  | 36.2384 | 3131
17 | 140 | 5 | 145 | 0 | 0 | 3 | 145 | 54 | 3.1 | 0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 17 | 84.3 | 7520 | 40.4 | 1930.5 | 120 | 1570 | 1450 | 10 | 86.7541 | 1425 | 0 | 145 | 0 |  | 16.7824 | 1450
18 | 5 | 250 | 255 | 0 | 0 | 3 | 255 | 54 | 0 | 4.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 18 | 84.65 | 8360 | 41.112 | 2763.54 | 840 | 3353 | 2513 | 9.8549 | 87.309 | 3171 | 0 | 182 | 0 |  | 29.0856 | 2513
19 | 346 | 84 | 430 | 0 | 0 | 4 | 430 | 108 | 7.2 | 1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 19 | 84.7 | 8480 | 41.532 | 3254.94 | 120 | 4463 | 4343 | 10.1 | 85.0905 | 4483.5 | 0 | 9.5 | 30 |  | 50.2662 | 4343
20 | 0 | 207 | 207 | 0 | 0 | 3 | 207 | 54 | 0 | 4.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 20 | 84.55 | 8120 | 40.61 | 2176.2 | -360 | 1668.6 | 2028.6 | 9.8 | 88.0045 | 1457.15 | 0 | 211.45 | 0 |  | 23.4792 | 2028.6
21 | 309 | 0 | 309 | 0 | 0 | 3 | 309 | 54 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 21 | 84.1 | 7040 | 41.51 | 3229.2 | -1080 | 2040.9 | 3120.9 | 10.1 | 86.3032 | 1912.6 | 0 | 128.3 | 0 |  | 36.1215 | 3120.9
22 | 0 | 155 | 155 | 0 | 0 | 3 | 155 | 54 | 0 | 4.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 22 | 84 | 6800 | 40.85 | 2457 | -240 | 1317.75 | 1557.75 | 10.05 | 86.9391 | 1291.05 | 0 | 26.7 | 0 |  | 18.0295 | 1557.75
23 | 566 | 49 | 615 | 0 | 0 | 3 | 615 | 70 | 13.2 | 1.35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 23 | 84.4 | 7760 | 41.703 | 3455.01 | 960 | 7110 | 6150 | 10 | 86.5495 | 7022.6 | 0 | 87.4 | 0 |  | 71.1806 | 6150
24 | 0 | 215 | 215 | 0 | 0 | 4 | 215 | 35 | 0 | 4.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 24 | 84.15 | 7160 | 41.29 | 2971.8 | -600 | 1571.5 | 2171.5 | 10.1 | 86.2009 | 1475.1 | 0 | 96.4 | 0 |  | 25.1331 | 2171.5
25 | 275 | 40 | 315 | 0 | 0 | 4 | 315 | 93 | 6.6 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 1 |  | 25 | 84.4 | 7760 | 41.8105 | 3580.785 | 600 | 3781.5 | 3181.5 | 10.1 | 85.6926 | 3766.8 | 0 | 44.7 | 30 |  | 36.8229 | 3181.5
26 | 134 | 260 | 394 | 0 | 0 | 3 | 394 | 80 | 3.5 | 6.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 26 | 84.25 | 7400 | 41.73 | 3486.6 | -360 | 3619.4 | 3979.4 | 10.1 | 85.9968 | 3630 | 0 | 19.4 | 30 |  | 46.0579 | 3979.4
27 | 215 | 0 | 215 | 0 | 0 | 4 | 215 | 40 | 5.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 27 | 84.1 | 7040 | 41.11 | 2761.2 | -360 | 1811.5 | 2171.5 | 10.1 | 86.3032 | 1691.2 | 0 | 120.3 | 0 |  | 25.1331 | 2171.5
28 | 0 | 112 | 112 | 0 | 0 | 3 | 112 | 35 | 0 | 3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 28 | 84.35 | 7640 | 41 | 2632.5 | 600 | 1731.2 | 1131.2 | 10.1 | 85.7938 | 1695 | 0 | 36.2 | 0 |  | 13.0926 | 1131.2
29 | 250 | 0 | 250 | 0 | 0 | 4 | 250 | 55 | 5.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 29 | 84.25 | 7400 | 41.542 | 3266.64 | -240 | 2285 | 2525 | 10.1 | 85.9968 | 2197.3 | 0 | 147.7 | 60 |  | 29.2245 | 2525
30 | 0 | 263 | 263 | 0 | 0 | 3 | 263 | 55 | 0 | 7.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 30 | 84.8 | 8720 | 41.946 | 3739.32 | 1320 | 3976.3 | 2656.3 | 10.1 | 84.8917 | 4050 | 0 | 6.3 | 80 |  | 30.7442 | 2656.3
31 | 270 | 0 | 270 | 0 | 0 | 4 | 270 | 54 | 6.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 31 | 84.5 | 8000 | 41.15 | 2808 | -720 | 1980 | 2700 | 10 | 86.3459 | 1750.75 | 0 | 229.25 | 0 |  | 31.25 | 2700
| 4210 | 3430 | 7640 | 0 | 0 | 105 | 7535 | 108 | 95.2 | 80.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 26 |  |  | 84.3113 | 7547.0968 | 41.1757 | 2838.0992 | -120 | 76682.45 | 76802.45 | 10.0527 | 86.2765 | 74424.4 | 0 | 2908.05 | 650 |  | 28.6747 | 76802.45