## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 95 | 0 | 95 | 0 | 0 | 5 | 95 | 55 | 1.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 1 | 84.15 | 7160 | 40.98 | 2609.1 | 240 | 1199.5 | 959.5 | 10.1 | 86.2009 | 927.1 | 0 | 332.4 | 60 |  | 11.1053 | 959.5
2 | 80 | 0 | 80 | 0 | 0 | 5 | 80 | 35 | 2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 2 | 84.3 | 7520 | 41.25 | 2925 | 360 | 1160 | 800 | 10 | 86.7541 | 1013.8 | 0 | 146.2 | 0 |  | 9.2593 | 800
3 | 190 | 0 | 190 | 0 | 0 | 6 | 190 | 35 | 4.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 3 | 84.2 | 7280 | 41.3 | 2983.5 | -240 | 1679 | 1919 | 10.1 | 86.0987 | 1609.65 | 0 | 69.35 | 0 |  | 22.2106 | 1919
4 | 0 | 120 | 120 | 0 | 0 | 5 | 120 | 35 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 4 | 84.05 | 6920 | 41.45 | 3159 | -360 | 852 | 1212 | 10.1 | 86.4059 | 777.65 | 0 | 74.35 | 0 |  | 14.0278 | 1212
5 | 154 | 0 | 154 | 0 | 0 | 5 | 154 | 54 | 3.35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 5 | 84.2 | 7280 | 41.5 | 3217.5 | 360 | 1876.9 | 1516.9 | 9.85 | 88.284 | 1646.45 | 0 | 230.45 | 0 |  | 17.5567 | 1516.9
6 | 0 | 245 | 245 | 0 | 0 | 5 | 245 | 54 | 0 | 5.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 6 | 84.05 | 6920 | 40.76 | 2351.7 | -360 | 2090 | 2450 | 10 | 87.2699 | 2056.2 | 0 | 33.8 | 0 |  | 28.3565 | 2450
7 | 111 | 0 | 111 | 0 | 0 | 5 | 111 | 55 | 2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 7 | 84 | 6800 | 40.91 | 2527.2 | -120 | 1001.1 | 1121.1 | 10.1 | 86.5087 | 846.8 | 0 | 154.3 | 0 |  | 12.9757 | 1121.1
8 | 0 | 174 | 174 | 0 | 0 | 6 | 174 | 55 | 0 | 3.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 8 | 84 | 6800 | 41.468 | 3180.06 | 0 | 1757.4 | 1757.4 | 10.1 | 86.5087 | 1664.4 | 0 | 93 | 0 |  | 20.3403 | 1757.4
9 | 150 | 0 | 150 | 0 | 0 | 5 | 150 | 55 | 3.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 9 | 84.3 | 7520 | 41.45 | 3159 | 720 | 2190 | 1470 | 9.8 | 88.5246 | 2107.5 | 0 | 82.5 | 0 |  | 17.0139 | 1470
10 | 0 | 78 | 78 | 0 | 0 | 6 | 78 | 35 | 0 | 2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 10 | 84.35 | 7640 | 40.96 | 2585.7 | 120 | 888.3 | 768.3 | 9.85 | 87.9713 | 708.1 | 0 | 180.2 | 0 |  | 8.8924 | 768.3
11 | 130 | 0 | 130 | 0 | 0 | 5 | 130 | 35 | 3.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 11 | 84.35 | 7640 | 40.95 | 2574 | 0 | 1313 | 1313 | 10.1 | 85.7938 | 1110 | 0 | 203 | 0 |  | 15.1968 | 1313
12 | 0 | 90 | 90 | 0 | 0 | 5 | 90 | 54 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 12 | 84.5 | 8000 | 40.9 | 2515.5 | 360 | 1246.5 | 886.5 | 9.85 | 87.6608 | 975 | 0 | 271.5 | 0 |  | 10.2604 | 886.5
13 | 234 | 0 | 234 | 0 | 0 | 5 | 234 | 54 | 5.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 13 | 84.3 | 7520 | 41.681 | 3429.27 | -480 | 1883.4 | 2363.4 | 10.1 | 85.8952 | 1817.7 | 0 | 65.7 | 0 |  | 27.3542 | 2363.4
14 | 0 | 175 | 175 | 0 | 0 | 5 | 175 | 35 | 0 | 4.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 14 | 84.05 | 6920 | 41.2 | 2866.5 | -600 | 1150 | 1750 | 10 | 87.2699 | 1087.7 | 0 | 62.3 | 0 |  | 20.2546 | 1750
15 | 106 | 70 | 176 | 0 | 0 | 6 | 176 | 74 | 2.9 | 1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 15 | 84.1 | 7040 | 41.53 | 3252.6 | 120 | 1853.6 | 1733.6 | 9.85 | 88.4937 | 1737.4 | 0 | 116.2 | 0 |  | 20.0648 | 1733.6
16 | 0 | 160 | 160 | 0 | 0 | 5 | 160 | 55 | 0 | 3.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 16 | 84.15 | 7160 | 41.47 | 3182.4 | 120 | 1736 | 1616 | 10.1 | 86.2009 | 1615.7 | 0 | 120.3 | 0 |  | 18.7037 | 1616
17 | 160 | 0 | 160 | 0 | 0 | 5 | 160 | 55 | 4.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 17 | 84.2 | 7280 | 41.75 | 3510 | 120 | 1696 | 1576 | 9.85 | 88.284 | 1554.9 | 0 | 141.1 | 0 |  | 18.2407 | 1576
18 | 215 | 220 | 435 | 0 | 0 | 6 | 435 | 110 | 4.8 | 4.95 | 0 | 4.25 | 0 | 0 | 0 | 4.25 | 0 | 0 | 1 | 1 |  | 18 | 84.6 | 8240 | 41.73 | 3486.6 | 960 | 5527.5 | 4567.5 | 10.5 | 82.0411 | 5520 | 0 | 7.5 | 0 |  | 52.8646 | 4567.5
19 | 331 | 410 | 741 | 0 | 0 | 5 | 741 | 110 | 6.7 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 19 | 84.35 | 7640 | 41.301 | 2984.67 | -600 | 6735.9 | 7335.9 | 9.9 | 87.527 | 6679.5 | 0 | 56.4 | 0 |  | 84.9062 | 7335.9
20 | 69 | 270 | 339 | 0 | 0 | 5 | 339 | 110 | 1.4 | 6.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 20 | 84.5 | 8000 | 41.55 | 3276 | 360 | 3783.9 | 3423.9 | 10.1 | 85.491 | 3635.2 | 0 | 148.7 | 0 |  | 39.6285 | 3423.9
21 | 240 | 0 | 240 | 0 | 0 | 5 | 240 | 35 | 6.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 21 | 84.6 | 8240 | 41.7 | 3451.5 | 240 | 2664 | 2424 | 10.1 | 85.2903 | 2436.15 | 0 | 227.85 | 0 |  | 28.0556 | 2424
22 | 10 | 70 | 80 | 0 | 0 | 6 | 80 | 50 | 0.1 | 1.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 22 | 84.65 | 8360 | 40.65 | 2223 | 120 | 910.5 | 790.5 | 9.8812 | 87.0762 | 732.35 | 0 | 178.15 | 0 |  | 9.1493 | 790.5
23 | 246 | 0 | 246 | 0 | 0 | 4 | 246 | 40 | 6.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 23 | 84.1 | 7040 | 41.1 | 2749.5 | -1320 | 1164.6 | 2484.6 | 10.1 | 86.3032 | 1087.5 | 0 | 77.1 | 0 |  | 28.7569 | 2484.6
24 | 0 | 110 | 110 | 0 | 0 | 6 | 110 | 54 | 0 | 2.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 24 | 84 | 6800 | 41.15 | 2808 | -240 | 871 | 1111 | 10.1 | 86.5087 | 795.7 | 0 | 75.3 | 0 |  | 12.8588 | 1111
25 | 129 | 0 | 129 | 0 | 0 | 6 | 129 | 54 | 2.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 25 | 84.1 | 7040 | 41.1 | 2749.5 | 240 | 1542.9 | 1302.9 | 10.1 | 86.3032 | 1452.7 | 0 | 150.2 | 60 |  | 15.0799 | 1302.9
26 | 0 | 125 | 125 | 0 | 0 | 6 | 125 | 55 | 0 | 2.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 26 | 84.1 | 7040 | 41.23 | 2901.6 | 0 | 1250 | 1250 | 10 | 87.1663 | 989.05 | 0 | 260.95 | 0 |  | 14.4676 | 1250
27 | 170 | 0 | 170 | 0 | 0 | 5 | 170 | 35 | 4.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 27 | 84.05 | 6920 | 41.45 | 3159 | -120 | 1546 | 1666 | 9.8 | 89.0509 | 1366.55 | 0 | 179.45 | 0 |  | 19.2824 | 1666
28 | 0 | 90 | 90 | 0 | 0 | 5 | 90 | 54 | 0 | 1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 28 | 84.1 | 7040 | 40.55 | 2106 | 120 | 1002 | 882 | 9.8 | 88.9452 | 898.45 | 0 | 163.55 | 60 |  | 10.2083 | 882
| 2820 | 2407 | 5227 | 0 | 0 | 148 | 5079 | 110 | 67.95 | 55.3 | 0 | 4.25 | 0 | 0 | 0 | 4.25 | 0 | 0 | 21 | 19 |  |  | 84.2286 | 7348.5714 | 41.2507 | 2925.8357 | 120 | 52571 | 52451 | 10.0346 | 86.601 | 48849.2 | 0 | 3901.8 | 180 |  | 21.6811