## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 0 | 80 | 80 | 0 | 0 | 5 | 80 | 35 | 0 | 2.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 1 | 83.6 | 5840 | 40.724 | 2309.58 | -1560 | 1627.1209 | 808 | 10.1 | 87.3405 | 1617 | 2379.1209 | 70.1209 | 60 |  | 9.3519 | 808
2 | 0 | 65 | 65 | 0 | 0 | 5 | 65 | 54 | 0 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 2 | 83.7 | 6080 | 40.702 | 2283.84 | 240 | 880.25 | 640.25 | 9.85 | 89.3425 | 722.65 | 0 | 157.6 | 0 |  | 7.4103 | 640.25
3 | 80 | 0 | 80 | 0 | 0 | 5 | 80 | 45 | 2.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 3 | 83.9 | 6560 | 40.816 | 2417.22 | 480 | 1272 | 792 | 9.9 | 88.467 | 1102.5 | 0 | 169.5 | 0 |  | 9.1667 | 792
4 | 0 | 65 | 65 | 0 | 0 | 5 | 65 | 35 | 0 | 1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 4 | 84.35 | 7640 | 40.776 | 2370.42 | 1080 | 1736.5 | 656.5 | 10.1 | 85.7938 | 1693.6 | 0 | 42.9 | 0 |  | 7.5984 | 656.5
5 | 75 | 0 | 75 | 0 | 0 | 4 | 75 | 45 | 1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 5 | 83.9 | 6560 | 40.733 | 2320.11 | -1080 | 4343.3511 | 742.5 | 9.9 | 88.467 | 4262.4 | 4680.8511 | 80.9511 | 0 |  | 8.5938 | 742.5
6 | 0 | 160 | 160 | 0 | 0 | 5 | 160 | 45 | 0 | 4.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 6 | 83.95 | 6680 | 40.756 | 2347.02 | 120 | 2528.7423 | 1584 | 9.9 | 88.3616 | 2518.08 | 824.7423 | 10.6623 | 0 |  | 18.3333 | 1584
7 | 200 | 0 | 200 | 0 | 0 | 5 | 200 | 45 | 4.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 7 | 83.9 | 6560 | 41.025 | 2661.75 | -120 | 1920 | 2040 | 10.2 | 85.865 | 1860 | 0 | 60 | 0 |  | 23.6111 | 2040
8 | 0 | 220 | 220 | 0 | 0 | 4 | 220 | 55 | 0 | 5.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 8 | 83.85 | 6440 | 41.398 | 3098.16 | -120 | 2102 | 2222 | 10.1 | 86.8188 | 2059 | 0 | 43 | 0 |  | 25.7176 | 2222
9 | 185 | 0 | 185 | 0 | 0 | 4 | 185 | 45 | 4.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 9 | 84 | 6800 | 41.113 | 2764.71 | 360 | 2191.5 | 1831.5 | 9.9 | 88.2564 | 2091.35 | 0 | 100.15 | 0 |  | 21.1979 | 1831.5
10 | 0 | 132 | 132 | 0 | 0 | 5 | 132 | 35 | 0 | 3.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 10 | 84 | 6800 | 40.52 | 2070.9 | 0 | 1333.2 | 1333.2 | 10.1 | 86.5087 | 1314 | 0 | 49.2 | 30 |  | 15.4306 | 1333.2
11 | 235 | 0 | 235 | 0 | 0 | 5 | 235 | 40 | 6.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 11 | 84 | 6800 | 40.55 | 2106 | 0 | 2420.5 | 2420.5 | 10.3 | 84.8289 | 2422 | 0 | 58.5 | 60 |  | 28.015 | 2420.5
12 | 120 | 123 | 243 | 0 | 0 | 4 | 243 | 70 | 3.5 | 3.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 12 | 84.2 | 7280 | 40.65 | 2223 | 480 | 2885.7 | 2405.7 | 9.9 | 87.8381 | 2619.85 | 0 | 265.85 | 0 |  | 27.8438 | 2405.7
13 | 250 | 0 | 250 | 0 | 0 | 5 | 250 | 54 | 5.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 13 | 84 | 6800 | 40.699 | 2280.33 | -480 | 2007.5 | 2487.5 | 9.95 | 87.8129 | 1940.35 | 0 | 67.15 | 0 |  | 28.7905 | 2487.5
14 | 0 | 308 | 308 | 0 | 0 | 5 | 308 | 45 | 0 | 7.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 14 | 84.05 | 6920 | 41.2 | 2866.5 | 120 | 3230.8 | 3110.8 | 10.1 | 86.4059 | 3263.1 | 0 | 27.7 | 60 |  | 36.0046 | 3110.8
15 | 260 | 0 | 260 | 0 | 0 | 5 | 260 | 45 | 6.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 15 | 84.7 | 8480 | 41.333 | 3022.11 | 1560 | 4186 | 2626 | 10.1 | 85.0905 | 4107.2 | 0 | 138.8 | 60 |  | 30.3935 | 2626
16 | 25 | 235 | 260 | 0 | 0 | 5 | 260 | 45 | 0.6 | 5.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 16 | 84.5 | 8000 | 41.41 | 3112.2 | -480 | 2120 | 2600 | 10 | 86.3459 | 1995 | 0 | 125 | 0 |  | 30.0926 | 2600
17 | 260 | 0 | 260 | 0 | 0 | 4 | 260 | 55 | 6.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 17 | 84.55 | 8120 | 41.544 | 3268.98 | 120 | 2863 | 2743 | 10.55 | 81.7483 | 2604.8 | 0 | 258.2 | 0 |  | 31.7477 | 2743
18 | 0 | 302 | 302 | 0 | 0 | 5 | 302 | 40 | 0 | 7.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 18 | 85.15 | 9560 | 41.95 | 3744 | 1440 | 4611 | 3171 | 10.5 | 80.9954 | 4432.75 | 0 | 178.25 | 0 |  | 36.7014 | 3171
19 | 180 | 30 | 210 | 0 | 0 | 4 | 210 | 45 | 4.65 | 0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 19 | 83.8 | 6320 | 41.57 | 3299.4 | -3240 | 2633.9592 | 2226 | 10.6 | 82.8225 | 2619.85 | 3647.9592 | 74.1092 | 60 |  | 25.7639 | 2226
20 | 0 | 315 | 315 | 0 | 0 | 4 | 315 | 40 | 0 | 7.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 20 | 85 | 9200 | 41.521 | 3242.07 | 2880 | 8950.7763 | 3260.25 | 10.35 | 82.4559 | 8738.1 | 2810.5263 | 272.6763 | 60 |  | 37.7344 | 3260.25
21 | 320 | 45 | 365 | 0 | 0 | 5 | 365 | 70 | 8.3 | 1.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 21 | 84.8 | 8720 | 41.871 | 3651.57 | -480 | 3334.25 | 3814.25 | 10.45 | 82.0485 | 3102.5 | 0 | 231.75 | 0 |  | 44.1464 | 3814.25
22 | 0 | 385 | 385 | 0 | 0 | 4 | 385 | 45 | 0 | 8.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 22 | 84.9 | 8960 | 41.78 | 3545.1 | 240 | 4128.5 | 3888.5 | 10.1 | 84.6939 | 4070 | 0 | 58.5 | 0 |  | 45.0058 | 3888.5
23 | 355 | 0 | 355 | 0 | 0 | 4 | 355 | 45 | 8.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 23 | 84.55 | 8120 | 41.92 | 3708.9 | -840 | 2869.75 | 3709.75 | 10.45 | 82.5305 | 2540.4 | 0 | 329.35 | 0 |  | 42.9369 | 3709.75
24 | 0 | 345 | 345 | 0 | 0 | 5 | 345 | 45 | 0 | 8.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 24 | 84.65 | 8360 | 41.79 | 3556.8 | 240 | 3862.5 | 3622.5 | 10.5 | 81.945 | 3664.6 | 0 | 257.9 | 60 |  | 41.9271 | 3622.5
25 | 340 | 0 | 340 | 0 | 0 | 4 | 340 | 45 | 8.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 25 | 84.35 | 7640 | 41.721 | 3476.07 | -720 | 2714 | 3434 | 10.1 | 85.7938 | 2591.5 | 0 | 122.5 | 0 |  | 39.7454 | 3434
26 | 0 | 195 | 195 | 0 | 0 | 4 | 195 | 45 | 0 | 5.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 26 | 83 | 4400 | 40.93 | 2550.6 | -3240 | 4016.734 | 1969.5 | 10.1 | 88.6187 | 3990 | 5287.234 | 86.734 | 60 |  | 22.7951 | 1969.5
27 | 285 | 10 | 295 | 0 | 0 | 4 | 295 | 45 | 6.7 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 27 | 83.8 | 6320 | 41.2 | 2866.5 | 1920 | 5047 | 3127 | 10.6 | 82.8225 | 4990.65 | 0 | 56.35 | 0 |  | 36.1921 | 3127
28 | 0 | 265 | 265 | 0 | 0 | 4 | 265 | 45 | 0 | 6.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 28 | 83.6 | 5840 | 41.052 | 2693.34 | -480 | 2196.5 | 2676.5 | 10.1 | 87.3405 | 2124.15 | 0 | 72.35 | 0 |  | 30.978 | 2676.5
29 | 420 | 0 | 420 | 0 | 0 | 5 | 420 | 55 | 9.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 29 | 83.75 | 6200 | 42.001 | 3803.67 | 360 | 4602 | 4242 | 10.1 | 87.0267 | 4550.4 | 0 | 51.6 | 0 |  | 49.0972 | 4242
30 | 0 | 335 | 335 | 0 | 0 | 4 | 335 | 54 | 0 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 30 | 84.3 | 7520 | 41.582 | 3313.44 | 1320 | 4837.5 | 3517.5 | 10.5 | 82.623 | 4816.8 | 0 | 80.7 | 60 |  | 40.7118 | 3517.5
31 | 375 | 0 | 375 | 0 | 0 | 4 | 375 | 45 | 7.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 31 | 84.4 | 7760 | 41.65 | 3393 | 240 | 4177.5 | 3937.5 | 10.5 | 82.4281 | 3922 | 0 | 255.5 | 0 |  | 45.5729 | 3937.5
| 3965 | 3615 | 7580 | 0 | 0 | 140 | 7440 | 70 | 97.7 | 88.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27 | 27 |  |  | 84.1677 | 7202.5806 | 41.2415 | 2915.0739 | 360 | 97630.1338 | 77639.7 | 10.2427 | 84.9641 | 94346.58 | 19630.4338 | 3853.5538 | 570 |  | 28.9873 | 77639.7