## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 350 | 0 | 350 | 0 | 0 | 5 | 350 | 45 | 9.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 1 | 84.2 | 7280 | 41.36 | 3053.7 | -480 | 3055 | 3535 | 10.1 | 86.0987 | 2985 | 0 | 130 | 60 |  | 40.9144 | 3535
2 | 0 | 275 | 275 | 0 | 0 | 4 | 275 | 45 | 0 | 6.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 2 | 84.1 | 7040 | 40.62 | 2187.9 | -240 | 4859.1667 | 2901.25 | 10.55 | 82.6221 | 4755 | 2197.9167 | 164.1667 | 60 |  | 33.5793 | 2901.25
3 | 365 | 0 | 365 | 0 | 0 | 4 | 365 | 45 | 8.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 3 | 84.2 | 7280 | 40.987 | 2617.29 | 240 | 3926.5 | 3686.5 | 10.1 | 86.0987 | 3898.2 | 0 | 88.3 | 60 |  | 42.6678 | 3686.5
4 | 12 | 405 | 417 | 0 | 0 | 4 | 417 | 44 | 0.4 | 9.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 4 | 84.5 | 8000 | 41.498 | 3215.16 | 720 | 4931.7 | 4211.7 | 10.1 | 85.491 | 4920.2 | 0 | 71.5 | 60 |  | 48.7465 | 4211.7
5 | 393 | 0 | 393 | 0 | 0 | 5 | 393 | 40 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 5 | 84.6 | 8240 | 41.899 | 3684.33 | 240 | 4209.3 | 3969.3 | 10.1 | 85.2903 | 4219.4 | 0 | 49.9 | 60 |  | 45.941 | 3969.3
6 | 0 | 320 | 320 | 0 | 0 | 4 | 320 | 40 | 0 | 8.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 6 | 84.65 | 8360 | 41.7 | 3451.5 | 120 | 3352 | 3232 | 10.1 | 85.1903 | 3204.7 | 0 | 147.3 | 0 |  | 37.4074 | 3232
7 | 345 | 0 | 345 | 0 | 0 | 3 | 345 | 40 | 8.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 7 | 84.7 | 8480 | 41.549 | 3274.83 | 120 | 3708 | 3588 | 10.4 | 82.636 | 3577 | 0 | 191 | 60 |  | 41.5278 | 3588
8 | 0 | 375 | 375 | 0 | 0 | 3 | 375 | 45 | 0 | 8.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 8 | 84.85 | 8840 | 41.53 | 3252.6 | 360 | 4237.5 | 3877.5 | 10.34 | 82.8246 | 3920.1 | 0 | 317.4 | 0 |  | 44.8785 | 3877.5
9 | 305 | 55 | 360 | 0 | 0 | 3 | 360 | 45 | 6.9 | 1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 9 | 83.4 | 5360 | 41.4 | 3100.5 | -3480 | 1936.1047 | 3636 | 10.1 | 87.7625 | 1925.7 | 1780.1047 | 70.4047 | 60 |  | 42.0833 | 3636
10 | 0 | 410 | 410 | 0 | 0 | 4 | 410 | 45 | 0 | 9.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 10 | 83.4 | 5360 | 41.57 | 3299.4 | 0 | 4346 | 4346 | 10.6 | 83.6227 | 4221 | 0 | 185 | 60 |  | 50.3009 | 4346
11 | 385 | 0 | 385 | 0 | 0 | 3 | 385 | 45 | 8.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 11 | 84.55 | 8120 | 41.33 | 3018.6 | 2760 | 6648.5 | 3888.5 | 10.1 | 85.3905 | 6540.8 | 0 | 167.7 | 60 |  | 45.0058 | 3888.5
12 | 0 | 440 | 440 | 0 | 0 | 3 | 440 | 45 | 0 | 10.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 12 | 84.75 | 8600 | 41.38 | 3077.1 | 480 | 4990 | 4510 | 10.25 | 83.7473 | 4715.85 | 0 | 274.15 | 0 |  | 52.1991 | 4510
13 | 350 | 50 | 400 | 0 | 0 | 4 | 400 | 90 | 8 | 1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 13 | 85.1 | 9440 | 40.91 | 2527.2 | 840 | 4920 | 4080 | 10.2 | 83.4744 | 4779.15 | 0 | 140.85 | 0 |  | 47.2222 | 4080
14 | 23 | 610 | 633 | 0 | 0 | 3 | 633 | 109 | 0.6 | 13.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 14 | 83.95 | 6680 | 41.951 | 3745.17 | -2760 | 3570 | 6330 | 10 | 87.4779 | 3233.9 | 0 | 336.1 | 0 |  | 73.2639 | 6330
15 | 472 | 0 | 472 | 0 | 0 | 3 | 472 | 45 | 10.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 15 | 84 | 6800 | 41.45 | 3159 | 120 | 4887.2 | 4767.2 | 10.1 | 86.5087 | 4876.4 | 0 | 70.8 | 60 |  | 55.1759 | 4767.2
16 | 0 | 500 | 500 | 0 | 0 | 3 | 500 | 54 | 0 | 10.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 16 | 84.3 | 7520 | 41.25 | 2925 | 720 | 5770 | 5050 | 10.1 | 85.8952 | 5657.5 | 0 | 112.5 | 0 |  | 58.4491 | 5050
17 | 550 | 0 | 550 | 0 | 0 | 3 | 550 | 45 | 12.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 17 | 84.4 | 7760 | 41.201 | 2867.67 | 240 | 5822.5 | 5582.5 | 10.15 | 85.2705 | 5557.5 | 0 | 265 | 0 |  | 64.6123 | 5582.5
18 | 0 | 565 | 565 | 0 | 0 | 3 | 565 | 54 | 0 | 12.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 18 | 84 | 6800 | 41.34 | 3030.3 | -960 | 4746.5 | 5706.5 | 10.1 | 86.5087 | 4740.45 | 0 | 66.05 | 60 |  | 66.0475 | 5706.5
19 | 545 | 0 | 545 | 0 | 0 | 3 | 545 | 54 | 11.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 19 | 84.2 | 7280 | 41.28 | 2960.1 | 480 | 5930 | 5450 | 10 | 86.9597 | 5752.4 | 0 | 177.6 | 0 |  | 63.0787 | 5450
20 | 70 | 540 | 610 | 0 | 0 | 4 | 610 | 70 | 1.9 | 12.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 20 | 84.6 | 8240 | 41.72 | 3474.9 | 960 | 7060 | 6100 | 10 | 86.1432 | 6926.4 | 0 | 193.6 | 60 |  | 70.6019 | 6100
21 | 570 | 0 | 570 | 0 | 0 | 3 | 570 | 45 | 12.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 21 | 84.7 | 8480 | 41.86 | 3638.7 | 240 | 5997 | 5757 | 10.1 | 85.0905 | 5854.6 | 0 | 202.4 | 60 |  | 66.6319 | 5757
22 | 0 | 565 | 565 | 0 | 0 | 3 | 565 | 45 | 0 | 12.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 22 | 84.8 | 8720 | 41.74 | 3498.3 | 240 | 5946.5 | 5706.5 | 10.1 | 84.8917 | 5870.6 | 0 | 75.9 | 0 |  | 66.0475 | 5706.5
23 | 615 | 10 | 625 | 0 | 0 | 3 | 625 | 45 | 13.1 | 0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 23 | 84.45 | 7880 | 41.92 | 3708.9 | -840 | 5472.5 | 6312.5 | 10.1 | 85.5917 | 5292.5 | 0 | 180 | 0 |  | 73.0613 | 6312.5
24 | 20 | 570 | 590 | 0 | 0 | 3 | 590 | 45 | 0.6 | 11.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 24 | 84.6 | 8240 | 42 | 3802.5 | 360 | 6319 | 5959 | 10.1 | 85.2903 | 6314.4 | 0 | 64.6 | 60 |  | 68.9699 | 5959
25 | 565 | 0 | 565 | 0 | 0 | 3 | 565 | 45 | 12.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 25 | 84.1 | 7040 | 42 | 3802.5 | -1200 | 4506.5 | 5706.5 | 10.1 | 86.3032 | 4365.4 | 0 | 141.1 | 0 |  | 66.0475 | 5706.5
26 | 0 | 605 | 605 | 0 | 0 | 3 | 605 | 54 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 26 | 84.6 | 8240 | 42 | 3802.5 | 1200 | 7522.25 | 6322.25 | 10.45 | 82.4337 | 7592.4 | 0 | 19.85 | 90 |  | 73.1742 | 6322.25
27 | 655 | 0 | 655 | 0 | 0 | 3 | 655 | 54 | 12.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 27 | 84.45 | 7880 | 42.02 | 3825.9 | -360 | 6255.5 | 6615.5 | 10.1 | 85.5917 | 6256.75 | 0 | 58.75 | 60 |  | 76.5683 | 6615.5
28 | 5 | 605 | 610 | 0 | 0 | 3 | 610 | 45 | 0.2 | 12.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 28 | 84.75 | 8600 | 41.96 | 3755.7 | 720 | 6881 | 6161 | 10.1 | 84.991 | 6708.7 | 0 | 172.3 | 0 |  | 71.3079 | 6161
29 | 550 | 0 | 550 | 0 | 0 | 3 | 550 | 45 | 12.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 29 | 84.7 | 8480 | 41.73 | 3486.6 | -120 | 6070.4167 | 5555 | 10.1 | 85.0905 | 6031 | 635.4167 | 99.4167 | 60 |  | 64.294 | 5555
30 | 0 | 485 | 485 | 0 | 0 | 3 | 485 | 45 | 0 | 10.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 30 | 83.95 | 6680 | 41.04 | 2679.3 | -1800 | 8163.0161 | 4898.5 | 10.1 | 86.6118 | 8212.5 | 5064.5161 | 10.5161 | 60 |  | 56.6956 | 4898.5
| 7145 | 7385 | 14530 | 0 | 0 | 101 | 14429 | 109 | 162.25 | 165.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32 | 30 |  |  | 84.385 | 7724 | 41.5398 | 3264.105 | -1080 | 156039.6542 | 147441.7 | 10.1474 | 85.3225 | 152905.5 | 9677.9542 | 4244.1542 | 1110 |  | 56.8834