## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 510 | 0 | 510 | 0 | 0 | 4 | 510 | 40 | 12.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 1 | 84.9 | 8960 | 41.77 | 3533.4 | -360 | 4663.5 | 5023.5 | 9.85 | 86.8434 | 4529.6 | 0 | 133.9 | 0 |  | 58.1424 | 5023.5
2 | 0 | 475 | 475 | 0 | 0 | 3 | 475 | 55 | 0 | 10.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 2 | 85 | 9200 | 41.8905 | 3674.385 | 240 | 5037.5 | 4797.5 | 10.1 | 84.4969 | 4934.8 | 0 | 102.7 | 0 |  | 55.5266 | 4797.5
3 | 495 | 0 | 495 | 0 | 0 | 3 | 495 | 55 | 11.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 3 | 84.9 | 8960 | 41.7 | 3451.5 | -240 | 4710 | 4950 | 10 | 85.5408 | 4540.6 | 0 | 169.4 | 0 |  | 57.2917 | 4950
4 | 0 | 405 | 405 | 0 | 0 | 3 | 405 | 40 | 0 | 9.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 4 | 84.9 | 8960 | 41.45 | 3159 | 0 | 4131 | 4131 | 10.2 | 83.8635 | 4075.2 | 0 | 115.8 | 60 |  | 47.8125 | 4131
5 | 445 | 0 | 445 | 0 | 0 | 3 | 445 | 40 | 10.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 5 | 85 | 9200 | 41.54 | 3264.3 | 240 | 4601 | 4361 | 9.8 | 87.0835 | 4431.85 | 0 | 169.15 | 0 |  | 50.4745 | 4361
6 | 0 | 535 | 535 | 0 | 0 | 3 | 535 | 55 | 0 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 6 | 84.6 | 8240 | 41.75 | 3510 | -960 | 4443.5 | 5403.5 | 10.1 | 85.2903 | 4440 | 0 | 63.5 | 60 |  | 62.5405 | 5403.5
7 | 423 | 0 | 423 | 0 | 0 | 3 | 423 | 40 | 10.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 7 | 84.65 | 8360 | 41.59 | 3322.8 | 120 | 4392.3 | 4272.3 | 10.1 | 85.1903 | 4197.5 | 0 | 194.8 | 0 |  | 49.4479 | 4272.3
8 | 0 | 415 | 415 | 0 | 0 | 3 | 415 | 55 | 0 | 9.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 8 | 84.4 | 7760 | 41.38 | 3077.1 | -600 | 3591.5 | 4191.5 | 10.1 | 85.6926 | 3620.8 | 0 | 30.7 | 60 |  | 48.5127 | 4191.5
9 | 480 | 75 | 555 | 0 | 0 | 3 | 555 | 95 | 10.1 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 9 | 84.4 | 7760 | 41.82 | 3591.9 | 0 | 5688.75 | 5688.75 | 10.25 | 84.4386 | 5715 | 0 | 33.75 | 60 |  | 65.842 | 5688.75
10 | 22 | 370 | 392 | 0 | 0 | 3 | 392 | 110 | 0.5 | 8.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 10 | 84.5 | 8000 | 41.6 | 3334.5 | 240 | 4199.2 | 3959.2 | 10.1 | 85.491 | 4102.5 | 0 | 96.7 | 0 |  | 45.8241 | 3959.2
11 | 385 | 0 | 385 | 0 | 0 | 3 | 385 | 45 | 9.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 11 | 84.7 | 8480 | 41.55 | 3276 | 480 | 4368.5 | 3888.5 | 10.1 | 85.0905 | 4112.4 | 0 | 256.1 | 0 |  | 45.0058 | 3888.5
12 | 0 | 360 | 360 | 0 | 0 | 4 | 360 | 45 | 0 | 8.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 12 | 84.8 | 8720 | 41.4 | 3100.5 | 240 | 3840 | 3600 | 10 | 85.7407 | 3767.45 | 0 | 72.55 | 0 |  | 41.6667 | 3600
13 | 340 | 0 | 340 | 0 | 0 | 2 | 340 | 45 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 13 | 84.55 | 8120 | 41.3 | 2983.5 | -600 | 3446.2449 | 3434 | 10.1 | 85.3905 | 3329.55 | 612.2449 | 116.6949 | 0 |  | 39.7454 | 3434
14 | 0 | 310 | 310 | 0 | 0 | 3 | 310 | 45 | 0 | 8.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 14 | 84.6 | 8240 | 41.2 | 2866.5 | 120 | 3251 | 3131 | 10.1 | 85.2903 | 3145 | 0 | 106 | 0 |  | 36.2384 | 3131
15 | 325 | 0 | 325 | 0 | 0 | 2 | 325 | 55 | 7.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 15 | 84.5 | 8000 | 41.32 | 3006.9 | -240 | 3616.859 | 3282.5 | 10.1 | 85.491 | 3538.75 | 574.359 | 78.109 | 0 |  | 37.9919 | 3282.5
16 | 85 | 510 | 595 | 0 | 0 | 3 | 595 | 90 | 1.65 | 10.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 16 | 84.4 | 7760 | 41.75 | 3510 | -240 | 5769.5 | 6009.5 | 10.1 | 85.6926 | 5707.8 | 0 | 61.7 | 0 |  | 69.5544 | 6009.5
17 | 530 | 355 | 885 | 0 | 0 | 3 | 885 | 110 | 10.6 | 6.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 |  | 17 | 84.05 | 6920 | 41.76 | 3521.7 | -840 | 8187 | 9027 | 10.2 | 85.5587 | 8228.75 | 0 | 18.25 | 60 |  | 104.4792 | 9027
18 | 90 | 280 | 370 | 0 | 0 | 3 | 370 | 110 | 2 | 6.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 18 | 84.3 | 7520 | 41.9 | 3685.5 | 600 | 4466.5 | 3866.5 | 10.45 | 83.0183 | 4499.8 | 0 | 26.7 | 60 |  | 44.7512 | 3866.5
19 | 330 | 0 | 330 | 0 | 0 | 3 | 330 | 45 | 8.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 19 | 84.2 | 7280 | 41.9 | 3685.5 | -240 | 3208.5 | 3448.5 | 10.45 | 83.215 | 3045.9 | 0 | 162.6 | 0 |  | 39.9132 | 3448.5
20 | 0 | 295 | 295 | 0 | 0 | 3 | 295 | 40 | 0 | 7.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 20 | 84.3 | 7520 | 41.9 | 3685.5 | 240 | 3190 | 2950 | 10 | 86.7541 | 3072.85 | 0 | 117.15 | 0 |  | 34.1435 | 2950
21 | 255 | 0 | 255 | 0 | 0 | 3 | 255 | 45 | 6.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 21 | 84.3 | 7520 | 41.95 | 3744 | 0 | 2575.5 | 2575.5 | 10.1 | 85.8952 | 2514.15 | 0 | 61.35 | 0 |  | 29.809 | 2575.5
22 | 0 | 300 | 300 | 0 | 0 | 2 | 300 | 55 | 0 | 6.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 22 | 84.4 | 7760 | 41.9 | 3685.5 | 240 | 3240 | 3000 | 10 | 86.5495 | 3115.4 | 0 | 124.6 | 0 |  | 34.7222 | 3000
23 | 255 | 0 | 255 | 0 | 0 | 3 | 255 | 45 | 6.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 23 | 84.7 | 8480 | 41.5 | 3217.5 | 720 | 3295.5 | 2575.5 | 10.1 | 85.0905 | 3196.05 | 0 | 99.45 | 0 |  | 29.809 | 2575.5
24 | 0 | 220 | 220 | 0 | 0 | 3 | 220 | 55 | 0 | 5.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 24 | 85 | 9200 | 40.97 | 2597.4 | 720 | 2942 | 2222 | 10.1 | 84.4969 | 2873.85 | 0 | 98.15 | 30 |  | 25.7176 | 2222
25 | 255 | 40 | 295 | 0 | 0 | 3 | 295 | 90 | 6.6 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 25 | 85.05 | 9320 | 41.11 | 2761.2 | 120 | 3011 | 2891 | 9.8 | 86.9824 | 2841.6 | 0 | 169.4 | 0 |  | 33.4606 | 2891
26 | 170 | 168 | 338 | 0 | 0 | 3 | 338 | 55 | 3.75 | 3.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 26 | 84.8 | 8720 | 41.8 | 3568.5 | -600 | 2830.7 | 3430.7 | 10.15 | 84.4736 | 2625 | 0 | 205.7 | 0 |  | 39.7072 | 3430.7
27 | 250 | 47 | 297 | 0 | 0 | 3 | 297 | 110 | 5.7 | 1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 27 | 84.85 | 8840 | 41.93 | 3720.6 | 120 | 3655.4143 | 2999.7 | 10.1 | 84.7927 | 3661.75 | 535.7143 | 23.6643 | 30 |  | 34.7188 | 2999.7
28 | 20 | 235 | 255 | 0 | 0 | 3 | 255 | 94 | 0.45 | 4.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 28 | 84.8 | 8720 | 41.8 | 3568.5 | -120 | 2468.25 | 2588.25 | 10.15 | 84.4736 | 2310.3 | 0 | 157.95 | 0 |  | 29.9566 | 2588.25
29 | 200 | 0 | 200 | 0 | 0 | 3 | 200 | 40 | 4.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 29 | 84.9 | 8960 | 41.5 | 3217.5 | 240 | 2350 | 2110 | 10.55 | 81.0813 | 2204 | 0 | 146 | 0 |  | 24.4213 | 2110
30 | 0 | 195 | 195 | 0 | 0 | 3 | 195 | 40 | 0 | 4.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 30 | 84.9 | 8960 | 41.081 | 2727.27 | 0 | 2047.5 | 2047.5 | 10.5 | 81.4674 | 1820.7 | 0 | 286.8 | 60 |  | 23.6979 | 2047.5
| 5865 | 5590 | 11455 | 0 | 0 | 89 | 11366 | 110 | 136.2 | 125.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35 | 35 |  |  | 84.645 | 8348 | 41.6004 | 3334.9485 | -360 | 117218.2182 | 115855.9 | 10.114 | 85.0823 | 114198.9 | 1722.3182 | 3499.3182 | 480 |  | 44.6975 | 115855.9