## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 65 | 0 | 65 | 0 | 0 | 4 | 65 | 35 | 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 1 | 84.2 | 7280 | 41.48 | 3194.1 | -600 | 1247.9894 | 656.5 | 10.1 | 86.0987 | 970.9 | 1191.4894 | 337.0894 | 60 |  | 7.5984 | 656.5
2 | 0 | 70 | 70 | 0 | 0 | 4 | 70 | 35 | 0 | 1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 2 | 84.45 | 7880 | 41.5 | 3217.5 | 600 | 1307 | 707 | 10.1 | 85.5917 | 1270.2 | 0 | 96.8 | 60 |  | 8.1829 | 707
3 | 130 | 0 | 130 | 0 | 0 | 3 | 130 | 40 | 3.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 3 | 83.9 | 6560 | 41.71 | 3463.2 | -1320 | 1100.5269 | 1313 | 10.1 | 86.7152 | 1099 | 1107.5269 | 61.5269 | 60 |  | 15.1968 | 1313
4 | 50 | 20 | 70 | 0 | 0 | 4 | 70 | 70 | 1.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 4 | 84.3 | 7520 | 41.71 | 3463.2 | 960 | 1667 | 707 | 10.1 | 85.8952 | 1379.7 | 0 | 347.3 | 60 |  | 8.1829 | 707
5 | 80 | 0 | 80 | 0 | 0 | 5 | 80 | 55 | 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 5 | 84.3 | 7520 | 41.84 | 3615.3 | 0 | 2603.6989 | 808 | 10.1 | 85.8952 | 2569.6 | 1795.6989 | 94.0989 | 60 |  | 9.3519 | 808
6 | 60 | 5 | 65 | 0 | 0 | 4 | 65 | 35 | 1.5 | 0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 6 | 83.8 | 6320 | 41.84 | 3615.3 | -1200 | 757.0181 | 656.5 | 10.1 | 86.9226 | 695.6 | 1300.5181 | 121.4181 | 60 |  | 7.5984 | 656.5
7 | 65 | 0 | 65 | 0 | 0 | 4 | 65 | 40 | 1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 7 | 84 | 6800 | 41.84 | 3615.3 | 480 | 1130 | 650 | 10 | 87.3738 | 955.5 | 0 | 174.5 | 0 |  | 7.5231 | 650
8 | 0 | 105 | 105 | 0 | 0 | 4 | 105 | 40 | 0 | 2.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 8 | 84.6 | 8240 | 41.7 | 3451.5 | 1440 | 2500.5 | 1060.5 | 10.1 | 85.2903 | 2328.7 | 0 | 231.8 | 60 |  | 12.2743 | 1060.5
9 | 65 | 0 | 65 | 0 | 0 | 4 | 65 | 35 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 9 | 84.93 | 9032 | 41.58 | 3311.1 | 792 | 1435.5 | 643.5 | 9.9 | 86.3445 | 1116.9 | 0 | 318.6 | 0 |  | 7.4479 | 643.5
10 | 0 | 290 | 290 | 0 | 0 | 4 | 290 | 55 | 0 | 5.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 10 | 83.8 | 6320 | 41.43 | 3135.6 | -2712 | 860.617 | 2929 | 10.1 | 86.9226 | 715.4 | 643.617 | 205.217 | 60 |  | 33.9005 | 2929
11 | 130 | 0 | 130 | 0 | 0 | 4 | 130 | 35 | 3.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 11 | 84.5 | 8000 | 41.74 | 3498.3 | 1680 | 2993 | 1313 | 10.1 | 85.491 | 2087.8 | 0 | 965.2 | 60 |  | 15.1968 | 1313
12 | 0 | 125 | 125 | 0 | 0 | 4 | 125 | 40 | 0 | 3.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 12 | 84.55 | 8120 | 41.64 | 3381.3 | 120 | 1357.5 | 1237.5 | 9.9 | 87.1156 | 1270.2 | 0 | 87.3 | 0 |  | 14.3229 | 1237.5
13 | 65 | 0 | 65 | 0 | 0 | 3 | 65 | 40 | 1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 13 | 84.7 | 8480 | 41.32 | 3006.9 | 360 | 1016.5 | 656.5 | 10.1 | 85.0905 | 730 | 0 | 286.5 | 0 |  | 7.5984 | 656.5
14 | 0 | 65 | 65 | 0 | 0 | 5 | 65 | 35 | 0 | 1.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 14 | 84.75 | 8600 | 41.1 | 2749.5 | 120 | 776.5 | 656.5 | 10.1 | 84.991 | 657 | 0 | 179.5 | 60 |  | 7.5984 | 656.5
15 | 65 | 0 | 65 | 0 | 0 | 3 | 65 | 35 | 1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 15 | 84.65 | 8360 | 40.74 | 2328.3 | -240 | 943.0957 | 656.5 | 10.1 | 85.1903 | 657 | 526.5957 | 346.0957 | 60 |  | 7.5984 | 656.5
16 | 0 | 65 | 65 | 0 | 0 | 3 | 65 | 40 | 0 | 1.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 16 | 84.75 | 8600 | 40.3 | 1813.5 | 240 | 883.5 | 643.5 | 9.9 | 86.708 | 737.3 | 0 | 146.2 | 0 |  | 7.4479 | 643.5
17 | 100 | 0 | 100 | 0 | 0 | 6 | 100 | 35 | 2.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 17 | 84.85 | 8840 | 40.35 | 1872 | 240 | 1230 | 990 | 9.9 | 86.5057 | 1036.6 | 0 | 193.4 | 0 |  | 11.4583 | 990
18 | 0 | 65 | 65 | 0 | 0 | 4 | 65 | 54 | 0 | 1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 18 | 85 | 9200 | 40.15 | 1638 | 360 | 1003.5 | 643.5 | 9.9 | 86.2039 | 737.3 | 0 | 266.2 | 0 |  | 7.4479 | 643.5
19 | 100 | 0 | 100 | 0 | 0 | 4 | 100 | 35 | 2.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 19 | 84.95 | 9080 | 40.21 | 1708.2 | -120 | 870 | 990 | 9.9 | 86.3043 | 751.9 | 0 | 118.1 | 0 |  | 11.4583 | 990
20 | 0 | 220 | 220 | 0 | 0 | 5 | 220 | 35 | 0 | 6.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 20 | 85.25 | 9820 | 41.37 | 3065.4 | 740 | 3598.8511 | 2178 | 9.9 | 85.7056 | 3336.1 | 680.8511 | 262.7511 | 0 |  | 25.2083 | 2178
21 | 65 | 5 | 70 | 0 | 0 | 4 | 70 | 35 | 2 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 21 | 85 | 9200 | 41.46 | 3170.7 | -620 | 3039.1277 | 707 | 10.1 | 84.4969 | 2905.4 | 2952.1277 | 133.7277 | 0 |  | 8.1829 | 707
22 | 0 | 465 | 465 | 0 | 0 | 4 | 465 | 40 | 0 | 11.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 22 | 85.05 | 9320 | 41.74 | 3498.3 | 120 | 6462.8617 | 4603.5 | 9.9 | 86.1038 | 6314.5 | 1739.3617 | 148.3617 | 0 |  | 53.2812 | 4603.5
23 | 85 | 0 | 85 | 0 | 0 | 4 | 85 | 55 | 1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 23 | 83.45 | 5480 | 41.44 | 3147.3 | -3840 | 1764.4301 | 884 | 10.4 | 85.1281 | 1645 | 4720.4301 | 179.4301 | 60 |  | 10.2315 | 884
24 | 0 | 70 | 70 | 0 | 0 | 3 | 70 | 35 | 0 | 2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 24 | 84 | 6800 | 41.45 | 3159 | 1320 | 2027 | 707 | 10.1 | 86.5087 | 2007.5 | 0 | 79.5 | 60 |  | 8.1829 | 707
25 | 65 | 0 | 65 | 0 | 0 | 4 | 65 | 35 | 1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 25 | 84 | 6800 | 41.4 | 3100.5 | 0 | 2364.8333 | 656.5 | 10.1 | 86.5087 | 2190.4 | 1708.3333 | 174.4333 | 0 |  | 7.5984 | 656.5
26 | 0 | 65 | 65 | 0 | 0 | 4 | 65 | 35 | 0 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 26 | 84.05 | 6920 | 41.35 | 3042 | 120 | 776.5 | 656.5 | 10.1 | 86.4059 | 715.4 | 0 | 91.1 | 30 |  | 7.5984 | 656.5
27 | 65 | 0 | 65 | 0 | 0 | 4 | 65 | 35 | 1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 27 | 84.4 | 7760 | 41.3 | 2983.5 | 840 | 1490 | 650 | 10 | 86.5495 | 1065 | 0 | 485 | 60 |  | 7.5231 | 650
28 | 0 | 70 | 70 | 0 | 0 | 4 | 70 | 35 | 0 | 1.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 28 | 85.1 | 9440 | 41.25 | 2925 | 1680 | 2387 | 707 | 10.1 | 84.3008 | 2265 | 0 | 122 | 0 |  | 8.1829 | 707
29 | 65 | 0 | 65 | 0 | 0 | 4 | 65 | 35 | 1.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 29 | 83.95 | 6680 | 41.22 | 2889.9 | -2760 | 1353.9468 | 656.5 | 10.1 | 86.6118 | 1244.1 | 3457.4468 | 169.8468 | 60 |  | 7.5984 | 656.5
30 | 0 | 65 | 65 | 0 | 0 | 4 | 65 | 55 | 0 | 1.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 30 | 84.5 | 8000 | 41.19 | 2854.8 | 1320 | 1976.5 | 656.5 | 10.1 | 85.491 | 1830 | 0 | 206.5 | 60 |  | 7.5984 | 656.5
31 | 65 | 0 | 65 | 0 | 0 | 4 | 65 | 35 | 1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 31 | 84.2 | 7280 | 41.17 | 2831.4 | -720 | 920.5426 | 656.5 | 10.1 | 86.0987 | 919.8 | 984.0426 | 60.7426 | 60 |  | 7.5984 | 656.5
| 1385 | 1770 | 3155 | 0 | 0 | 124 | 3031 | 70 | 37 | 44.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 19 |  |  | 84.4494 | 7879.0968 | 41.3071 | 2991.8032 | -600 | 53845.0393 | 31637 | 10.0276 | 86.2112 | 48204.8 | 22808.0393 | 6690.2393 | 1050 |  | 11.8119 | 31637