## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 0 | 95 | 95 | 0 | 0 | 4 | 95 | 55 | 0 | 1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 1 | 84.4 | 7760 | 41.89 | 3673.8 | 2520 | 3479.5 | 959.5 | 10.1 | 85.6926 | 2953.99 | 0 | 525.51 | 0 |  | 11.1053 | 959.5
2 | 5 | 60 | 65 | 0 | 0 | 3 | 65 | 95 | 0.1 | 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 2 | 84.5 | 8000 | 41.47 | 3182.4 | 240 | 896.5 | 656.5 | 10.1 | 85.491 | 735 | 0 | 221.5 | 60 |  | 7.5984 | 656.5
3 | 190 | 0 | 190 | 0 | 0 | 2 | 190 | 35 | 5.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 3 | 84.7 | 8480 | 41.69 | 3439.8 | 480 | 2399 | 1919 | 10.1 | 85.0905 | 2131.6 | 0 | 327.4 | 60 |  | 22.2106 | 1919
4 | 80 | 0 | 80 | 0 | 0 | 3 | 80 | 50 | 1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 4 | 85.15 | 9560 | 41.33 | 3018.6 | 1080 | 3824.8421 | 808 | 10.1 | 84.2032 | 3372.6 | 1936.8421 | 512.2421 | 60 |  | 9.3519 | 808
5 | 215 | 280 | 495 | 0 | 0 | 4 | 495 | 110 | 4.7 | 6.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 5 | 84.9 | 8960 | 41.76 | 3521.7 | -600 | 4488.0417 | 4999.5 | 10.1 | 84.6939 | 3585.6 | 88.5417 | 962.4417 | 60 |  | 57.8646 | 4999.5
6 | 0 | 65 | 65 | 0 | 0 | 4 | 65 | 35 | 0 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 6 | 84.6 | 8240 | 41.01 | 2644.2 | -720 | 5048.2021 | 656.5 | 10.1 | 85.2903 | 4365.4 | 5111.7021 | 742.8021 | 60 |  | 7.5984 | 656.5
7 | 25 | 260 | 285 | 0 | 0 | 4 | 285 | 90 | 0.7 | 5.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 7 | 84.65 | 8360 | 41.69 | 3439.8 | 120 | 3482.5426 | 2878.5 | 10.1 | 85.1903 | 3233.9 | 484.0426 | 308.6426 | 60 |  | 33.316 | 2878.5
8 | 0 | 65 | 65 | 0 | 0 | 3 | 65 | 40 | 0 | 1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 8 | 85.1 | 9440 | 40.76 | 2351.7 | 1080 | 2725.8617 | 656.5 | 10.1 | 84.3008 | 2372.5 | 989.3617 | 353.3617 | 0 |  | 7.5984 | 656.5
9 | 95 | 0 | 95 | 0 | 0 | 4 | 95 | 35 | 2.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 9 | 84.6 | 8240 | 40.52 | 2070.9 | -1200 | 1568.0106 | 959.5 | 10.1 | 85.2903 | 1321.3 | 1808.5106 | 306.7106 | 60 |  | 11.1053 | 959.5
10 | 0 | 65 | 65 | 0 | 0 | 4 | 65 | 40 | 0 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 10 | 84.85 | 8840 | 40.05 | 1521 | 600 | 1269.5 | 669.5 | 10.3 | 83.1462 | 1036.6 | 0 | 252.9 | 20 |  | 7.7488 | 669.5
11 | 205 | 0 | 205 | 0 | 0 | 3 | 205 | 55 | 5.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 11 | 85.05 | 9320 | 40.75 | 2340 | 480 | 4976.0319 | 2070.5 | 10.1 | 84.3988 | 4818 | 2425.5319 | 178.0319 | 20 |  | 23.9641 | 2070.5
12 | 95 | 130 | 225 | 0 | 0 | 4 | 225 | 108 | 2 | 2.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 12 | 84.85 | 8840 | 41.3 | 2983.5 | -480 | 2547.8191 | 2272.5 | 10.1 | 84.7927 | 2299.5 | 755.3191 | 308.3191 | 60 |  | 26.3021 | 2272.5
13 | 70 | 0 | 70 | 0 | 0 | 3 | 70 | 40 | 1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 13 | 84.25 | 7400 | 40.74 | 2328.3 | -1440 | 985.3617 | 686 | 9.8 | 88.6294 | 883.3 | 1739.3617 | 162.0617 | 60 |  | 7.9398 | 686
14 | 0 | 85 | 85 | 0 | 0 | 3 | 85 | 40 | 0 | 2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 14 | 84.9 | 8960 | 40.38 | 1907.1 | 1560 | 3910 | 850 | 10 | 85.5408 | 3655.6 | 1500 | 254.4 | 0 |  | 9.838 | 850
15 | 215 | 0 | 215 | 0 | 0 | 4 | 215 | 55 | 4.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 15 | 84.65 | 8360 | 41.07 | 2714.4 | -600 | 3469.3495 | 2171.5 | 10.1 | 85.1903 | 3367 | 1897.8495 | 162.3495 | 60 |  | 25.1331 | 2171.5
16 | 0 | 150 | 150 | 0 | 0 | 4 | 150 | 55 | 0 | 3.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 16 | 85 | 9200 | 41.12 | 2772.9 | 840 | 3071.0052 | 1447.5 | 9.65 | 88.4372 | 3017 | 783.5052 | 54.0052 | 0 |  | 16.7535 | 1447.5
17 | 135 | 135 | 270 | 0 | 0 | 4 | 270 | 80 | 3.1 | 3.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 17 | 84.7 | 8480 | 42.1 | 3919.5 | -720 | 4336.7872 | 2727 | 10.1 | 85.0905 | 4151 | 2329.7872 | 185.7872 | 0 |  | 31.5625 | 2727
18 | 0 | 125 | 125 | 0 | 0 | 3 | 125 | 40 | 0 | 3.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 18 | 84.3 | 7520 | 41.88 | 3662.1 | -960 | 2641.1598 | 1312.5 | 10.5 | 82.623 | 2525.8 | 2288.6598 | 115.3598 | 0 |  | 15.191 | 1312.5
19 | 65 | 0 | 65 | 0 | 0 | 3 | 65 | 35 | 1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 19 | 83.7 | 6080 | 41.62 | 3357.9 | -1440 | 1716.5 | 656.5 | 10.1 | 87.1311 | 1634.59 | 2500 | 81.91 | 0 |  | 7.5984 | 656.5
20 | 0 | 95 | 95 | 0 | 0 | 4 | 95 | 35 | 0 | 2.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 20 | 84.1 | 7040 | 41.63 | 3369.6 | 960 | 1919.5 | 959.5 | 10.1 | 86.3032 | 1817.7 | 0 | 161.8 | 60 |  | 11.1053 | 959.5
21 | 65 | 0 | 65 | 0 | 0 | 3 | 65 | 35 | 1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 21 | 84.2 | 7280 | 41.42 | 3123.9 | 240 | 2123.1606 | 650 | 10 | 86.9597 | 1962.45 | 1233.1606 | 160.7106 | 0 |  | 7.5231 | 650
22 | 0 | 65 | 65 | 0 | 0 | 4 | 65 | 40 | 0 | 1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 22 | 84.3 | 7520 | 41.2 | 2866.5 | 240 | 3675.75 | 685.75 | 10.55 | 82.2314 | 3528 | 2750 | 147.75 | 0 |  | 7.9369 | 685.75
23 | 65 | 0 | 65 | 0 | 0 | 3 | 65 | 35 | 1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 23 | 84.2 | 7280 | 41 | 2632.5 | -240 | 1889.5918 | 650 | 10 | 86.9597 | 1730.1 | 1479.5918 | 159.4918 | 0 |  | 7.5231 | 650
24 | 0 | 115 | 115 | 0 | 0 | 4 | 115 | 55 | 0 | 2.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 24 | 85.05 | 9320 | 41.25 | 2925 | 2040 | 5190.8617 | 1161.5 | 10.1 | 84.3988 | 5095.4 | 1989.3617 | 155.4617 | 60 |  | 13.4433 | 1161.5
25 | 65 | 0 | 65 | 0 | 0 | 3 | 65 | 35 | 1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 25 | 84.1 | 7040 | 41.24 | 2913.3 | -2280 | 1738.2021 | 656.5 | 10.1 | 86.3032 | 1700.9 | 3361.7021 | 97.3021 | 60 |  | 7.5984 | 656.5
26 | 80 | 0 | 80 | 0 | 0 | 4 | 80 | 40 | 1.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 26 | 83.4 | 5360 | 41.3 | 2983.5 | -1680 | 3993.5914 | 808 | 10.1 | 87.7625 | 3909.6 | 4865.5914 | 143.9914 | 60 |  | 9.3519 | 808
27 | 75 | 0 | 75 | 0 | 0 | 3 | 75 | 40 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 27 | 84.7 | 8480 | 41.25 | 2925 | 3120 | 3870 | 750 | 10 | 85.9415 | 3612 | 0 | 258 | 0 |  | 8.6806 | 750
28 | 0 | 70 | 70 | 0 | 0 | 4 | 70 | 40 | 0 | 2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 28 | 84.85 | 8840 | 41.2 | 2866.5 | 360 | 1060 | 700 | 10 | 85.6406 | 849.6 | 0 | 210.4 | 0 |  | 8.1019 | 700
29 | 65 | 0 | 65 | 0 | 0 | 3 | 65 | 35 | 1.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 29 | 85.2 | 9680 | 41.14 | 2796.3 | 840 | 1490 | 650 | 10 | 84.9468 | 1311.2 | 0 | 178.8 | 0 |  | 7.5231 | 650
30 | 0 | 125 | 125 | 0 | 0 | 4 | 125 | 40 | 0 | 2.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 30 | 85.1 | 9440 | 41.52 | 3240.9 | -240 | 1022.5 | 1262.5 | 10.1 | 84.3008 | 1014.7 | 0 | 67.8 | 60 |  | 14.6123 | 1262.5
| 1810 | 1985 | 3795 | 0 | 0 | 105 | 3690 | 110 | 44.8 | 47.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 18 |  |  | 84.6017 | 8244 | 41.2427 | 2916.42 | 4200 | 84809.1729 | 38290.75 | 10.0898 | 85.3733 | 77991.93 | 42318.4229 | 7757.2429 | 940 |  | 14.7727 | 38290.75