## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 135 | 0 | 135 | 0 | 0 | 3 | 135 | 40 | 3.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 1 | 84.95 | 9080 | 41.81 | 3580.2 | -360 | 990 | 1350 | 10 | 85.4412 | 751.9 | 0 | 238.1 | 0 |  | 15.625 | 1350
2 | 0 | 100 | 100 | 0 | 0 | 4 | 100 | 55 | 0 | 2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 2 | 85.1 | 9440 | 41.65 | 3393 | 360 | 1370 | 1010 | 10.1 | 84.3008 | 1043.9 | 0 | 326.1 | 0 |  | 11.6898 | 1010
3 | 40 | 180 | 220 | 0 | 0 | 3 | 220 | 54 | 1.1 | 3.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 3 | 84.2 | 7280 | 41.46 | 3170.7 | -2160 | 3264.1277 | 2222 | 10.1 | 86.0987 | 3315.12 | 3202.1277 | 9.0077 | 60 |  | 25.7176 | 2222
4 | 0 | 160 | 160 | 0 | 0 | 4 | 160 | 40 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 4 | 84.6 | 8240 | 41.75 | 3510 | 960 | 2576 | 1616 | 10.1 | 85.2903 | 2336 | 0 | 240 | 0 |  | 18.7037 | 1616
5 | 190 | 0 | 190 | 0 | 0 | 3 | 190 | 55 | 4.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 5 | 84.45 | 7880 | 41.94 | 3732.3 | -360 | 1635 | 1995 | 10.5 | 82.331 | 1387 | 0 | 248 | 0 |  | 23.0903 | 1995
6 | 0 | 195 | 195 | 0 | 0 | 3 | 195 | 40 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 6 | 84.6 | 8240 | 41.1 | 2749.5 | 360 | 2417.25 | 2057.25 | 10.55 | 81.6523 | 2346 | 0 | 131.25 | 60 |  | 23.8108 | 2057.25
7 | 145 | 0 | 145 | 0 | 0 | 4 | 145 | 40 | 3.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 7 | 84.75 | 8600 | 40.99 | 2620.8 | 360 | 1882.5 | 1522.5 | 10.5 | 81.7533 | 1620.6 | 0 | 261.9 | 0 |  | 17.6215 | 1522.5
8 | 75 | 365 | 440 | 0 | 0 | 3 | 440 | 110 | 1.8 | 7.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 8 | 84.4 | 7760 | 41.77 | 3533.4 | -840 | 6869.625 | 4444 | 10.1 | 85.6926 | 6825.6 | 3265.625 | 104.025 | 60 |  | 51.4352 | 4444
9 | 220 | 5 | 225 | 0 | 0 | 4 | 225 | 55 | 4.3 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 9 | 84.5 | 8000 | 42.02 | 3825.9 | 240 | 2512.5 | 2272.5 | 10.1 | 85.491 | 2350.6 | 0 | 221.9 | 60 |  | 26.3021 | 2272.5
10 | 0 | 225 | 225 | 0 | 0 | 3 | 225 | 55 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 10 | 84.8 | 8720 | 42.1 | 3919.5 | 720 | 2992.5 | 2272.5 | 10.1 | 84.8917 | 2844.45 | 0 | 188.05 | 40 |  | 26.3021 | 2272.5
11 | 305 | 0 | 305 | 0 | 0 | 4 | 305 | 45 | 7.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 11 | 84.65 | 8360 | 42.1 | 3919.5 | -360 | 2842.5 | 3202.5 | 10.5 | 81.945 | 2587.5 | 0 | 255 | 0 |  | 37.066 | 3202.5
12 | 0 | 305 | 305 | 0 | 0 | 3 | 305 | 55 | 0 | 6.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 12 | 84.7 | 8480 | 41.94 | 3732.3 | 120 | 3322.5 | 3202.5 | 10.5 | 81.849 | 3234 | 0 | 88.5 | 0 |  | 37.066 | 3202.5
13 | 80 | 235 | 315 | 0 | 0 | 3 | 315 | 54 | 1.5 | 4.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 13 | 84.85 | 8840 | 41.5 | 3217.5 | 360 | 3541.5 | 3181.5 | 10.1 | 84.7927 | 3435 | 0 | 106.5 | 0 |  | 36.8229 | 3181.5
14 | 0 | 310 | 310 | 0 | 0 | 4 | 310 | 45 | 0 | 7.8 | 0 | 8 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 2 |  | 14 | 84.9 | 8960 | 41.41 | 3112.2 | 120 | 3290.99 | 3170.99 | 10.229 | 83.6258 | 3047.05 | 0 | 243.94 | 0 |  | 36.7013 | 3170.99
15 | 330 | 0 | 330 | 0 | 0 | 3 | 330 | 55 | 7.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 15 | 85 | 9200 | 41.43 | 3135.6 | 240 | 3573 | 3333 | 10.1 | 84.4969 | 3350.7 | 0 | 222.3 | 0 |  | 38.5764 | 3333
16 | 0 | 445 | 445 | 0 | 0 | 4 | 445 | 45 | 0 | 8.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 16 | 84.9 | 8960 | 41.96 | 3755.7 | -240 | 4254.5 | 4494.5 | 10.1 | 84.6939 | 4117.2 | 0 | 197.3 | 60 |  | 52.0197 | 4494.5
17 | 115 | 350 | 465 | 0 | 0 | 3 | 465 | 110 | 2.7 | 7.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 17 | 84.75 | 8600 | 41.59 | 3322.8 | -360 | 4336.5 | 4696.5 | 10.1 | 84.991 | 4234 | 0 | 162.5 | 60 |  | 54.3576 | 4696.5
18 | 0 | 490 | 490 | 0 | 0 | 4 | 490 | 55 | 0 | 9.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 18 | 84.7 | 8480 | 41.75 | 3510 | -120 | 4829 | 4949 | 10.1 | 85.0905 | 4726.3 | 0 | 102.7 | 0 |  | 57.2801 | 4949
19 | 475 | 0 | 475 | 0 | 0 | 3 | 475 | 55 | 9.35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 19 | 84.7 | 8480 | 41.98 | 3779.1 | 0 | 4797.5 | 4797.5 | 10.1 | 85.0905 | 4623.15 | 0 | 174.35 | 0 |  | 55.5266 | 4797.5
20 | 0 | 490 | 490 | 0 | 0 | 4 | 490 | 55 | 0 | 10.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 20 | 84.8 | 8720 | 42 | 3802.5 | 240 | 5189 | 4949 | 10.1 | 84.8917 | 4942.1 | 0 | 246.9 | 0 |  | 57.2801 | 4949
21 | 450 | 0 | 450 | 0 | 0 | 3 | 450 | 50 | 9.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 21 | 84.9 | 8960 | 42.05 | 3861 | 240 | 4740 | 4500 | 10 | 85.5408 | 4507.25 | 0 | 232.75 | 0 |  | 52.0833 | 4500
22 | 0 | 455 | 455 | 0 | 0 | 4 | 455 | 55 | 0 | 9.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 22 | 83.8 | 6320 | 42.05 | 3861 | -2640 | 4502.0109 | 4663.75 | 10.25 | 85.6506 | 4395.3 | 2478.2609 | 166.7109 | 60 |  | 53.9786 | 4663.75
23 | 445 | 0 | 445 | 0 | 0 | 3 | 445 | 55 | 9.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 23 | 85 | 9200 | 41.8 | 3568.5 | 2880 | 7374.5 | 4494.5 | 10.1 | 84.4969 | 6965 | 0 | 409.5 | 0 |  | 52.0197 | 4494.5
24 | 0 | 480 | 480 | 0 | 0 | 4 | 480 | 55 | 0 | 9.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 24 | 85.15 | 9560 | 41.6 | 3334.5 | 360 | 5208 | 4848 | 10.1 | 84.2032 | 4952.8 | 0 | 255.2 | 0 |  | 56.1111 | 4848
25 | 170 | 305 | 475 | 0 | 0 | 3 | 475 | 55 | 3.2 | 5.9 | 0 | 0 | 8.6 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | ΒΛΑΒΗ Απ/Ζ16 | 25 | 85.1 | 9440 | 41.77 | 3533.4 | -120 | 4796.25 | 4916.25 | 10.35 | 82.2646 | 4725 | 0 | 131.25 | 60 |  | 56.901 | 4916.25
26 | 0 | 490 | 490 | 0 | 0 | 4 | 490 | 55 | 0 | 9.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 26 | 85.4 | 10160 | 41.94 | 3732.3 | 720 | 5767 | 5047 | 10.3 | 82.0925 | 5180 | 0 | 587 | 0 |  | 58.4144 | 5047
27 | 510 | 50 | 560 | 0 | 0 | 3 | 560 | 70 | 10.9 | 1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 27 | 85.15 | 9560 | 42 | 3802.5 | -600 | 5056 | 5656 | 10.1 | 84.2032 | 4854.5 | 0 | 261.5 | 60 |  | 65.463 | 5656
28 | 0 | 525 | 525 | 0 | 0 | 3 | 525 | 55 | 0 | 10.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 28 | 85.2 | 9680 | 41.81 | 3580.2 | 120 | 5422.5 | 5302.5 | 10.1 | 84.1057 | 5274.6 | 0 | 147.9 | 0 |  | 61.3715 | 5302.5
29 | 625 | 0 | 625 | 0 | 0 | 4 | 625 | 55 | 12.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 29 | 85 | 9200 | 42 | 3802.5 | -480 | 5832.5 | 6312.5 | 10.1 | 84.4969 | 5593 | 0 | 239.5 | 0 |  | 73.0613 | 6312.5
30 | 180 | 335 | 515 | 0 | 0 | 3 | 515 | 54 | 3.4 | 6.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 30 | 84.9 | 8960 | 41.52 | 3240.9 | -240 | 4961.5 | 5201.5 | 10.1 | 84.6939 | 4950 | 0 | 71.5 | 60 |  | 60.2025 | 5201.5
31 | 535 | 0 | 535 | 0 | 0 | 4 | 535 | 55 | 10.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 31 | 84.85 | 8840 | 42.1 | 3919.5 | -120 | 6501.5851 | 5403.5 | 10.1 | 84.7927 | 6249.6 | 1218.0851 | 251.9851 | 0 |  | 62.5405 | 5403.5
| 5025 | 6495 | 11520 | 0 | 0 | 107 | 11413 | 110 | 107 | 133.6 | 0 | 8 | 8.6 | 0 | 0 | 8 | 0 | 0 | 29 | 33 |  |  | 84.7984 | 8716.129 | 41.7706 | 3534.1548 | -600 | 126648.3386 | 117084.24 | 10.1636 | 84.364 | 120765.22 | 10164.0986 | 6523.1186 | 640 |  | 43.7142 | 117084.24