## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 685 | 15 | 700 | 0 | 0 | 4 | 700 | 55 | 13 | 0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 1 | 84.25 | 7400 | 42 | 3802.5 | -240 | 6830 | 7070 | 10.1 | 85.9968 | 6720 | 0 | 170 | 60 |  | 81.8287 | 7070
2 | 0 | 605 | 605 | 0 | 0 | 3 | 605 | 54 | 0 | 12.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 2 | 84.7 | 8480 | 41.74 | 3498.3 | 1080 | 7190.5 | 6110.5 | 10.1 | 85.0905 | 7121.4 | 0 | 129.1 | 60 |  | 70.7234 | 6110.5
3 | 640 | 0 | 640 | 0 | 0 | 3 | 640 | 50 | 13.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 3 | 85.05 | 9320 | 41.76 | 3521.7 | 840 | 7304 | 6464 | 10.1 | 84.3988 | 7208.31 | 0 | 95.69 | 0 |  | 74.8148 | 6464
4 | 0 | 640 | 640 | 0 | 0 | 4 | 640 | 50 | 0 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 4 | 85 | 9200 | 41.9 | 3685.5 | -120 | 6344 | 6464 | 10.1 | 84.4969 | 6376.32 | 0 | 27.68 | 60 |  | 74.8148 | 6464
5 | 590 | 0 | 590 | 0 | 0 | 4 | 590 | 50 | 13.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 |  | 5 | 85.1 | 9440 | 41.88 | 3662.1 | 240 | 7613.8936 | 5959 | 10.1 | 84.3008 | 7364.7 | 1414.8936 | 249.1936 | 0 |  | 68.9699 | 5959
6 | 10 | 580 | 590 | 0 | 0 | 3 | 590 | 50 | 0.2 | 12.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 6 | 85 | 9200 | 42.1 | 3919.5 | -240 | 5719 | 5959 | 10.1 | 84.4969 | 5225.6 | 0 | 493.4 | 0 |  | 68.9699 | 5959
7 | 410 | 0 | 410 | 0 | 0 | 3 | 410 | 50 | 8.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 7 | 85.05 | 9320 | 41.13 | 2784.6 | 120 | 4261 | 4141 | 10.1 | 84.3988 | 3890.9 | 0 | 430.1 | 60 |  | 47.9282 | 4141
8 | 0 | 370 | 370 | 0 | 0 | 4 | 370 | 45 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 8 | 85.15 | 9560 | 40.55 | 2106 | 240 | 3977 | 3737 | 10.1 | 84.2032 | 3869 | 0 | 168 | 60 |  | 43.2523 | 3737
9 | 395 | 0 | 395 | 0 | 0 | 3 | 395 | 45 | 9.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 9 | 85.1 | 9440 | 40.64 | 2211.3 | -120 | 3869.5 | 3989.5 | 10.1 | 84.3008 | 3757.5 | 0 | 112 | 0 |  | 46.1748 | 3989.5
10 | 0 | 395 | 395 | 0 | 0 | 4 | 395 | 46 | 0 | 9.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 10 | 84.15 | 7160 | 40.98 | 2609.1 | -2280 | 4340.9043 | 4147.5 | 10.5 | 82.917 | 4068 | 2473.4043 | 272.9043 | 0 |  | 48.0035 | 4147.5
11 | 495 | 0 | 495 | 0 | 0 | 3 | 495 | 50 | 10.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 11 | 84.4 | 7760 | 41.72 | 3474.9 | 600 | 5772.75 | 5172.75 | 10.45 | 82.8225 | 5490.8 | 0 | 281.95 | 0 |  | 59.8698 | 5172.75
12 | 0 | 480 | 480 | 0 | 0 | 4 | 480 | 50 | 0 | 9.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 12 | 84.5 | 8000 | 42.02 | 3825.9 | 240 | 5280 | 5040 | 10.5 | 82.2342 | 5183 | 0 | 97 | 0 |  | 58.3333 | 5040
13 | 410 | 0 | 410 | 0 | 0 | 3 | 410 | 54 | 8.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 13 | 82.65 | 3630 | 41.77 | 3533.4 | -4370 | -44.5 | 4325.5 | 10.55 | 85.5692 | 0 | 0 | 15.5 | 60 |  | 50.0637 | 4325.5
14 | 0 | 225 | 225 | 0 | 0 | 3 | 225 | 50 | 0 | 4.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 14 | 81.6 | 1320 | 40.65 | 2223 | -2310 | -37.5 | 2272.5 | 10.1 | 91.7517 | 0 | 0 | 22.5 | 60 |  | 26.3021 | 2272.5
15 | 285 | 0 | 285 | 0 | 0 | 4 | 285 | 53 | 6.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 15 | 82.1 | 2420 | 39.94 | 1392.3 | 1100 | 4092.5 | 2992.5 | 10.5 | 87.1559 | 2688 | 0 | 64.5 | 60 |  | 34.6354 | 2992.5
16 | 135 | 460 | 595 | 0 | 0 | 3 | 595 | 70 | 3.7 | 10.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 16 | 84.25 | 7400 | 40.88 | 2492.1 | 4980 | 10989.5 | 6009.5 | 10.1 | 85.9968 | 10600.3 | 0 | 389.2 | 0 |  | 69.5544 | 6009.5
17 | 515 | 105 | 620 | 0 | 0 | 4 | 620 | 85 | 11.2 | 2.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 17 | 84.3 | 7520 | 41.37 | 3065.4 | 120 | 6382 | 6262 | 10.1 | 85.8952 | 6317.6 | 0 | 64.4 | 0 |  | 72.4769 | 6262
18 | 10 | 670 | 680 | 0 | 0 | 3 | 680 | 55 | 0.1 | 13.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 18 | 84.75 | 8600 | 41.94 | 3732.3 | 1080 | 7948 | 6868 | 10.1 | 84.991 | 7978.95 | 0 | 29.05 | 60 |  | 79.4907 | 6868
19 | 565 | 0 | 565 | 0 | 0 | 4 | 565 | 55 | 11.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 19 | 84.8 | 8720 | 41.82 | 3591.9 | 120 | 5826.5 | 5706.5 | 10.1 | 84.8917 | 5768 | 0 | 118.5 | 60 |  | 66.0475 | 5706.5
20 | 0 | 635 | 635 | 0 | 0 | 3 | 635 | 55 | 0 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 20 | 85.25 | 9800 | 41.87 | 3650.4 | 1080 | 7493.5 | 6413.5 | 10.1 | 84.0085 | 7293.3 | 0 | 200.2 | 0 |  | 74.2303 | 6413.5
21 | 680 | 0 | 680 | 0 | 0 | 4 | 680 | 50 | 13.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 21 | 84.25 | 7400 | 42.05 | 3861 | -2400 | 5587.7917 | 6868 | 10.1 | 85.9968 | 5563.95 | 1119.7917 | 23.8417 | 0 |  | 79.4907 | 6868
22 | 0 | 650 | 650 | 0 | 0 | 3 | 650 | 55 | 0 | 12.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 22 | 84.85 | 8840 | 41.86 | 3638.7 | 1440 | 8005 | 6565 | 10.1 | 84.7927 | 7821.8 | 0 | 183.2 | 0 |  | 75.9838 | 6565
23 | 615 | 130 | 745 | 0 | 0 | 4 | 745 | 85 | 13.6 | 3.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 23 | 84.85 | 8840 | 41.95 | 3744 | 0 | 7450 | 7450 | 10 | 85.6406 | 7400 | 0 | 110 | 60 |  | 86.2269 | 7450
24 | 0 | 650 | 650 | 0 | 0 | 3 | 650 | 55 | 0 | 12.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 24 | 85.05 | 9320 | 41.88 | 3662.1 | 480 | 7045 | 6565 | 10.1 | 84.3988 | 6995.55 | 0 | 109.45 | 60 |  | 75.9838 | 6565
25 | 655 | 0 | 655 | 0 | 0 | 4 | 655 | 55 | 12.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 25 | 85.1 | 9440 | 42.08 | 3896.1 | 120 | 6735.5 | 6615.5 | 10.1 | 84.3008 | 6560.95 | 0 | 174.55 | 0 |  | 76.5683 | 6615.5
26 | 0 | 685 | 685 | 0 | 0 | 3 | 685 | 55 | 0 | 13.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 26 | 84.9 | 8960 | 41.98 | 3779.1 | -480 | 6609.75 | 7089.75 | 10.35 | 82.6481 | 6621.35 | 0 | 48.4 | 60 |  | 82.0573 | 7089.75
27 | 590 | 0 | 590 | 0 | 0 | 4 | 590 | 55 | 11.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 27 | 84.95 | 9080 | 41.7 | 3451.5 | 120 | 6079 | 5959 | 10.1 | 84.5953 | 5938.8 | 0 | 140.2 | 0 |  | 68.9699 | 5959
28 | 0 | 695 | 695 | 0 | 0 | 3 | 695 | 55 | 0 | 13.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 28 | 85.05 | 9320 | 42.08 | 3896.1 | 240 | 7259.5 | 7019.5 | 10.1 | 84.3988 | 7168.74 | 0 | 90.76 | 0 |  | 81.2442 | 7019.5
29 | 690 | 0 | 690 | 0 | 0 | 4 | 690 | 55 | 13.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 29 | 85 | 9200 | 42.1 | 3919.5 | -120 | 6849 | 6969 | 10.1 | 84.4969 | 6600.7 | 0 | 248.3 | 0 |  | 80.6597 | 6969
30 | 0 | 675 | 675 | 0 | 0 | 3 | 675 | 55 | 0 | 12.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 30 | 84.8 | 8720 | 42.1 | 3919.5 | -480 | 6270 | 6750 | 10 | 85.7407 | 6092.85 | 0 | 177.15 | 0 |  | 78.125 | 6750
31 | 700 | 0 | 700 | 0 | 0 | 4 | 700 | 55 | 13.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 31 | 84.9 | 8960 | 42.1 | 3919.5 | 240 | 7310 | 7070 | 10.1 | 84.6939 | 7112.25 | 0 | 197.75 | 0 |  | 81.8287 | 7070
| 9075 | 8665 | 17740 | 0 | 0 | 108 | 17632 | 85 | 188.5 | 177.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34 | 31 |  |  | 84.5435 | 8121.6129 | 41.6303 | 3369.9774 | 1320 | 186353.0895 | 180025 | 10.148 | 84.9997 | 180798.62 | 5008.0895 | 4934.4695 | 780 |  | 67.2136 | 180025