## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 655 | 460 | 1115 | 0 | 0 | 3 | 1115 | 110 | 15.75 | 11.35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 1 | 84.57 | 8168 | 42 | 3802.5 | -1272 | 10101 | 11373 | 10.2 | 84.5136 | 10130.4 | 0 | 70.6 | 100 |  | 131.6319 | 11373
2 | 0 | 685 | 685 | 0 | 0 | 4 | 685 | 55 | 0 | 15.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 2 | 84.3 | 7520 | 41.83 | 3603.6 | -648 | 6202 | 6850 | 10 | 86.7541 | 6098.4 | 0 | 103.6 | 0 |  | 79.2824 | 6850
3 | 590 | 32 | 622 | 0 | 0 | 3 | 622 | 70 | 13.7 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 3 | 85.05 | 9320 | 42.04 | 3849.3 | 1800 | 8020 | 6220 | 10 | 85.2427 | 7761.6 | 0 | 258.4 | 0 |  | 71.9907 | 6220
4 | 0 | 378 | 378 | 0 | 0 | 4 | 378 | 40 | 0 | 9.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 4 | 85.05 | 9320 | 41.35 | 3042 | 0 | 3987.9 | 3987.9 | 10.55 | 80.7988 | 3781.4 | 0 | 206.5 | 0 |  | 46.1562 | 3987.9
5 | 405 | 0 | 405 | 0 | 0 | 3 | 405 | 40 | 9.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 5 | 84.7 | 8480 | 41.55 | 3276 | -840 | 3169.5 | 4009.5 | 9.9 | 86.8095 | 3075 | 0 | 94.5 | 0 |  | 46.4062 | 4009.5
6 | 0 | 390 | 390 | 0 | 0 | 4 | 390 | 45 | 0 | 9.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 6 | 84.9 | 8960 | 41.84 | 3615.3 | 480 | 4419 | 3939 | 10.1 | 84.6939 | 4270.5 | 0 | 148.5 | 0 |  | 45.5903 | 3939
7 | 365 | 0 | 365 | 0 | 0 | 3 | 365 | 55 | 8.1 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 7 | 84.85 | 8840 | 41.69 | 3439.8 | -120 | 3566.5 | 3686.5 | 10.1 | 84.7927 | 3486.1 | 0 | 140.4 | 60 |  | 42.6678 | 3686.5
8 | 90 | 380 | 470 | 0 | 0 | 3 | 470 | 80 | 2.25 | 9.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 8 | 84.5 | 8000 | 41.76 | 3521.7 | -840 | 3907 | 4747 | 10.1 | 85.491 | 3745 | 0 | 222 | 60 |  | 54.9421 | 4747
9 | 370 | 0 | 370 | 0 | 0 | 4 | 370 | 55 | 8.35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 9 | 84.5 | 8000 | 41.77 | 3533.4 | 0 | 3737 | 3737 | 10.1 | 85.491 | 3679.2 | 0 | 117.8 | 60 |  | 43.2523 | 3737
10 | 0 | 380 | 380 | 0 | 0 | 3 | 380 | 55 | 0 | 8.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 10 | 85.25 | 9800 | 41.98 | 3779.1 | 1800 | 5638 | 3838 | 10.1 | 84.0085 | 5396 | 0 | 242 | 0 |  | 44.4213 | 3838
11 | 0 | 410 | 410 | 0 | 0 | 4 | 410 | 55 | 0 | 9.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 11 | 85 | 9200 | 41.77 | 3533.4 | -600 | 3541 | 4141 | 10.1 | 84.4969 | 3427.2 | 0 | 113.8 | 0 |  | 47.9282 | 4141
12 | 235 | 120 | 355 | 0 | 0 | 3 | 355 | 54 | 5.75 | 3.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 12 | 85.05 | 9320 | 41.88 | 3662.1 | 120 | 3705.5 | 3585.5 | 10.1 | 84.3988 | 3491.4 | 0 | 214.1 | 0 |  | 41.4988 | 3585.5
13 | 0 | 330 | 330 | 0 | 0 | 3 | 330 | 54 | 0 | 7.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 13 | 85 | 9200 | 41.75 | 3510 | -120 | 3213 | 3333 | 10.1 | 84.4969 | 3203.2 | 0 | 69.8 | 60 |  | 38.5764 | 3333
14 | 0 | 355 | 355 | 0 | 0 | 4 | 355 | 40 | 0 | 9.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 14 | 85.1 | 9440 | 41.87 | 3650.4 | 240 | 3825.5 | 3585.5 | 10.1 | 84.3008 | 3752.2 | 0 | 123.3 | 50 |  | 41.4988 | 3585.5
15 | 0 | 315 | 315 | 0 | 0 | 3 | 315 | 40 | 0 | 7.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 15 | 85.2 | 9680 | 41.6 | 3334.5 | 240 | 3421.5 | 3181.5 | 10.1 | 84.1057 | 3174 | 0 | 247.5 | 0 |  | 36.8229 | 3181.5
16 | 440 | 265 | 705 | 0 | 0 | 4 | 705 | 80 | 10.25 | 5.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 16 | 84.85 | 8840 | 41.98 | 3779.1 | -840 | 6280.5 | 7120.5 | 10.1 | 84.7927 | 6209 | 0 | 131.5 | 60 |  | 82.4132 | 7120.5
17 | 505 | 0 | 505 | 0 | 0 | 3 | 505 | 40 | 12.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 17 | 84.8 | 8720 | 41.75 | 3510 | -120 | 5081.5 | 5201.5 | 10.3 | 83.2434 | 5016.3 | 0 | 125.2 | 60 |  | 60.2025 | 5201.5
18 | 260 | 225 | 485 | 0 | 0 | 4 | 485 | 80 | 6.7 | 5.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 18 | 85 | 9200 | 41.8 | 3568.5 | 480 | 5378.5 | 4898.5 | 10.1 | 84.4969 | 5270.6 | 0 | 167.9 | 60 |  | 56.6956 | 4898.5
19 | 290 | 0 | 290 | 0 | 0 | 3 | 290 | 40 | 7.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 19 | 85.05 | 9320 | 41.53 | 3252.6 | 120 | 3610.4255 | 2900 | 10 | 85.2427 | 3374 | 590.4255 | 236.4255 | 0 |  | 33.5648 | 2900
20 | 0 | 275 | 275 | 0 | 0 | 4 | 275 | 55 | 0 | 6.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 20 | 84.65 | 8360 | 41.36 | 3053.7 | -960 | 3308.6702 | 2832.5 | 10.3 | 83.5361 | 3292.3 | 1436.1702 | 116.3702 | 100 |  | 32.7836 | 2832.5
21 | 555 | 80 | 635 | 0 | 0 | 3 | 635 | 108 | 12.25 | 1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 21 | 84.75 | 8600 | 41.84 | 3615.3 | 240 | 6653.5 | 6413.5 | 10.1 | 84.991 | 6496.5 | 0 | 157 | 0 |  | 74.2303 | 6413.5
22 | 200 | 365 | 565 | 0 | 0 | 4 | 565 | 110 | 4.7 | 8.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 22 | 85.05 | 9320 | 42.02 | 3825.9 | 720 | 6426.5 | 5706.5 | 10.1 | 84.3988 | 6380.2 | 0 | 106.3 | 60 |  | 66.0475 | 5706.5
23 | 625 | 175 | 800 | 0 | 0 | 3 | 800 | 110 | 14.4 | 4.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 23 | 84.7 | 8480 | 41.8 | 3568.5 | -840 | 7240 | 8080 | 10.1 | 85.0905 | 7135.5 | 0 | 164.5 | 60 |  | 93.5185 | 8080
24 | 45 | 315 | 360 | 0 | 0 | 3 | 360 | 70 | 1.25 | 7.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 24 | 85.05 | 9320 | 41.79 | 3556.8 | 840 | 4476 | 3636 | 10.1 | 84.3988 | 4326.3 | 0 | 209.7 | 60 |  | 42.0833 | 3636
25 | 375 | 0 | 375 | 0 | 0 | 4 | 375 | 40 | 8.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 25 | 84.6 | 8240 | 41.67 | 3416.4 | -1080 | 2707.5 | 3787.5 | 10.1 | 85.2903 | 2613.4 | 0 | 154.1 | 60 |  | 43.8368 | 3787.5
26 | 0 | 240 | 240 | 0 | 0 | 3 | 240 | 50 | 0 | 5.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 26 | 84.4 | 7760 | 41.37 | 3065.4 | -480 | 2779.1064 | 2424 | 10.1 | 85.6926 | 2562.3 | 835.1064 | 276.8064 | 60 |  | 28.0556 | 2424
27 | 300 | 0 | 300 | 0 | 0 | 4 | 300 | 55 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 27 | 84.25 | 7400 | 41.69 | 3439.8 | -360 | 2670 | 3030 | 10.1 | 85.9968 | 2635.3 | 0 | 94.7 | 60 |  | 35.0694 | 3030
28 | 115 | 605 | 720 | 0 | 0 | 4 | 720 | 110 | 2.3 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 28 | 84.65 | 8360 | 41.85 | 3627 | 960 | 8232 | 7272 | 10.1 | 85.1903 | 8161.4 | 0 | 130.6 | 60 |  | 84.1667 | 7272
29 | 290 | 0 | 290 | 0 | 0 | 3 | 290 | 40 | 5.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 29 | 84.65 | 8360 | 41.34 | 3030.3 | 0 | 4609.8511 | 2929 | 10.1 | 85.1903 | 4478.4 | 1680.8511 | 191.4511 | 60 |  | 33.9005 | 2929
30 | 0 | 317 | 317 | 0 | 0 | 3 | 317 | 55 | 0 | 7.47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 30 | 85.05 | 9320 | 41.81 | 3580.2 | 960 | 4082.45 | 3122.45 | 9.85 | 86.5409 | 3873.15 | 0 | 209.3 | 0 |  | 36.1395 | 3122.45
| 6710 | 7097 | 13807 | 0 | 0 | 103 | 13704 | 110 | 156.25 | 168.57 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29 | 34 |  |  | 84.8173 | 8761.6 | 41.7427 | 3501.42 | -120 | 143990.9032 | 139568.35 | 10.1085 | 84.7858 | 140296.25 | 4542.5532 | 4844.6532 | 1150 |  | 53.8458 | 139568.35