## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 165 | 0 | 165 | 0 | 0 | 3 | 165 | 40 | 4.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 1 | 84.2 | 7280 | 41.3 | 2983.5 | -360 | 1306.5 | 1666.5 | 10.1 | 86.0987 | 1253.3 | 0 | 53.2 | 0 |  | 19.2882 | 1666.5
2 | 20 | 100 | 120 | 0 | 0 | 2 | 120 | 75 | 0.45 | 2.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 2 | 84 | 6800 | 41.25 | 2925 | -480 | 720 | 1200 | 10 | 87.3738 | 656.85 | 0 | 63.15 | 0 |  | 13.8889 | 1200
3 | 85 | 0 | 85 | 0 | 0 | 2 | 85 | 35 | 2.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 3 | 84 | 6800 | 41.42 | 3123.9 | 0 | 850 | 850 | 10 | 87.3738 | 660 | 0 | 190 | 0 |  | 9.838 | 850
4 | 0 | 75 | 75 | 0 | 0 | 3 | 75 | 40 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 4 | 82.9 | 4180 | 41.64 | 3381.3 | -2620 | 896.8394 | 750 | 10 | 89.7237 | 639.45 | 2766.8394 | 257.3894 | 0 |  | 8.6806 | 750
5 | 95 | 0 | 95 | 0 | 0 | 2 | 95 | 50 | 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 5 | 82.5 | 3300 | 41.2 | 2866.5 | -880 | 834.8191 | 959.5 | 10.1 | 89.7127 | 846.8 | 755.3191 | 48.0191 | 60 |  | 11.1053 | 959.5
6 | 0 | 70 | 70 | 0 | 0 | 3 | 70 | 35 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 6 | 83.95 | 6680 | 40.9 | 2515.5 | 3380 | 4073 | 693 | 9.9 | 88.3616 | 3937.5 | 0 | 135.5 | 0 |  | 8.0208 | 693
7 | 80 | 0 | 80 | 0 | 0 | 2 | 80 | 35 | 2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 7 | 83.95 | 6680 | 41.15 | 2808 | 0 | 792 | 792 | 9.9 | 88.3616 | 675 | 0 | 117 | 0 |  | 9.1667 | 792
8 | 0 | 75 | 75 | 0 | 0 | 2 | 75 | 35 | 0 | 2.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 8 | 84.05 | 6920 | 41.35 | 3042 | 240 | 997.5 | 757.5 | 10.1 | 86.4059 | 788.4 | 0 | 209.1 | 0 |  | 8.7674 | 757.5
9 | 70 | 0 | 70 | 0 | 0 | 2 | 70 | 35 | 2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 9 | 82.65 | 3630 | 41.29 | 2971.8 | -3290 | 784.0213 | 707 | 10.1 | 89.3817 | 722.7 | 3367.0213 | 61.3213 | 0 |  | 8.1829 | 707
10 | 0 | 70 | 70 | 0 | 0 | 3 | 70 | 35 | 0 | 2.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 10 | 83.8 | 6320 | 41.29 | 2971.8 | 2690 | 3390 | 700 | 10 | 87.7919 | 3307.5 | 0 | 82.5 | 0 |  | 8.1019 | 700
11 | 75 | 0 | 75 | 0 | 0 | 2 | 75 | 35 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 11 | 83.8 | 6320 | 41.25 | 2925 | 0 | 750 | 750 | 10 | 87.7919 | 655.6 | 0 | 94.4 | 0 |  | 8.6806 | 750
12 | 0 | 75 | 75 | 0 | 0 | 3 | 75 | 40 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 12 | 83.8 | 6320 | 41.25 | 2925 | 0 | 750 | 750 | 10 | 87.7919 | 664.4 | 0 | 85.6 | 0 |  | 8.6806 | 750
13 | 120 | 0 | 120 | 0 | 0 | 3 | 120 | 45 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 13 | 83.9 | 6560 | 41.5 | 3217.5 | 240 | 1440 | 1200 | 10 | 87.5823 | 1237.5 | 0 | 202.5 | 0 |  | 13.8889 | 1200
14 | 200 | 80 | 280 | 0 | 0 | 2 | 280 | 90 | 5 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 14 | 83.7 | 6080 | 41.5 | 3217.5 | -480 | 2320 | 2800 | 10 | 88.0024 | 2138.6 | 0 | 181.4 | 0 |  | 32.4074 | 2800
15 | 135 | 0 | 135 | 0 | 0 | 2 | 135 | 40 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 15 | 84.5 | 8000 | 40.73 | 2316.6 | 1920 | 3270 | 1350 | 10 | 86.3459 | 3027.55 | 0 | 242.45 | 0 |  | 15.625 | 1350
16 | 140 | 0 | 140 | 0 | 0 | 2 | 140 | 55 | 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 16 | 83.9 | 6560 | 41.13 | 2784.6 | -1440 | -26 | 1414 | 10.1 | 86.7152 | 0 | 0 | 34 | 60 |  | 16.3657 | 1414
17 | 125 | 20 | 145 | 0 | 0 | 3 | 145 | 80 | 3.74 | 0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 17 | 84 | 6800 | 41.38 | 3077.1 | 240 | 1690 | 1450 | 10 | 87.3738 | 1457.8 | 0 | 232.2 | 0 |  | 16.7824 | 1450
18 | 0 | 135 | 135 | 0 | 0 | 2 | 135 | 45 | 0 | 3.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 18 | 84.1 | 7040 | 41.64 | 3381.3 | 240 | 1576.5 | 1336.5 | 9.9 | 88.0467 | 1376.4 | 0 | 200.1 | 0 |  | 15.4688 | 1336.5
19 | 100 | 20 | 120 | 0 | 0 | 2 | 120 | 45 | 2.61 | 0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 19 | 84.3 | 7520 | 41.19 | 2854.8 | 480 | 1680 | 1200 | 10 | 86.7541 | 1447.95 | 0 | 232.05 | 0 |  | 13.8889 | 1200
20 | 25 | 175 | 200 | 0 | 0 | 3 | 200 | 70 | 0.65 | 4.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3 |  | 20 | 83.4 | 5360 | 41.65 | 3393 | -2160 | -50 | 2110 | 10.55 | 84.019 | 0 | 0 | 50 | 100 |  | 24.4213 | 2110
21 | 85 | 0 | 85 | 0 | 0 | 2 | 85 | 45 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 21 | 83.4 | 5360 | 41.5 | 3217.5 | 0 | 850 | 850 | 10 | 88.6401 | 710.4 | 0 | 139.6 | 0 |  | 9.838 | 850
22 | 0 | 85 | 85 | 0 | 0 | 3 | 85 | 35 | 0 | 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 22 | 83.4 | 5360 | 41.52 | 3240.9 | 0 | 858.5 | 858.5 | 10.1 | 87.7625 | 683.55 | 0 | 174.95 | 0 |  | 9.9363 | 858.5
23 | 70 | 0 | 70 | 0 | 0 | 2 | 70 | 35 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 23 | 83.8 | 6320 | 41.19 | 2854.8 | 960 | 1660 | 700 | 10 | 87.7919 | 1467.65 | 0 | 192.35 | 0 |  | 8.1019 | 700
24 | 0 | 105 | 105 | 0 | 0 | 2 | 105 | 35 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 24 | 84 | 6800 | 41.3 | 2983.5 | 480 | 1540.5 | 1060.5 | 10.1 | 86.5087 | 1474.6 | 0 | 65.9 | 0 |  | 12.2743 | 1060.5
25 | 135 | 0 | 135 | 0 | 0 | 3 | 135 | 45 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 25 | 84.2 | 7280 | 41.6 | 3334.5 | 480 | 1809.75 | 1329.75 | 9.85 | 88.284 | 1507.5 | 0 | 302.25 | 0 |  | 15.3906 | 1329.75
26 | 0 | 150 | 150 | 0 | 0 | 2 | 150 | 55 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 26 | 84.3 | 7520 | 41.68 | 3428.1 | 240 | 1755 | 1515 | 10.1 | 85.8952 | 1500 | 0 | 255 | 0 |  | 17.5347 | 1515
27 | 165 | 25 | 190 | 0 | 0 | 2 | 190 | 80 | 4.07 | 0.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 27 | 84.4 | 7760 | 42.05 | 3861 | 240 | 2140 | 1900 | 10 | 86.5495 | 2100 | 0 | 40 | 0 |  | 21.9907 | 1900
28 | 0 | 160 | 160 | 0 | 0 | 2 | 160 | 45 | 0 | 4.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 28 | 84.55 | 8120 | 41.62 | 3357.9 | 360 | 1960 | 1600 | 10 | 86.2444 | 1897.5 | 0 | 62.5 | 0 |  | 18.5185 | 1600
29 | 165 | 0 | 165 | 0 | 0 | 4 | 165 | 45 | 4.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 29 | 84.75 | 8600 | 41.55 | 3276 | 480 | 2130 | 1650 | 10 | 85.8409 | 1879.95 | 0 | 310.05 | 60 |  | 19.0972 | 1650
30 | 0 | 170 | 170 | 0 | 0 | 2 | 170 | 50 | 0 | 4.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 30 | 84.95 | 9080 | 41.35 | 3042 | 480 | 2180 | 1700 | 10 | 85.4412 | 1917.7 | 0 | 322.3 | 60 |  | 19.6759 | 1700
| 2055 | 1590 | 3645 | 0 | 0 | 72 | 3573 | 90 | 51.85 | 40.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22 | 22 |  |  | 83.905 | 6578.3333 | 41.379 | 3075.93 | 1440 | 44928.9298 | 36599.75 | 10.0411 | 87.2136 | 40632.15 | 6889.1798 | 4636.7798 | 340 |  | 14.1203