## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 230 | 75 | 305 | 0 | 0 | 2 | 305 | 100 | 4.5 | 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 1 | 84.62 | 8288 | 41.59 | 3322.8 | -792 | 2258 | 3050 | 10 | 86.1028 | 1983.6 | 0 | 274.4 | 0 |  | 35.3009 | 3050
2 | 0 | 60 | 60 | 0 | 0 | 2 | 60 | 45 | 0 | 1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 2 | 85.15 | 9560 | 40.82 | 2421.9 | 1272 | 4844.2932 | 588 | 9.8 | 86.7808 | 4748.95 | 2984.2932 | 95.3432 | 0 |  | 6.8056 | 588
3 | 290 | 155 | 445 | 0 | 0 | 3 | 445 | 110 | 6.1 | 2.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 3 | 84.2 | 7280 | 41.66 | 3404.7 | -2280 | 2214.5 | 4494.5 | 10.1 | 86.0987 | 1887 | 0 | 327.5 | 0 |  | 52.0197 | 4494.5
4 | 0 | 180 | 180 | 0 | 0 | 2 | 180 | 50 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 4 | 84.1 | 7040 | 41.42 | 3123.9 | -240 | 2375.8723 | 1818 | 10.1 | 86.3032 | 2314.1 | 797.8723 | 121.7723 | 60 |  | 21.0417 | 1818
5 | 220 | 20 | 240 | 0 | 0 | 2 | 240 | 95 | 4.3 | 0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 5 | 84 | 6800 | 41.4 | 3100.5 | -240 | 2184 | 2424 | 10.1 | 86.5087 | 1978.3 | 0 | 205.7 | 0 |  | 28.0556 | 2424
6 | 45 | 235 | 280 | 0 | 0 | 3 | 280 | 80 | 1.6 | 5.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 |  | 6 | 83.7 | 6080 | 41.86 | 3638.7 | -720 | 2108 | 2828 | 10.1 | 87.1311 | 2000.2 | 0 | 107.8 | 0 |  | 32.7315 | 2828
7 | 200 | 125 | 325 | 0 | 0 | 2 | 325 | 109 | 4 | 2.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 7 | 83.2 | 4880 | 41.49 | 3205.8 | -1200 | 4526.6223 | 3428.75 | 10.55 | 84.4269 | 4591.7 | 2297.8723 | 84.9223 | 150 |  | 39.6846 | 3428.75
8 | 0 | 325 | 325 | 0 | 0 | 3 | 325 | 51 | 0 | 8.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 8 | 84 | 6800 | 41.61 | 3346.2 | 1920 | 7474.7513 | 3282.5 | 10.1 | 86.5087 | 7518.9 | 2272.2513 | 15.8513 | 60 |  | 37.9919 | 3282.5
9 | 290 | 0 | 290 | 0 | 0 | 2 | 290 | 45 | 7.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 9 | 82.4 | 3080 | 41.36 | 3053.7 | -3720 | 5349.8579 | 2929 | 10.1 | 89.9348 | 5299 | 6140.8579 | 110.8579 | 60 |  | 33.9005 | 2929
10 | 0 | 450 | 450 | 0 | 0 | 2 | 450 | 55 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 10 | 82.3 | 2860 | 41.92 | 3708.9 | -220 | 4415 | 4635 | 10.3 | 88.4073 | 4454.5 | 0 | 20.5 | 60 |  | 53.6458 | 4635
11 | 350 | 0 | 350 | 0 | 0 | 3 | 350 | 55 | 8.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 11 | 82.65 | 3630 | 41.56 | 3287.7 | 770 | 4305 | 3535 | 10.1 | 89.3817 | 4373.25 | 0 | 11.75 | 80 |  | 40.9144 | 3535
12 | 0 | 370 | 370 | 0 | 0 | 2 | 370 | 55 | 0 | 8.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 12 | 83.35 | 5240 | 41.6 | 3334.5 | 1610 | 5310 | 3700 | 10 | 88.7473 | 5202.2 | 0 | 107.8 | 0 |  | 42.8241 | 3700
13 | 345 | 0 | 345 | 0 | 0 | 2 | 345 | 55 | 8.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 13 | 83.75 | 6200 | 41.7 | 3451.5 | 960 | 4444.5 | 3484.5 | 10.1 | 87.0267 | 4299.75 | 0 | 144.75 | 0 |  | 40.3299 | 3484.5
14 | 0 | 330 | 330 | 0 | 0 | 3 | 330 | 55 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 14 | 84 | 6800 | 41.8 | 3568.5 | 600 | 3933 | 3333 | 10.1 | 86.5087 | 3655.6 | 0 | 277.4 | 0 |  | 38.5764 | 3333
15 | 520 | 60 | 580 | 0 | 0 | 1 | 580 | 80 | 11.88 | 1.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 15 | 83.6 | 5840 | 41.73 | 3486.6 | -960 | 4898 | 5858 | 10.1 | 87.3405 | 4894.65 | 0 | 63.35 | 60 |  | 67.8009 | 5858
16 | 0 | 440 | 440 | 0 | 0 | 3 | 440 | 45 | 0 | 10.14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 16 | 83.4 | 5360 | 41.57 | 3299.4 | -480 | 9134.2128 | 4444 | 10.1 | 87.7625 | 9125 | 5170.2128 | 69.2128 | 60 |  | 51.4352 | 4444
17 | 455 | 0 | 455 | 0 | 0 | 4 | 455 | 47 | 9.92 | 0 | 0 | 0 | 0 | 0 | 15.5 | 0 | 0 | 0 | 2 | 0 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙΙ | 17 | 84 | 6800 | 41.59 | 3322.8 | 1440 | 7187.3325 | 4595.5 | 10.1 | 86.5087 | 6982.5 | 1151.8325 | 264.8325 | 60 |  | 53.1887 | 4595.5
18 | 510 | 0 | 510 | 0 | 0 | 3 | 510 | 55 | 10.5 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 3 | 0 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙΙ | 18 | 84.5 | 8000 | 41.98 | 3779.1 | 1200 | 6249 | 5049 | 9.9 | 87.2181 | 6107.95 | 0 | 141.05 | 0 |  | 58.4375 | 5049
19 | 470 | 0 | 470 | 0 | 0 | 3 | 470 | 45 | 10 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 2 | 0 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙΙ | 19 | 84.85 | 8840 | 41.55 | 3276 | 840 | 7153.6923 | 4606 | 9.8 | 87.3884 | 6900.8 | 1707.6923 | 252.8923 | 0 |  | 53.3102 | 4606
20 | 540 | 0 | 540 | 0 | 0 | 2 | 540 | 55 | 11.35 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 2 | 0 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙΙ | 20 | 83.9 | 6560 | 41.75 | 3510 | -2280 | 4773.4468 | 5346 | 9.9 | 88.467 | 4591.7 | 1707.4468 | 181.7468 | 0 |  | 61.875 | 5346
21 | 460 | 0 | 460 | 0 | 0 | 2 | 460 | 55 | 10 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 2 | 0 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙΙ | 21 | 82.5 | 3300 | 41.56 | 3287.7 | -3260 | 4901.9574 | 4646 | 10.1 | 89.7127 | 4956.7 | 3515.9574 | 45.2574 | 100 |  | 53.7731 | 4646
22 | 460 | 0 | 460 | 0 | 0 | 2 | 460 | 46 | 10 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 2 | 0 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙΙ | 22 | 82.8 | 3960 | 41.5 | 3217.5 | 660 | 5306 | 4646 | 10.1 | 89.0531 | 5292.5 | 0 | 73.5 | 60 |  | 53.7731 | 4646
23 | 480 | 0 | 480 | 0 | 0 | 2 | 480 | 50 | 10 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 2 | 0 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙΙ | 23 | 82.7 | 3740 | 41.72 | 3474.9 | -220 | 4628 | 4848 | 10.1 | 89.2719 | 4627 | 0 | 61 | 60 |  | 56.1111 | 4848
24 | 575 | 0 | 575 | 0 | 0 | 3 | 575 | 55 | 11 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 2 | 0 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙΙ | 24 | 85.35 | 10040 | 41.8 | 3568.5 | 6300 | 12107.5 | 5807.5 | 10.1 | 83.8147 | 12070.59 | 0 | 36.91 | 0 |  | 67.2164 | 5807.5
25 | 660 | 0 | 660 | 0 | 0 | 2 | 660 | 55 | 12.95 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 2 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙΙ | 25 | 84.9 | 8960 | 41.89 | 3673.8 | -1080 | 5586 | 6666 | 10.1 | 84.6939 | 5396 | 0 | 190 | 0 |  | 77.1528 | 6666
26 | 490 | 0 | 490 | 0 | 0 | 2 | 490 | 50 | 9.91 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 2 | 0 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙΙ | 26 | 84 | 6800 | 41.51 | 3229.2 | -2160 | 6241.1277 | 4949 | 10.1 | 86.5087 | 6307.2 | 3452.1277 | 33.9277 | 100 |  | 57.2801 | 4949
27 | 495 | 0 | 495 | 0 | 0 | 3 | 495 | 50 | 9.99 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 2 | 0 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙΙ | 27 | 84.3 | 7520 | 41.39 | 3088.8 | 720 | 5595.75 | 4875.75 | 9.85 | 88.0753 | 5426.4 | 0 | 169.35 | 0 |  | 56.4323 | 4875.75
28 | 485 | 0 | 485 | 0 | 0 | 2 | 485 | 50 | 10 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 2 | 0 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙΙ | 28 | 84.3 | 7520 | 41.28 | 2960.1 | 0 | 8542.117 | 4898.5 | 10.1 | 85.8952 | 8452.8 | 3643.617 | 149.317 | 60 |  | 56.6956 | 4898.5
29 | 540 | 0 | 540 | 0 | 0 | 3 | 540 | 55 | 10 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 2 | 0 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙΙ | 29 | 84.35 | 7640 | 41.81 | 3580.2 | 120 | 7882.5106 | 5454 | 10.1 | 85.7938 | 7818.3 | 2308.5106 | 124.2106 | 60 |  | 63.125 | 5454
30 | 520 | 0 | 520 | 0 | 0 | 2 | 520 | 55 | 10 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 2 | 0 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙΙ | 30 | 84.6 | 8240 | 41.87 | 3650.4 | 600 | 5800 | 5200 | 10 | 86.1432 | 5710.95 | 0 | 89.05 | 0 |  | 60.1852 | 5200
31 | 540 | 0 | 540 | 0 | 0 | 2 | 540 | 55 | 10.1 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 2 | 0 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙΙ | 31 | 84.65 | 8360 | 41.9 | 3685.5 | 120 | 5520 | 5400 | 10 | 86.0422 | 5445.8 | 0 | 74.2 | 0 |  | 62.5 | 5400
| 10170 | 2825 | 12995 | 0 | 0 | 74 | 12921 | 110 | 212.1 | 63.1 | 0 | 0 | 0 | 0 | 351.5 | 0 | 0 | 0 | 44 | 21 |  |  | 83.8748 | 6516.7097 | 41.619 | 3356.7677 | -720 | 167250.0442 | 130819.5 | 10.0669 | 87.0525 | 164413.89 | 37150.5442 | 3926.1542 | 1090 |  | 48.8424 | 130819.5