## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 35 | 0 | 35 | 0 | 0 | 4 | 35 | 40 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 1 | 85 | 9200 | 41.19 | 2854.8 | 2280 | 7289.75 | 353.5 | 10.1 | 84.4969 | 7148.4 | 4656.25 | 201.35 | 60 |  | 4.0914 | 353.5
2 | 0 | 120 | 120 | 0 | 0 | 4 | 120 | 50 | 0 | 3.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 2 | 85.1 | 9440 | 41.33 | 3018.6 | 240 | 6074.3404 | 1212 | 10.1 | 84.3008 | 5788.9 | 4622.3404 | 285.4404 | 0 |  | 14.0278 | 1212
3 | 165 | 0 | 165 | 0 | 0 | 5 | 165 | 54 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 3 | 84.15 | 7160 | 41.91 | 3697.2 | -2280 | 6097.0263 | 1666.5 | 10.1 | 86.2009 | 5986 | 6710.5263 | 171.0263 | 60 |  | 19.2882 | 1666.5
4 | 370 | 630 | 1000 | 0 | 0 | 4 | 1000 | 110 | 7.03 | 11.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 |  | 4 | 84.8 | 8720 | 41.93 | 3720.6 | 1560 | 11660 | 10100 | 10.1 | 84.8917 | 11711.7 | 0 | 8.3 | 60 |  | 116.8981 | 10100
5 | 245 | 85 | 330 | 0 | 0 | 4 | 330 | 100 | 5.07 | 2.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 5 | 84.8 | 8720 | 41.97 | 3767.4 | 0 | 5441.8083 | 3333 | 10.1 | 84.8917 | 5140.5 | 2108.8083 | 301.3083 | 0 |  | 38.5764 | 3333
6 | 35 | 165 | 200 | 0 | 0 | 5 | 200 | 85 | 1 | 4.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 6 | 84.4 | 7760 | 41.1 | 2749.5 | -960 | 3879.1489 | 2020 | 10.1 | 85.6926 | 3730.3 | 2819.1489 | 208.8489 | 60 |  | 23.3796 | 2020
7 | 55 | 130 | 185 | 0 | 0 | 4 | 185 | 104 | 1 | 2.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 7 | 83.6 | 5840 | 41.44 | 3147.3 | -1920 | 4347.4362 | 1868.5 | 10.1 | 87.3405 | 4089.6 | 4398.9362 | 257.8362 | 0 |  | 21.6262 | 1868.5
8 | 0 | 155 | 155 | 0 | 0 | 4 | 155 | 55 | 0 | 3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 8 | 84.85 | 8840 | 41.36 | 3053.7 | 3000 | 10283.5851 | 1565.5 | 10.1 | 84.7927 | 10209.6 | 5718.0851 | 133.9851 | 60 |  | 18.1192 | 1565.5
9 | 180 | 140 | 320 | 0 | 0 | 4 | 320 | 54 | 3.5 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 9 | 84.6 | 8240 | 41.76 | 3521.7 | -600 | 7092.733 | 3232 | 10.1 | 85.2903 | 6870.5 | 4460.733 | 222.233 | 0 |  | 37.4074 | 3232
10 | 80 | 185 | 265 | 0 | 0 | 4 | 265 | 108 | 1.6 | 3.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 10 | 84.6 | 8240 | 41.6 | 3334.5 | 0 | 6570.117 | 2676.5 | 10.1 | 85.2903 | 6439.7 | 3893.617 | 190.417 | 60 |  | 30.978 | 2676.5
11 | 310 | 255 | 565 | 0 | 0 | 4 | 565 | 108 | 6.55 | 5.35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 |  | 11 | 85 | 9200 | 41.9 | 3685.5 | 960 | 10806.2849 | 5706.5 | 10.1 | 84.4969 | 10728 | 4139.7849 | 138.2849 | 60 |  | 66.0475 | 5706.5
12 | 210 | 405 | 615 | 0 | 0 | 4 | 615 | 110 | 4.02 | 7.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 3 |  | 12 | 84.3 | 7520 | 41.84 | 3615.3 | -1680 | 5629.5745 | 6150 | 10 | 86.7541 | 5204.9 | 1159.5745 | 424.6745 | 0 |  | 71.1806 | 6150
13 | 150 | 65 | 215 | 0 | 0 | 5 | 215 | 108 | 3.15 | 1.34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 13 | 84.85 | 8840 | 41.88 | 3662.1 | 1320 | 7002.1383 | 2171.5 | 10.1 | 84.7927 | 6767.1 | 3510.6383 | 295.0383 | 60 |  | 25.1331 | 2171.5
14 | 70 | 180 | 250 | 0 | 0 | 4 | 250 | 110 | 1.38 | 4.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 14 | 83.9 | 6560 | 41.6 | 3334.5 | -2280 | 4723.7234 | 2525 | 10.1 | 86.7152 | 4636.3 | 4478.7234 | 147.4234 | 60 |  | 29.2245 | 2525
15 | 110 | 85 | 195 | 0 | 0 | 4 | 195 | 110 | 2.5 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 15 | 84.8 | 8720 | 41.71 | 3463.2 | 2160 | 6340.8402 | 1969.5 | 10.1 | 84.8917 | 6181.35 | 2211.3402 | 159.4902 | 0 |  | 22.7951 | 1969.5
16 | 0 | 165 | 165 | 0 | 0 | 4 | 165 | 50 | 0 | 3.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 16 | 85.2 | 9680 | 41.96 | 3755.7 | 960 | 2626.5 | 1666.5 | 10.1 | 84.1057 | 2350.6 | 0 | 335.9 | 60 |  | 19.2882 | 1666.5
17 | 205 | 70 | 275 | 0 | 0 | 5 | 275 | 110 | 4 | 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 17 | 84.95 | 9080 | 42.07 | 3884.4 | -600 | 8884.9468 | 2777.5 | 10.1 | 84.5953 | 8745.4 | 6707.4468 | 199.5468 | 60 |  | 32.147 | 2777.5
18 | 55 | 190 | 245 | 0 | 0 | 4 | 245 | 90 | 1.3 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 18 | 85.1 | 9440 | 42.07 | 3884.4 | 360 | 3994.0745 | 2474.5 | 10.1 | 84.3008 | 3730.3 | 1159.5745 | 323.7745 | 60 |  | 28.64 | 2474.5
19 | 395 | 105 | 500 | 0 | 0 | 5 | 500 | 90 | 8.95 | 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 |  | 19 | 84.5 | 8000 | 41.59 | 3322.8 | -1440 | 5961.0638 | 5050 | 10.1 | 85.491 | 5914.95 | 2351.0638 | 106.1138 | 60 |  | 58.4491 | 5050
20 | 0 | 335 | 335 | 0 | 0 | 4 | 335 | 50 | 0 | 6.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 20 | 84.75 | 8600 | 41.95 | 3744 | 600 | 4407.413 | 3383.5 | 10.1 | 84.991 | 3791.34 | 423.913 | 616.073 | 0 |  | 39.1609 | 3383.5
21 | 305 | 0 | 305 | 0 | 0 | 4 | 305 | 55 | 6.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 21 | 84.7 | 8480 | 41.87 | 3650.4 | -120 | 5210.5 | 3080.5 | 10.1 | 85.0905 | 4909.8 | 2250 | 300.7 | 0 |  | 35.6539 | 3080.5
22 | 0 | 145 | 145 | 0 | 0 | 5 | 145 | 45 | 0 | 3.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 22 | 84.7 | 8480 | 41.48 | 3194.1 | 0 | 3746.4149 | 1464.5 | 10.1 | 85.0905 | 3540.5 | 2281.9149 | 265.9149 | 60 |  | 16.9502 | 1464.5
23 | 165 | 0 | 165 | 0 | 0 | 4 | 165 | 55 | 3.35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 23 | 85.25 | 9800 | 41.64 | 3381.3 | 1320 | 6903.1969 | 1749 | 10.6 | 80.0458 | 6975.15 | 3834.1969 | 28.0469 | 100 |  | 20.2431 | 1749
24 | 220 | 250 | 470 | 0 | 0 | 4 | 470 | 110 | 4.03 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 24 | 84.7 | 8480 | 42.02 | 3825.9 | -1320 | 4378.6129 | 4747 | 10.1 | 85.0905 | 4172 | 951.6129 | 266.6129 | 60 |  | 54.9421 | 4747
25 | 125 | 60 | 185 | 0 | 0 | 4 | 185 | 90 | 3.12 | 1.49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 25 | 84.6 | 8240 | 41.93 | 3720.6 | -240 | 4434.6224 | 1868.5 | 10.1 | 85.2903 | 4086.6 | 2806.1224 | 408.0224 | 60 |  | 21.6262 | 1868.5
26 | 0 | 145 | 145 | 0 | 0 | 3 | 145 | 54 | 0 | 3.11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 26 | 85.2 | 9680 | 41.68 | 3428.1 | 1440 | 3877.9043 | 1464.5 | 10.1 | 84.1057 | 3664.6 | 973.4043 | 213.3043 | 0 |  | 16.9502 | 1464.5
27 | 235 | 145 | 380 | 0 | 0 | 4 | 380 | 109 | 4.42 | 2.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 27 | 84.75 | 8600 | 41.9 | 3685.5 | -1080 | 4417.5745 | 3838 | 10.1 | 84.991 | 4073.4 | 1659.5745 | 404.1745 | 60 |  | 44.4213 | 3838
28 | 125 | 225 | 350 | 0 | 0 | 3 | 350 | 108 | 2.65 | 4.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 28 | 85.4 | 10160 | 41.71 | 3463.2 | 1560 | 7712.0213 | 3535 | 10.1 | 83.7181 | 7519 | 2617.0213 | 253.0213 | 60 |  | 40.9144 | 3535
29 | 180 | 0 | 180 | 0 | 0 | 4 | 180 | 54 | 3.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 29 | 85.15 | 9560 | 41.72 | 3474.9 | -600 | 7067.8298 | 1854 | 10.3 | 82.5681 | 6905.8 | 5813.8298 | 222.0298 | 60 |  | 21.4583 | 1854
30 | 50 | 205 | 255 | 0 | 0 | 4 | 255 | 100 | 1.05 | 4.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 30 | 84.75 | 8600 | 42 | 3802.5 | -960 | 5932.7043 | 2575.5 | 10.1 | 84.991 | 5733 | 4317.2043 | 259.7043 | 60 |  | 29.809 | 2575.5
| 4075 | 4640 | 8715 | 0 | 0 | 124 | 8591 | 110 | 83.2 | 97.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29 | 36 |  |  | 84.7483 | 8596 | 41.737 | 3494.79 | 1680 | 182793.8859 | 88078.5 | 10.1065 | 84.9393 | 176745.29 | 93035.3859 | 7348.5959 | 1300 |  | 33.9809 | 88078.5