## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 160 | 0 | 160 | 0 | 0 | 3 | 160 | 55 | 3.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 1 | 85.3 | 9920 | 41.87 | 3650.4 | 1320 | 4773.5635 | 1616 | 10.1 | 83.9115 | 4426.59 | 1837.5635 | 346.9735 | 0 |  | 18.7037 | 1616
2 | 100 | 400 | 500 | 0 | 0 | 5 | 500 | 100 | 2.97 | 8.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 2 | 85.25 | 9800 | 41.97 | 3767.4 | -120 | 7265.1064 | 5050 | 10.1 | 84.0085 | 7219.7 | 2335.1064 | 105.4064 | 60 |  | 58.4491 | 5050
3 | 310 | 170 | 480 | 0 | 0 | 4 | 480 | 100 | 6.78 | 3.87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 3 | 85 | 9200 | 42.02 | 3825.9 | -600 | 6561.8298 | 4848 | 10.1 | 84.4969 | 6518.9 | 2313.8298 | 102.9298 | 60 |  | 56.1111 | 4848
4 | 330 | 660 | 990 | 0 | 0 | 4 | 990 | 110 | 6.92 | 14.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 |  | 4 | 85.24 | 9776 | 41.85 | 3627 | 576 | 11739.8936 | 9999 | 10.1 | 84.0279 | 11636.2 | 1164.8936 | 103.6936 | 0 |  | 115.7292 | 9999
5 | 355 | 295 | 650 | 0 | 0 | 3 | 650 | 109 | 7.2 | 5.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 5 | 84.6 | 8240 | 41.98 | 3779.1 | -1536 | 5599.6806 | 6565 | 10.1 | 85.2903 | 5277.3 | 570.6806 | 322.3806 | 0 |  | 75.9838 | 6565
6 | 110 | 385 | 495 | 0 | 0 | 4 | 495 | 90 | 2.7 | 9.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 4 |  | 6 | 84.4 | 7760 | 41.89 | 3673.8 | -480 | 4519.5 | 4999.5 | 10.1 | 85.6926 | 4365.4 | 0 | 214.1 | 60 |  | 57.8646 | 4999.5
7 | 310 | 0 | 310 | 0 | 0 | 4 | 310 | 50 | 6.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 7 | 83.55 | 5720 | 42 | 3802.5 | -2040 | 3935.086 | 3131 | 10.1 | 87.4456 | 3955 | 2844.086 | 40.086 | 60 |  | 36.2384 | 3131
8 | 125 | 340 | 465 | 0 | 0 | 4 | 465 | 100 | 3.2 | 7.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 |  | 8 | 83.9 | 6560 | 41.87 | 3650.4 | 840 | 6111.7688 | 4696.5 | 10.1 | 86.7152 | 5964 | 575.2688 | 207.7688 | 60 |  | 54.3576 | 4696.5
9 | 240 | 0 | 240 | 0 | 0 | 3 | 240 | 54 | 5.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 9 | 83.8 | 6320 | 41.8 | 3568.5 | -240 | 2585.0417 | 2424 | 10.1 | 86.9226 | 2369.1 | 401.0417 | 215.9417 | 0 |  | 28.0556 | 2424
10 | 170 | 325 | 495 | 0 | 0 | 4 | 495 | 110 | 3.45 | 6.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 10 | 83.25 | 5000 | 41.82 | 3591.9 | -1320 | 6050.5618 | 5123.25 | 10.35 | 85.954 | 5999 | 2247.3118 | 111.5618 | 60 |  | 59.2969 | 5123.25
11 | 310 | 0 | 310 | 0 | 0 | 4 | 310 | 54 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 11 | 84.15 | 7160 | 42 | 3802.5 | 2160 | 10072.9149 | 3131 | 10.1 | 86.2009 | 9939.75 | 4781.9149 | 193.1649 | 60 |  | 36.2384 | 3131
12 | 115 | 290 | 405 | 0 | 0 | 3 | 405 | 110 | 2.68 | 6.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 12 | 84.8 | 8720 | 41.98 | 3779.1 | 1560 | 9198.3723 | 4090.5 | 10.1 | 84.8917 | 9113.25 | 3547.8723 | 115.1223 | 30 |  | 47.3438 | 4090.5
13 | 360 | 160 | 520 | 0 | 0 | 4 | 520 | 110 | 7.62 | 3.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 13 | 84.2 | 7280 | 41.95 | 3744 | -1440 | 4407.7447 | 5252 | 10.1 | 86.0987 | 4197.5 | 595.7447 | 270.2447 | 60 |  | 60.787 | 5252
14 | 0 | 335 | 335 | 0 | 0 | 3 | 335 | 50 | 0 | 7.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 14 | 83.85 | 6440 | 41.88 | 3662.1 | -840 | 5327.2838 | 3383.5 | 10.1 | 86.8188 | 5155.15 | 2783.7838 | 232.1338 | 60 |  | 39.1609 | 3383.5
15 | 345 | 0 | 345 | 0 | 0 | 3 | 345 | 55 | 6.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 15 | 83.7 | 6080 | 41.86 | 3638.7 | -360 | 6730.883 | 3484.5 | 10.1 | 87.1311 | 6730.6 | 3606.383 | 60.283 | 60 |  | 40.3299 | 3484.5
16 | 225 | 350 | 575 | 0 | 0 | 4 | 575 | 110 | 5.3 | 7.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 2 |  | 16 | 84.6 | 8240 | 41.93 | 3720.6 | 2160 | 9371.7553 | 5807.5 | 10.1 | 85.2903 | 9316.8 | 1404.2553 | 114.9553 | 60 |  | 67.2164 | 5807.5
17 | 360 | 165 | 525 | 0 | 0 | 3 | 525 | 108 | 8.1 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 17 | 84.45 | 7880 | 41.84 | 3615.3 | -360 | 7584.3005 | 5250 | 10 | 86.4476 | 7540.6 | 2694.3005 | 43.7005 | 0 |  | 60.7639 | 5250
18 | 65 | 395 | 460 | 0 | 0 | 3 | 460 | 100 | 1.8 | 8.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 18 | 83.9 | 6560 | 42.08 | 3896.1 | -1320 | 5187.7021 | 4646 | 10.1 | 86.7152 | 5197.6 | 1861.7021 | 50.1021 | 60 |  | 53.7731 | 4646
19 | 370 | 115 | 485 | 0 | 0 | 3 | 485 | 100 | 8.15 | 2.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 |  | 19 | 83.7 | 6080 | 41.6 | 3334.5 | -480 | 9991.2474 | 5116.75 | 10.55 | 83.4146 | 10027 | 5354.4974 | 24.2474 | 60 |  | 59.2216 | 5116.75
20 | 0 | 340 | 340 | 0 | 0 | 4 | 340 | 54 | 0 | 6.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 20 | 84.1 | 7040 | 41.16 | 2819.7 | 960 | 5718.4681 | 3434 | 10.1 | 86.3032 | 5599.1 | 1324.4681 | 179.3681 | 60 |  | 39.7454 | 3434
21 | 425 | 0 | 425 | 0 | 0 | 3 | 425 | 54 | 8.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 21 | 84.3 | 7520 | 41.29 | 2971.8 | 480 | 7128.883 | 4292.5 | 10.1 | 85.8952 | 7119.5 | 2356.383 | 69.383 | 60 |  | 49.6817 | 4292.5
22 | 0 | 475 | 475 | 0 | 0 | 3 | 475 | 55 | 0 | 9.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 22 | 84.3 | 7520 | 41.55 | 3276 | 0 | 7412.0833 | 4797.5 | 10.1 | 85.8952 | 7457.1 | 2614.5833 | 14.9833 | 60 |  | 55.5266 | 4797.5
23 | 400 | 210 | 610 | 0 | 0 | 4 | 610 | 108 | 9.55 | 5.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 23 | 84.3 | 7520 | 41.81 | 3580.2 | 0 | 7291.8901 | 6161 | 10.1 | 85.8952 | 7067 | 1130.8901 | 224.8901 | 0 |  | 71.3079 | 6161
24 | 0 | 450 | 450 | 0 | 0 | 3 | 450 | 50 | 0 | 9.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 24 | 83.8 | 6320 | 41.54 | 3264.3 | -1200 | 5681.7876 | 4545 | 10.1 | 86.9226 | 5483.2 | 2336.7876 | 198.5876 | 0 |  | 52.6042 | 4545
25 | 500 | 30 | 530 | 0 | 0 | 3 | 530 | 100 | 10.01 | 0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 25 | 83.9 | 6560 | 41.79 | 3556.8 | 240 | 5540 | 5300 | 10 | 87.5823 | 5241.4 | 0 | 298.6 | 0 |  | 61.3426 | 5300
26 | 45 | 500 | 545 | 0 | 0 | 3 | 545 | 90 | 1.05 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 26 | 84.1 | 7040 | 42.08 | 3896.1 | 480 | 7094.1026 | 5450 | 10 | 87.1663 | 7007.2 | 1164.1026 | 86.9026 | 0 |  | 63.0787 | 5450
27 | 500 | 0 | 500 | 0 | 0 | 3 | 500 | 55 | 10.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 27 | 84.4 | 7760 | 41.82 | 3591.9 | 720 | 5720 | 5000 | 10 | 86.5495 | 5637.45 | 0 | 142.55 | 60 |  | 57.8704 | 5000
28 | 0 | 540 | 540 | 0 | 0 | 3 | 540 | 50 | 0 | 11.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 28 | 83.75 | 6200 | 41.85 | 3627 | -1560 | 6511.0213 | 5454 | 10.1 | 87.0267 | 6453.2 | 2617.0213 | 117.8213 | 60 |  | 63.125 | 5454
29 | 550 | 20 | 570 | 0 | 0 | 3 | 570 | 70 | 11.06 | 0.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 29 | 82.75 | 3850 | 42.05 | 3861 | -2350 | 6371.0376 | 6070.5 | 10.65 | 84.5577 | 6380.2 | 2650.5376 | 50.8376 | 60 |  | 70.2604 | 6070.5
30 | 50 | 565 | 615 | 0 | 0 | 3 | 615 | 104 | 1.06 | 11.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 30 | 84.3 | 7520 | 41.97 | 3767.4 | 3670 | 9881.5 | 6211.5 | 10.1 | 85.8952 | 9926.1 | 0 | 15.4 | 60 |  | 71.8924 | 6211.5
31 | 480 | 55 | 535 | 0 | 0 | 3 | 535 | 74 | 9.53 | 1.49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 31 | 84.8 | 8720 | 41.96 | 3755.7 | 1200 | 7759.75 | 5403.5 | 10.1 | 84.8917 | 7803 | 1156.25 | 16.75 | 60 |  | 62.5405 | 5403.5
| 7310 | 7570 | 14880 | 0 | 0 | 106 | 14774 | 110 | 154.7 | 160.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 43 | 41 |  |  | 84.2077 | 7300.1935 | 41.8406 | 3616.0548 | 120 | 209124.7597 | 150733.5 | 10.1299 | 85.8285 | 206123.89 | 58271.2597 | 4290.8697 | 1290 |  | 56.2774 | 150733.5