## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 420 | 195 | 615 | 0 | 0 | 3 | 615 | 100 | 9.2 | 4.67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 |  | 1 | 84.9 | 8960 | 41.72 | 3474.9 | 240 | 8185.5426 | 6211.5 | 10.1 | 84.6939 | 7964.96 | 1734.0426 | 220.5826 | 0 |  | 71.8924 | 6211.5
2 | 240 | 450 | 690 | 0 | 0 | 3 | 690 | 100 | 5.5 | 9.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 |  | 2 | 85.1 | 9440 | 42.02 | 3825.9 | 480 | 9188.3617 | 6969 | 10.1 | 84.3008 | 9255 | 1739.3617 | 13.3617 | 80 |  | 80.6597 | 6969
3 | 460 | 100 | 560 | 0 | 0 | 3 | 560 | 100 | 9.1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 3 | 84.9 | 8960 | 41.85 | 3627 | -480 | 7748.1649 | 5656 | 10.1 | 84.6939 | 7552.5 | 2572.1649 | 255.6649 | 60 |  | 65.463 | 5656
4 | 80 | 460 | 540 | 0 | 0 | 3 | 540 | 90 | 1.8 | 8.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 4 | 85.1 | 9440 | 41.53 | 3252.6 | 480 | 7540.2176 | 5454 | 10.1 | 84.3008 | 7189.6 | 1606.2176 | 350.6176 | 0 |  | 63.125 | 5454
5 | 330 | 195 | 525 | 0 | 0 | 3 | 525 | 100 | 6.4 | 4.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 5 | 84.8 | 8720 | 41.26 | 2936.7 | -720 | 7322.4206 | 5407.5 | 10.3 | 83.2434 | 7360.6 | 2634.9206 | 21.8206 | 60 |  | 62.5868 | 5407.5
6 | 125 | 450 | 575 | 0 | 0 | 3 | 575 | 100 | 2.8 | 8.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 6 | 85.35 | 10040 | 41.17 | 2831.4 | 1320 | 7127.5 | 5807.5 | 10.1 | 83.8147 | 6705 | 0 | 422.5 | 0 |  | 67.2164 | 5807.5
7 | 475 | 220 | 695 | 0 | 0 | 3 | 695 | 105 | 9.95 | 5.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 |  | 7 | 84.85 | 8840 | 41.94 | 3732.3 | -1200 | 7534.5259 | 7019.5 | 10.1 | 84.7927 | 7250.4 | 1715.0259 | 284.1259 | 0 |  | 81.2442 | 7019.5
8 | 70 | 425 | 495 | 0 | 0 | 3 | 495 | 70 | 1.91 | 9.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 8 | 84.8 | 8720 | 41.53 | 3252.6 | -120 | 4904.25 | 5024.25 | 10.15 | 84.4736 | 4952.8 | 0 | 11.45 | 60 |  | 58.151 | 5024.25
9 | 365 | 210 | 575 | 0 | 0 | 4 | 575 | 108 | 7.25 | 4.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 9 | 84.5 | 8000 | 41.86 | 3638.7 | -720 | 6944.4468 | 5957 | 10.36 | 83.3454 | 6997.2 | 1707.4468 | 7.2468 | 60 |  | 68.9468 | 5957
10 | 135 | 460 | 595 | 0 | 0 | 3 | 595 | 108 | 2.68 | 8.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 10 | 84.65 | 8360 | 42.02 | 3825.9 | 360 | 8642.6959 | 6009.5 | 10.1 | 85.1903 | 8205.2 | 2273.1959 | 437.4959 | 0 |  | 69.5544 | 6009.5
11 | 360 | 0 | 360 | 0 | 0 | 3 | 360 | 54 | 7.11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 11 | 84.9 | 8960 | 41.59 | 3322.8 | 600 | 6919.9378 | 3636 | 10.1 | 84.6939 | 6891.25 | 2683.9378 | 88.6878 | 60 |  | 42.0833 | 3636
12 | 0 | 365 | 365 | 0 | 0 | 2 | 365 | 54 | 0 | 7.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 12 | 84.75 | 8600 | 41.24 | 2913.3 | -360 | 6651.1073 | 3686.5 | 10.1 | 84.991 | 6313.65 | 3324.6073 | 337.4573 | 0 |  | 42.6678 | 3686.5
13 | 385 | 50 | 435 | 0 | 0 | 3 | 435 | 100 | 7.6 | 1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 2 | 1 | ΥΨΗΛΗ ΘΕΡΜΟΚΡΑΣΙΑ ΩΣΤΙΚΟΥ - ΟΔΗΓΟΥ ΕΔΡΑΝΟΥ Μον. ΝοΙΙ | 13 | 84.55 | 8120 | 41.9 | 3685.5 | -480 | 6253.9255 | 4393.5 | 10.1 | 85.3905 | 6029.8 | 2340.4255 | 284.1255 | 60 |  | 50.8507 | 4393.5
14 | 175 | 170 | 345 | 0 | 0 | 3 | 345 | 90 | 3.5 | 3.35 | 0 | 0 | 0 | 0 | 0 | 0 | 18.2 | 0 | 2 | 2 | ΥΨΗΛΗ ΘΕΡΜΟΚΡΑΣΙΑ ΩΣΤΙΚΟΥ - ΟΔΗΓΟΥ ΕΔΡΑΝΟΥ Μον. ΝοΙΙ | 14 | 84.4 | 7760 | 41.71 | 3463.2 | -360 | 5346.4103 | 3450 | 10 | 86.5495 | 5190 | 2256.4103 | 156.4103 | 0 |  | 39.9306 | 3450
15 | 350 | 0 | 350 | 0 | 0 | 3 | 350 | 54 | 7.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  | 15 | 84.4 | 7760 | 41.64 | 3381.3 | 0 | 7681.9737 | 3692.5 | 10.55 | 82.0375 | 7716.1 | 3989.4737 | 25.8737 | 60 |  | 42.7373 | 3692.5
16 | 55 | 325 | 380 | 0 | 0 | 3 | 380 | 90 | 1.4 | 7.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 16 | 84.7 | 8480 | 41.71 | 3463.2 | 720 | 6301.4555 | 3838 | 10.1 | 85.0905 | 5956.8 | 1743.4555 | 344.6555 | 0 |  | 44.4213 | 3838
17 | 345 | 35 | 380 | 0 | 0 | 3 | 380 | 70 | 7.25 | 1.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 17 | 85.05 | 9320 | 41.62 | 3357.9 | 840 | 7029.0638 | 3838 | 10.1 | 84.3988 | 6942.3 | 2351.0638 | 146.7638 | 60 |  | 44.4213 | 3838
18 | 0 | 375 | 375 | 0 | 0 | 3 | 375 | 54 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 18 | 85.45 | 10280 | 41.8 | 3568.5 | 960 | 10449.6277 | 3787.5 | 10.1 | 83.6218 | 10360.8 | 5702.1277 | 148.8277 | 60 |  | 43.8368 | 3787.5
19 | 70 | 305 | 375 | 0 | 0 | 3 | 375 | 110 | 0.96 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 19 | 84.6 | 8240 | 42 | 3802.5 | -2040 | 9118.4677 | 3787.5 | 10.1 | 85.2903 | 9144.8 | 7370.9677 | 33.6677 | 60 |  | 43.8368 | 3787.5
20 | 480 | 285 | 765 | 0 | 0 | 3 | 765 | 110 | 9.79 | 5.49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 20 | 84.3 | 7520 | 42 | 3802.5 | -720 | 7006.5 | 7726.5 | 10.1 | 85.8952 | 6592.95 | 0 | 413.55 | 0 |  | 89.4271 | 7726.5
21 | 455 | 135 | 590 | 0 | 0 | 2 | 590 | 80 | 10.55 | 3.51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 21 | 85.2 | 9680 | 41.78 | 3545.1 | 2160 | 8119 | 5959 | 10.1 | 84.1057 | 7965.1 | 0 | 213.9 | 60 |  | 68.9699 | 5959
22 | 185 | 470 | 655 | 0 | 0 | 3 | 655 | 108 | 4 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 |  | 22 | 85 | 9200 | 41.97 | 3767.4 | -480 | 7795.0745 | 6615.5 | 10.1 | 84.4969 | 7540.9 | 1659.5745 | 314.1745 | 60 |  | 76.5683 | 6615.5
23 | 305 | 205 | 510 | 0 | 0 | 4 | 510 | 108 | 6.2 | 4.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 |  | 23 | 84.9 | 8960 | 41.68 | 3428.1 | -240 | 6070.5745 | 5151 | 10.1 | 84.6939 | 5878.8 | 1159.5745 | 191.7745 | 0 |  | 59.6181 | 5151
24 | 0 | 445 | 445 | 0 | 0 | 3 | 445 | 54 | 0 | 8.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 24 | 84.9 | 8960 | 41.23 | 2901.6 | 0 | 7978.5426 | 4494.5 | 10.1 | 84.6939 | 7740.9 | 3484.0426 | 267.6426 | 30 |  | 52.0197 | 4494.5
25 | 475 | 180 | 655 | 0 | 0 | 3 | 655 | 100 | 10.1 | 4.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 25 | 84.7 | 8480 | 42 | 3802.5 | -480 | 6135.5 | 6615.5 | 10.1 | 85.0905 | 6012 | 0 | 153.5 | 30 |  | 76.5683 | 6615.5
26 | 0 | 500 | 500 | 0 | 0 | 3 | 500 | 50 | 0 | 10.08 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 26 | 84.75 | 8600 | 41.61 | 3346.2 | 120 | 6340.2128 | 5050 | 10.1 | 84.991 | 6132 | 1170.2128 | 208.2128 | 0 |  | 58.4491 | 5050
27 | 530 | 365 | 895 | 0 | 0 | 3 | 895 | 108 | 12.14 | 8.69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 |  | 27 | 84.25 | 7400 | 41.91 | 3697.2 | -1200 | 7839.5 | 9039.5 | 10.1 | 85.9968 | 7797.3 | 0 | 72.2 | 30 |  | 104.6238 | 9039.5
28 | 305 | 570 | 875 | 0 | 0 | 3 | 875 | 110 | 6.54 | 12.26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3 |  | 28 | 85 | 9200 | 41.8 | 3568.5 | 1800 | 10768.75 | 8968.75 | 10.25 | 83.2604 | 10752.9 | 0 | 75.85 | 60 |  | 103.805 | 8968.75
29 | 565 | 225 | 790 | 0 | 0 | 3 | 790 | 80 | 12.55 | 5.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 29 | 84.9 | 8960 | 41.95 | 3744 | -240 | 7660 | 7900 | 10 | 85.5408 | 7321.9 | 0 | 338.1 | 0 |  | 91.4352 | 7900
30 | 265 | 640 | 905 | 0 | 0 | 3 | 905 | 108 | 6.07 | 13.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 30 | 84.55 | 8120 | 41.98 | 3779.1 | -840 | 10173.4691 | 9258.15 | 10.23 | 84.3054 | 10168.9 | 1755.3191 | 64.5691 | 60 |  | 107.1545 | 9258.15
| 8005 | 8810 | 16815 | 0 | 0 | 90 | 16725 | 110 | 169.4 | 185.71 | 0 | 0 | 0 | 0 | 0 | 0 | 21.2 | 0 | 45 | 47 |  |  | 84.8067 | 8736 | 41.734 | 3491.28 | -600 | 226777.2188 | 170403.65 | 10.134 | 84.5935 | 221882.41 | 56973.5688 | 5904.8088 | 1010 |  | 65.7421 | 170403.65