## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 120 | 50 | 170 | 0 | 0 | 3 | 170 | 80 | 2.9 | 1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 1 | 84.55 | 8120 | 40.49 | 2035.8 | -360 | 1357 | 1717 | 10.1 | 85.3905 | 1238.2 | 0 | 118.8 | 0 |  | 19.8727 | 1717
2 | 0 | 80 | 80 | 0 | 0 | 3 | 80 | 55 | 0 | 2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 2 | 84.9 | 8960 | 40.47 | 2012.4 | 840 | 1648 | 808 | 10.1 | 84.6939 | 1387 | 0 | 321 | 60 |  | 9.3519 | 808
3 | 220 | 140 | 360 | 0 | 0 | 3 | 360 | 100 | 4.55 | 2.6 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  | 3 | 84.85 | 8840 | 40.5 | 2047.5 | -120 | 3516 | 3636 | 10.1 | 84.7927 | 3337.1 | 0 | 238.9 | 60 |  | 42.0833 | 3636
4 | 0 | 95 | 95 | 0 | 0 | 2 | 95 | 55 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 4 | 85.2 | 9680 | 39.6 | 994.5 | 840 | 5027.0132 | 959.5 | 10.1 | 84.1057 | 4942.1 | 3227.5132 | 144.9132 | 60 |  | 11.1053 | 959.5
5 | 85 | 0 | 85 | 0 | 0 | 3 | 85 | 55 | 1.91 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 5 | 85.2 | 9680 | 39.88 | 1322.1 | 0 | 4721.6579 | 858.5 | 10.1 | 84.1057 | 4591.7 | 3863.1579 | 129.9579 | 0 |  | 9.9363 | 858.5
6 | 35 | 70 | 105 | 0 | 0 | 3 | 105 | 35 | 0.93 | 2.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 6 | 84.1 | 7040 | 40.48 | 2024.1 | -2640 | 1904.5426 | 1060.5 | 10.1 | 86.3032 | 1843.2 | 3484.0426 | 121.3426 | 60 |  | 12.2743 | 1060.5
7 | 75 | 0 | 75 | 0 | 0 | 3 | 75 | 40 | 2.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 7 | 83.3 | 5120 | 40.51 | 2059.2 | -1920 | 2142.3128 | 757.5 | 10.1 | 87.975 | 2190 | 3304.8128 | 12.3128 | 60 |  | 8.7674 | 757.5
8 | 0 | 75 | 75 | 0 | 0 | 3 | 75 | 35 | 0 | 2.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 8 | 84.9 | 8960 | 40.48 | 2024.1 | 3840 | 6704.6429 | 757.5 | 10.1 | 84.6939 | 6600.8 | 2107.1429 | 103.8429 | 0 |  | 8.7674 | 757.5
9 | 240 | 130 | 370 | 0 | 0 | 3 | 370 | 110 | 4.6 | 2.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 9 | 84.7 | 8480 | 40.48 | 2024.1 | -480 | 4331.4681 | 3737 | 10.1 | 85.0905 | 4336.2 | 1074.4681 | 55.2681 | 60 |  | 43.2523 | 3737
10 | 0 | 70 | 70 | 0 | 0 | 2 | 70 | 35 | 0 | 1.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 10 | 83.2 | 4880 | 40.5 | 2047.5 | -3600 | 4132.7732 | 707 | 10.1 | 88.1885 | 4124.5 | 7025.7732 | 68.2732 | 60 |  | 8.1829 | 707
11 | 75 | 0 | 75 | 0 | 0 | 3 | 75 | 35 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 11 | 84.35 | 7640 | 40.5 | 2047.5 | 2760 | 6661.0897 | 757.5 | 10.1 | 85.7938 | 6635.7 | 3143.5897 | 85.3897 | 60 |  | 8.7674 | 757.5
12 | 0 | 70 | 70 | 0 | 0 | 3 | 70 | 35 | 0 | 1.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 12 | 84.35 | 7640 | 40.5 | 2047.5 | 0 | 3921.2857 | 707 | 10.1 | 85.7938 | 3806.95 | 3214.2857 | 114.3357 | 0 |  | 8.1829 | 707
13 | 70 | 0 | 70 | 0 | 0 | 3 | 70 | 35 | 2.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 13 | 84.95 | 9080 | 40.5 | 2047.5 | 1440 | 6732.4922 | 707 | 10.1 | 84.5953 | 6657.6 | 4585.4922 | 134.8922 | 60 |  | 8.1829 | 707
14 | 85 | 180 | 265 | 0 | 0 | 3 | 265 | 55 | 2 | 3.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 14 | 84.95 | 9080 | 40.45 | 1989 | 0 | 5835.4744 | 2676.5 | 10.1 | 84.5953 | 5854.6 | 3158.9744 | 20.8744 | 40 |  | 30.978 | 2676.5
15 | 70 | 0 | 70 | 0 | 0 | 3 | 70 | 35 | 1.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 15 | 84.4 | 7760 | 40.5 | 2047.5 | -1320 | 859.5918 | 700 | 10 | 86.5495 | 652.5 | 1479.5918 | 207.0918 | 0 |  | 8.1019 | 700
16 | 0 | 75 | 75 | 0 | 0 | 3 | 75 | 40 | 0 | 2.07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 16 | 85.1 | 9440 | 40.47 | 2012.4 | 1680 | 2437.5 | 757.5 | 10.1 | 84.3008 | 2336 | 0 | 101.5 | 0 |  | 8.7674 | 757.5
17 | 70 | 0 | 70 | 0 | 0 | 3 | 70 | 35 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 17 | 84.55 | 8120 | 40.45 | 1989 | -1320 | 4046.5745 | 707 | 10.1 | 85.3905 | 3920.1 | 4659.5745 | 126.4745 | 0 |  | 8.1829 | 707
18 | 0 | 80 | 80 | 0 | 0 | 2 | 80 | 40 | 0 | 2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 18 | 84.9 | 8960 | 40.46 | 2000.7 | 840 | 2728.8081 | 808 | 10.1 | 84.6939 | 2584 | 1080.8081 | 144.8081 | 0 |  | 9.3519 | 808
19 | 75 | 0 | 75 | 0 | 0 | 3 | 75 | 40 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 19 | 83.8 | 6320 | 40.47 | 2012.4 | -2640 | 5651.8915 | 757.5 | 10.1 | 86.9226 | 5511.5 | 7534.3915 | 140.3915 | 0 |  | 8.7674 | 757.5
20 | 0 | 100 | 100 | 0 | 0 | 3 | 100 | 55 | 0 | 2.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 20 | 84.8 | 8720 | 40.46 | 2000.7 | 2400 | 3410 | 1010 | 10.1 | 84.8917 | 3374.4 | 0 | 35.6 | 0 |  | 11.6898 | 1010
21 | 75 | 0 | 75 | 0 | 0 | 3 | 75 | 40 | 2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 21 | 84.4 | 7760 | 40.47 | 2012.4 | -960 | 1020.7692 | 750 | 10 | 86.5495 | 757.5 | 1230.7692 | 263.2692 | 0 |  | 8.6806 | 750
22 | 0 | 70 | 70 | 0 | 0 | 3 | 70 | 35 | 0 | 2.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 22 | 84.55 | 8120 | 40.47 | 2012.4 | 360 | 3346.7927 | 707 | 10.1 | 85.3905 | 3263.4 | 2279.7927 | 83.3927 | 0 |  | 8.1829 | 707
23 | 70 | 0 | 70 | 0 | 0 | 2 | 70 | 35 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 23 | 84.3 | 7520 | 40.46 | 2000.7 | -600 | 5765.0311 | 707 | 10.1 | 85.8952 | 5681.55 | 5658.0311 | 143.4811 | 60 |  | 8.1829 | 707
24 | 0 | 85 | 85 | 0 | 0 | 3 | 85 | 35 | 0 | 2.08 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 24 | 85.3 | 9920 | 40.45 | 1989 | 2400 | 6565.3783 | 858.5 | 10.1 | 83.9115 | 6489.7 | 3306.8783 | 75.6783 | 0 |  | 9.9363 | 858.5
25 | 70 | 0 | 70 | 0 | 0 | 3 | 70 | 35 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 25 | 85.3 | 9920 | 40.46 | 2000.7 | 0 | 5644.5 | 707 | 10.1 | 83.9115 | 5677.5 | 4937.5 | 27 | 60 |  | 8.1829 | 707
26 | 0 | 70 | 70 | 0 | 0 | 3 | 70 | 35 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 26 | 84.9 | 8960 | 40.48 | 2024.1 | -960 | 7966.6277 | 724.5 | 10.35 | 82.6481 | 8030 | 8202.1277 | 16.6277 | 80 |  | 8.3854 | 724.5
27 | 0 | 70 | 70 | 0 | 0 | 2 | 70 | 35 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 27 | 84.2 | 7280 | 40.45 | 1989 | -1680 | 5101.4681 | 707 | 10.1 | 86.0987 | 4861.8 | 6074.4681 | 239.6681 | 0 |  | 8.1829 | 707
28 | 25 | 155 | 180 | 0 | 0 | 3 | 180 | 108 | 0.4 | 3.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  | 28 | 85.2 | 9680 | 40.42 | 1953.9 | 2400 | 6164.5714 | 1836 | 10.2 | 83.2811 | 6204.15 | 1928.5714 | 20.4214 | 60 |  | 21.25 | 1836
29 | 125 | 50 | 175 | 0 | 0 | 3 | 175 | 109 | 2.4 | 1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 |  | 29 | 84.85 | 8840 | 40.46 | 2000.7 | -840 | 2393.4686 | 1767.5 | 10.1 | 84.7927 | 2182.95 | 1465.9686 | 210.5186 | 0 |  | 20.4572 | 1767.5
30 | 0 | 70 | 70 | 0 | 0 | 3 | 70 | 35 | 0 | 1.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 30 | 85 | 9200 | 40.42 | 1953.9 | 360 | 5035.9119 | 707 | 10.1 | 84.4969 | 4865.7 | 3968.9119 | 170.2119 | 0 |  | 8.1829 | 707
31 | 70 | 0 | 70 | 0 | 0 | 3 | 70 | 35 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 31 | 85.45 | 10280 | 40.5 | 2047.5 | 1080 | 4040.4167 | 700 | 10 | 84.458 | 3901.5 | 2260.4167 | 138.9167 | 0 |  | 8.1019 | 700
| 1655 | 1785 | 3440 | 0 | 0 | 88 | 3352 | 110 | 39.4 | 43.65 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 19 | 20 |  |  | 84.6613 | 8387.0968 | 40.4255 | 1960.3161 | 1800 | 130815.0543 | 34758 | 10.1041 | 85.1335 | 127839.9 | 94257.0543 | 3815.1543 | 840 |  | 12.9772 | 34758