## Sheet1
Public Power Corporation
Aliakmonas River Complex | [17 empty] | Month |  |  |  | Aliakmonas River Complex | [11 empty] | Month
HPP Asomata | [10 empty] | Monthly Production Report | [6 empty] | Peak |  | MW |  | HPP Asomata | [6 empty] | Monthly Hydrological Report
Date |  | Production |  |  | Auxiliaries Consumptions |  | Net Production | Peak | Hours of Operation |  |  |  |  | Downtime |  |  |  |  | Number of Starts |  |  | Date | Asomata Reservoir |  | Regulating lake |  | Water saved in lake | Catchment water inflow | Production Water Consumption | Specific Consumption | Turbine Efficiency | HPP Sfikia Water |  | Lake natural inflow |  |  | Regulating lake
|  | MWh |  |  | MWh | [17 empty] | Water Level | Water Comtent | Water Level | Water Content | [5 empty] | Production | Pumped upstream |  | Losses
[11 empty] | Unit I |  |  |  |  | Unit II | [19 empty] | B | Water flow | Total Water
| Unit | Unit | HPP | Unit | Unit | Grid |  |  | Unit | Unit | Maintenance |  | Failure |  | Maintenance |  | Failure |  | Unit |  | Comments |  | m | m3 x 1000 | m | m3 x 1000 |  |  | m3 x 1000 | q=ε/energyproduced | nt=36697/(q*H) | m3 x 1000 | m3 x 1000 | m3 x 1000 | m3 x 1000 |  | m3/s | m3 x 1000
| I | II |  | I | II |  | MWh | MW | I | II | Plant | Outside | Plant | Outside | Plant | Outside | Plant | Outside | I | II |  |  | 85 | 9.2 | 41.71 | 3.197 | α=δ(level) | β=γ+α+ε | γ |  |  | δ | ε | στ=β-δ | ζ=στ-κ+α |  | ζ | η=ζχ86,400
1 | 70 | 0 | 70 | 0 | 0 | 3 | 70 | 35 | 2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 1 | 85.5 | 10400 | 40.48 | 2024.1 | 120 | 6875.1283 | 707 | 10.1 | 83.5257 | 6818.2 | 6048.1283 | 56.9283 | 0 |  | 8.1829 | 707
2 | 0 | 235 | 235 | 0 | 0 | 3 | 235 | 54 | 0 | 4.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | 2 | 85.25 | 9800 | 40.5 | 2047.5 | -600 | 2308.3756 | 2350 | 10 | 84.8486 | 2256.75 | 558.3756 | 51.6256 | 0 |  | 27.1991 | 2350
3 | 105 | 0 | 105 | 0 | 0 | 3 | 105 | 55 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 3 | 85.25 | 9800 | 40.47 | 2012.4 | 0 | 2721.7172 | 1050 | 10 | 84.8486 | 2379.3 | 1671.7172 | 342.4172 | 0 |  | 12.1528 | 1050
4 | 0 | 80 | 80 | 0 | 0 | 3 | 80 | 45 | 0 | 2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 4 | 84 | 6800 | 40.44 | 1977.3 | -3000 | 927.5652 | 808 | 10.1 | 86.5087 | 945 | 3119.5652 | 42.5652 | 60 |  | 9.3519 | 808
5 | 125 | 0 | 125 | 0 | 0 | 3 | 125 | 45 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 5 | 84.45 | 7880 | 40.46 | 2000.7 | 1080 | 2342.5 | 1262.5 | 10.1 | 85.5917 | 2117 | 0 | 285.5 | 60 |  | 14.6123 | 1262.5
6 | 0 | 70 | 70 | 0 | 0 | 3 | 70 | 35 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 6 | 84.55 | 8120 | 40.28 | 1790.1 | 240 | 947 | 707 | 10.1 | 85.3905 | 693.5 | 0 | 253.5 | 0 |  | 8.1829 | 707
7 | 100 | 0 | 100 | 0 | 0 | 3 | 100 | 50 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 7 | 84.65 | 8360 | 40.49 | 2035.8 | 240 | 2932.0513 | 1010 | 10.1 | 85.1903 | 2713.2 | 1682.0513 | 218.8513 | 0 |  | 11.6898 | 1010
8 | 0 | 75 | 75 | 0 | 0 | 3 | 75 | 35 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 8 | 85.35 | 10040 | 40.38 | 1907.1 | 1680 | 5378.9894 | 757.5 | 10.1 | 83.8147 | 5357.75 | 2941.4894 | 81.2394 | 60 |  | 8.7674 | 757.5
9 | 15 | 0 | 15 | 0 | 0 | 2 | 15 | 35 | 0.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 9 | 84.8 | 8720 | 40.09 | 1567.8 | -1320 | 890.6061 | 150 | 10 | 85.7407 | 696.15 | 2060.6061 | 194.4561 | 0 |  | 1.7361 | 150
10 | 0 | 70 | 70 | 0 | 0 | 4 | 70 | 35 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 10 | 84.4 | 7760 | 40.27 | 1778.4 | -960 | 2948.5745 | 749 | 10.7 | 80.8874 | 3044.1 | 3159.5745 | 14.4745 | 110 |  | 8.669 | 749
11 | 80 | 0 | 80 | 0 | 0 | 3 | 80 | 40 | 2.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 11 | 84.3 | 7520 | 40.5 | 2047.5 | -240 | 5465.9592 | 808 | 10.1 | 85.8952 | 5248.7 | 4897.9592 | 217.2592 | 0 |  | 9.3519 | 808
12 | 0 | 75 | 75 | 0 | 0 | 3 | 75 | 35 | 0 | 2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 12 | 84.7 | 8480 | 40.5 | 2047.5 | 960 | 5312.3718 | 757.5 | 10.1 | 85.0905 | 5289.5 | 3594.8718 | 82.8718 | 60 |  | 8.7674 | 757.5
13 | 70 | 0 | 70 | 0 | 0 | 3 | 70 | 35 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 13 | 84.35 | 7640 | 40.47 | 2012.4 | -840 | 6318.6129 | 707 | 10.1 | 85.7938 | 6202 | 6451.6129 | 176.6129 | 60 |  | 8.1829 | 707
14 | 65 | 0 | 65 | 0 | 0 | 2 | 65 | 35 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 14 | 83.3 | 5120 | 40.5 | 2047.5 | -2520 | 4281.4615 | 663 | 10.2 | 87.1125 | 4351.2 | 6138.4615 | 20.2615 | 90 |  | 7.6736 | 663
15 | 0 | 85 | 85 | 0 | 0 | 3 | 85 | 45 | 0 | 2.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 15 | 85.25 | 9800 | 40.5 | 2047.5 | 4680 | 7584.6538 | 858.5 | 10.1 | 84.0085 | 7570.2 | 2046.1538 | 24.4538 | 10 |  | 9.9363 | 858.5
16 | 90 | 155 | 245 | 0 | 0 | 3 | 245 | 100 | 1.6 | 3.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |  | 16 | 85.15 | 9560 | 40.5 | 2047.5 | -240 | 3367.1531 | 2474.5 | 10.1 | 84.2032 | 3261.6 | 1132.6531 | 165.5531 | 60 |  | 28.64 | 2474.5
17 | 130 | 0 | 130 | 0 | 0 | 3 | 130 | 55 | 3.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 17 | 84.95 | 9080 | 40.5 | 2047.5 | -480 | 833 | 1313 | 10.1 | 84.5953 | 676.4 | 0 | 156.6 | 0 |  | 15.1968 | 1313
18 | 0 | 100 | 100 | 0 | 0 | 3 | 100 | 35 | 0 | 2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 18 | 84.85 | 8840 | 40.5 | 2047.5 | -240 | 770 | 1010 | 10.1 | 84.7927 | 627.3 | 0 | 142.7 | 0 |  | 11.6898 | 1010
19 | 70 | 0 | 70 | 0 | 0 | 3 | 70 | 35 | 1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 19 | 85 | 9200 | 40.5 | 2047.5 | 360 | 1060 | 700 | 10 | 85.3419 | 918 | 0 | 142 | 0 |  | 8.1019 | 700
20 | 0 | 70 | 70 | 0 | 0 | 3 | 70 | 35 | 0 | 2.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 20 | 84.4 | 7760 | 40.47 | 2012.4 | -1440 | 2137.4663 | 707 | 10.1 | 85.6926 | 1965 | 2870.4663 | 232.4663 | 60 |  | 8.1829 | 707
21 | 70 | 0 | 70 | 0 | 0 | 3 | 70 | 35 | 2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 21 | 83.85 | 6440 | 40.48 | 2024.1 | -1320 | 2998.7021 | 707 | 10.1 | 86.8188 | 2956.5 | 3611.7021 | 72.2021 | 30 |  | 8.1829 | 707
22 | 0 | 75 | 75 | 0 | 0 | 3 | 75 | 40 | 0 | 2.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 22 | 84.6 | 8240 | 40.55 | 2106 | 1800 | 7687.7083 | 757.5 | 10.1 | 85.2903 | 7673.4 | 5130.2083 | 74.3083 | 60 |  | 8.7674 | 757.5
23 | 80 | 0 | 80 | 0 | 0 | 3 | 80 | 45 | 2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 23 | 83.6 | 5840 | 40.44 | 1977.3 | -2400 | 6312.2553 | 808 | 10.1 | 87.3405 | 6270.7 | 7904.2553 | 101.5553 | 60 |  | 9.3519 | 808
24 | 70 | 0 | 70 | 0 | 0 | 3 | 70 | 35 | 2 | 0 | 0 | 0 | 0 | 0 | 16.4 | 0 | 0 | 0 | 1 | 0 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙΙ | 24 | 84.9 | 8960 | 40.54 | 2094.3 | 3120 | 7518.9192 | 707 | 10.1 | 84.6939 | 7554.3 | 3691.9192 | 24.6192 | 60 |  | 8.1829 | 707
25 | 70 | 0 | 70 | 0 | 0 | 3 | 70 | 35 | 2 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 1 | 0 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙΙ | 25 | 85.1 | 9440 | 40.62 | 2187.9 | 480 | 3917.5699 | 707 | 10.1 | 84.3008 | 3883.6 | 2730.5699 | 93.9699 | 60 |  | 8.1829 | 707
26 | 80 | 0 | 80 | 0 | 0 | 2 | 80 | 40 | 2 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 1 | 0 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙΙ | 26 | 84.5 | 8000 | 40.46 | 2000.7 | -1440 | 1945.3196 | 808 | 10.1 | 85.491 | 1846.9 | 2577.3196 | 158.4196 | 60 |  | 9.3519 | 808
27 | 80 | 0 | 80 | 0 | 0 | 2 | 80 | 35 | 2.3 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 1 | 0 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙΙ | 27 | 84.35 | 7640 | 40.5 | 2047.5 | -360 | 5937.5833 | 808 | 10.1 | 85.7938 | 5909.4 | 5489.5833 | 88.1833 | 60 |  | 9.3519 | 808
28 | 70 | 0 | 70 | 0 | 0 | 3 | 70 | 35 | 2 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 1 | 0 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙΙ | 28 | 85.25 | 9800 | 40.5 | 2047.5 | 2160 | 7418.4534 | 745.5 | 10.65 | 79.67 | 7467.6 | 4512.9534 | 10.8534 | 60 |  | 8.6285 | 745.5
29 | 70 | 0 | 70 | 0 | 0 | 2 | 70 | 40 | 2.05 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 1 | 0 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙΙ | 29 | 84.25 | 7400 | 40.48 | 2024.1 | -2400 | 3477.9845 | 707 | 10.1 | 85.9968 | 3431 | 5170.9845 | 106.9845 | 60 |  | 8.1829 | 707
30 | 75 | 0 | 75 | 0 | 0 | 3 | 75 | 40 | 2.1 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 1 | 0 | ΕΤΗΣΙΑ ΣΥΝΤΗΡΗΣΗ Μον. ΝοΙΙ | 30 | 85.2 | 9680 | 40.48 | 2024.1 | 2280 | 4368.5354 | 735 | 9.8 | 86.6804 | 4242.7 | 1353.5354 | 125.8354 | 0 |  | 8.5069 | 735
| 1585 | 1090 | 2675 | 0 | 0 | 86 | 2589 | 100 | 40.95 | 26.55 | 0 | 0 | 0 | 0 | 160.4 | 0 | 0 | 0 | 20 | 12 |  |  | 84.6683 | 8404 | 40.4617 | 2002.65 | -600 | 116986.2172 | 27039.5 | 10.1082 | 85.0844 | 114366.95 | 90546.7172 | 3759.2672 | 1140 |  | 10.4319 | 27039.5